| PRR Number | PRR503 | PRR Title | Section 8 Coordination of Resource Outage Due to TSP |
| --- | --- | --- | --- |
| Impact Analysis Date |  | 4/20/2004 |  |
| Cost/Budgetary Impact |  | To be determined- see Comments and System Impacts. |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | TBD |  |
| ERCOT Staffing Impacts (across all areas) |  | TBD |  |
| ERCOT Computer System Impacts |  | Enhancements will be required in the Outage Scheduler program to introduce an additional field as a “flag” to delineate Outage Requests that impact redundant interconnections. |  |
| ERCOT Business Function Impacts |  | TBD |  |
| Grid Operations/ Practices Impacts |  | Depending on final outcome of this PRR, these changes may require System Operations to translate the Outage Requests of this PRR into OOME Down Verbal Dispatch Instructions to properly compensate the impacted Resource(s). |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

Because there is a wide range of comments to the original PRR submission, the impacts are difficult to define without further narrowing of the options. The cost estimate for this PRR is dependent on further clarification of the original PRR, namely, for a definition of “ERCOT taking on the responsibility of serving the Resource Entity’s obligations.” If incorporating Constellation’s comments on its proposal for OOME Down compensation during the outage, System Operations would be required to record a Verbal Dispatch Instruction for OOME Down to trigger ERCOT payments to the resource when the resource is unable to deliver energy under the defined circumstances in the PRR. At minimum, a system change would be required to the Outage Scheduler program to flag any outage requests that are requested for redundant interconnections.