| PRR Number | 501PRR | PRR Title | A/S Revision to Down Balancing Requirement |
| --- | --- | --- | --- |
| Date |  | 04/15/04 |  |
| Submitter’s Information |  |  |  |
| Name |  | Brandon Whittle |  |
| E-mail Address |  | bwhittle@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  |  |  |
| Phone Number |  | 512.248.6588 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Diminished capability in controlling power balance, Local Congestion, and Zonal Congestion via market methods. The use of OOME (including use of OOME to zero) could become more frequent to offset a possible loss in available Down Balancing. | TBD | Not known. |
| MARKET SEGMENT |  |  |  |
| Consumer | Not known. | Not known. | Not known. |
| LSE: General, Including NOIE | Not known. | Not known. | Not known. |
| LSE: CR & REP | Not known. | Not known. | Not known. |
| QSE | Reduction in DBE Obligation. | Not known. | Not known. |
| Resource | Not known. | Not known. | Not known. |
| TDSP | Not known. | Not known. | Not known. |

Comments

Currently, there is some discontinuity between Sections 4.5.2, Receipt of QSE’s Balancing Energy Bid Curves and 6.5.2, Balancing Energy Service.  Therefore the proposed language on this document reflects changes to ensure the Protocols are aligned appropriately on this issue.

This PRR could result in ERCOT having a diminished capability in controlling power balance, Local Congestion, and Zonal Congestion via market methods.  The use of OOME (including use of OOME to zero) could become more frequent to offset a possible loss in available Down Balancing.

As a result of both PRR457 and PRR501 ERCOT needs to update its “ERCOT Methodologies for Determining Ancillary Service Requirements - 2003” paper located on ERCOT’s website.

Revised Proposed Protocol Language

### Receipt of QSE’s Balancing Energy Bid Curves

ERCOT will receive QSEs Balancing Energy bid curves by the end of each Adjustment Period for an Operating Hour.  QSEs may voluntarily submit Balancing Energy Service Up and Down bid curves to ERCOT for use in the Operating Period.

QSEs shall be required to submit mandatory Balancing Energy Service Down bid curves.  The QSEs will submit an amount of Balancing Energy Service Down bids greater than or equal to the lesser of

(a) ERCOT’s required percentage of Balancing Energy Service Down bids as posted at 0600 of the Day Ahead multiplied by the QSE’s scheduled energy Resources in each Congestion Zone, less any QSE trades, energy scheduled by ERCOT from Resources under an RMR Agreement, and energy scheduled from Resources that receive an OOMC instruction, averaged over the hour.

(b) The greater of zero (0) or the QSE’s scheduled energy Resources ERCOT wide less any QSE trades, energy scheduled by ERCOT from Resources under an RMR Agreement, and energy scheduled from Resources that receive an OOMC instruction, averaged over the hour, less the QSE’s minimum sustainable capacity (except for OOMC units and RMR units) represented in its Resource Plan, and less the QSE’s scheduled Regulation Down service.

MinimumDownBalanceBid=Max0,Min(zSchGen−uOLMinCap−SchRegDn),z(SchGen∗DBESReq%)

Where:

SchGen = 	the QSE’s scheduled energy per CM zone less any QSE trades, energy scheduled by ERCOT from Resources under an RMR Agreement and energy scheduled from Resources that received an OOMC instruction for the hour.

OLMinCap = 	Low Sustainable Limit for each online and available unit (except for RMR units and OOMC units).

SchRegDn = 	Down Regulation service scheduled by the QSE

DBESReq% = 	Down Balancing percentage posted by ERCOT

z = 	Congestion Management Zone

u = 	Unit

Balancing bid curves will have the following components:

- $/MWh

- Quantity (MW)

- Congestion Zone

- Ramp Rate

### 6.5.2	Balancing Energy Service

(2).  QSEs shall provide Balancing Energy Down Service bids prior to the close of the   Adjustment Period equal to or greater than the requirement according to

Section 4.5.2, Receipt of QSE’s Balancing Energy Bid Curves.