| PRR Number | 517PRR | PRR Title | Reduce the Number of Annual TCRs Sold to 40% from 60% |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | Section 7.5.3.1, Annual and Monthly Auction of Transmission Congestion Rights |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | To reduce the number of annual TCRs being sold from 60% to 40%. |  |
| Reason for Revision |  | Selling fewer annual TCRs will help reduce the chance that the auctioned will exceed available TCR capacity number of TCRs sold, and will help make sure that monthly TCRs are available on all CSCs. |  |
| Timeline |  |  |  |
| Date Posted |  | 5/17/04 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Pamela Dautel |
| E-mail Address | pdautel@ercot.com |
| Company | ERCOT |
| Company Address | 2705 W. Lake Dr., Taylor TX 76574 |
| Phone Number | 512-248-3955 |
| Fax Number | 512-248-3995 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Yes | None | Will reduce overselling annual TCRs |
| MARKET SEGMENT | Yes | None | Will help insure that monthly TCRs are available for each CSCs. |
| Consumer | None | None |  |
| LSE: General, Including NOIE | Not known. | Not known. | Not known. |
| LSE: CR & REP | Not known. | Not known. | Not known. |
| QSE | Not known. | Not known. | Not known. |
| Resource | Not known. | Not known. | Not known. |
| TDSP | Not known. | Not known. | Not known. |

Comments

At the time that available TCRs over each CSC is initially calculated in November of the prior year, it is not possible to precisely predict what capacity will actually be available for TCRs throughout the year.  Circumstances arise during the year will affect actual transmission capacity available for CSCs (e.g. transmission outages and new facilities). 2003 TCR Program analysis summarized in the table below, shows that annual TCRs sold on the South to North and South to Houston CSCs ultimately exceeded available CSC capacity.  This is evident where a negative number appears in the “TCRs Sold” column.  As a result, monthly TCRs were not available on the South to North and South to Houston CSCs for eight (8) months and one (1) month, respectively.   To reduce the chance that the number of TCRs  auctioned without exceeding capacity, ERCOT proposes that Section 7.5.3.1, Annual and Monthly Auction Summary, be modified so that forty percent (40%), rather than sixty percent (60%), of the total annual quantity of TCRs less PCRs for any given CSC be awarded to Market Participants in the annual auction.

|  | South to North |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2003 | OC0 | Settlement Adjustment | Total TTC | TCRs Sold | PCRs | Total TCRs/PCRs | Over/Under |
| Annual | 754 | -87 | 666 | 328 | 119 |  |  |
| Jan | 904 | -86 | 819 | 372 | 119 | 819 | 417 |
| Feb | 896 | -88 | 808 | 359 | 119 | 806 | 503 |
| Mar | 575 | -98 | 477 | 30 | 119 | 477 | 477 |
| Apr | 99 | -127 | -28 | -147 | 119 | 300 | 167 |
| May | 548 | -173 | 374 | -73 | 119 | 374 | 377 |
| Jun | 557 | -208 | 349 | -97 | 118 | 349 | 446 |
| July | 572 | -203 | 369 | -77 | 118 | 369 | 175 |
| Aug | 514 | -211 | 303 | -143 | 118 | 303 | 177 |
| Sept | 442 | -111 | 331 | -115 | 118 | 331 | -106 |
| Oct | 466 | -95 | 371 | -75 | 118 | 371 | N/A |
| Nov | 588 | -179 | 409 | -37 | 118 | 409 | 101 |
| Dec | 755 | -115 | 639 | 193 | 118 | 639 | N/A |

|  | South to Houston |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2003 | OC0 | Settlement Adjustment | Total TTC | TCRs Sold | PCRs | Total TCRs/PCRs | Over/Under |
| Annual | 870 | -5 | 865 | 482 | 61 |  |  |
| Jan | 986 | -184 | 802 | 259 | 61 | 802 | 531 |
| Feb | 984 | -178 | 806 | 263 | 61 | 806 | 699 |
| Mar | 890 | -38 | 852 | 309 | 61 | 852 | 254 |
| Apr | 583 | -162 | 421 | -123 | 61 | 420 | 226 |
| May | 1002 | -13 | 989 | 446 | 61 | 989 | 217 |
| Jun | 660 | 148 | 808 | 266 | 60 | 808 | N/A |
| July | 667 | 149 | 816 | 274 | 60 | 816 | -265 |
| Aug | 693 | 146 | 839 | 264 | 60 | 806 | -51 |
| Sept | 785 | -3 | 782 | 240 | 60 | 782 | -138 |
| Oct | 769 | 62 | 832 | 290 | 60 | 832 | -171 |
| Nov | 678 | 103 | 781 | 239 | 60 | 781 | -222 |
| Dec | 907 | -18 | 890 | 348 | 60 | 890 | 15 |

As an additional timing note, for this PRR to be effective in 2005, Board approval is required prior to December 2004.

Proposed Protocol Language Revision

# Congestion Management

## 7.5	Transmission Congestion Rights

### 7.5.3	Annual and Monthly Auction of Transmission Congestion Rights

#### 7.5.3.1	Annual and Monthly Auction Summary

Forty percent (40%) of the total annual quantity of TCRs less PCRs for any given CSC will be awarded to Market Participants based on the results of an initial annual auction.  These TCRs will be made available in the annual auction for each hour of the year.  For the annual auction, the quantity of TCRs used to calculate the 25% limit, pursuant to Section 7.5.9, Limitation on Ownership or Control of TCRs, is based on the total annual quantity of TCRs (which includes PCRs).  Each annual auction will be completed no later than the 15th of December, on a date set by ERCOT.

Prior to each monthly auction, ERCOT will determine the total monthly quantity of TCRs available for that month based upon forecasted system conditions for the month.  The amount of TCRs that will be auctioned in the monthly auction will be the total monthly quantity of TCRs, less any PCRs, and less any TCRs for that month sold in the annual auction.  For that monthly auction, the quantity of TCRs used to calculate the 25% limit, pursuant to Section 7.5.9, Limitation on Ownership or Control of TCRs, is the greater of (A) the total annual quantity of TCRs, or (B) the total monthly quantity of TCRs.  However, in determining the amount of TCRs available in each monthly auction, ERCOT shall seek to achieve revenue neutrality and avoid a revenue shortfall due to payment to TCR holders for the month.  The TCRs auctioned in the monthly auction will be awarded to Market Participants based on the results of monthly auctions.  These TCRs will be made available in the monthly auction for all hours of each day of each month for which the auction is being held.  Each monthly auction will be completed no later than the 15th of each month prior to the month that the TCRs are effective, on a date set by ERCOT.