| PRR Number | 479PRR | PRR Title | IDR Optional Removal Threshold |
| --- | --- | --- | --- |
| Recommended Action |  | Approve |  |
| Protocol Section(s) Requiring Revision |  | 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement 18.6.7, IDR Optional Removal Threshold for Move-in Customers [new] 18.6.8, IDR Optional Removal Threshold for Existing Customers [new] |  |
| Proposed Effective Date |  | April 1, 2004 |  |
| Priority & Rank Assigned |  | Pending at PRS |  |
| Summary of Impact Analysis |  | A manual process of pre-authorization would be implemented as soon as a minor computer system change is made to allow a new query process; minor staffing impacts (.25 FTE) for pre-authorization investigations; no operating impacts. |  |
| Revision Description |  | Allow the removal of an IDR meter for settlement under certain conditions when load drops below a minimum threshold. |  |
| Benefit |  | Allowing the removal of an IDR meter for settlement when a new customer move in to a premise and that customer’s load is much lower that the prior customer who may have warranted the use of an IDR meter. The new customer should not have to pay for an IDR meter needed by the prior customer. In addition, some customer’s load may have dropped for some time, which means the need for a mandatory IDR meter has also diminished. |  |
| PRS Recommendation |  | PRS recommends approval of PRR479 as modified by ERCOT Comments. |  |

| Sponsor |  |
| --- | --- |
| Name | Ernie Podraza, PWG Chair |
| E-mail Address | epodraza@reliant.com |
| Company | Reliant Energy |
| Company Address | 1000 Main, Houston, Texas 77002 |
| Phone Number | 713-497-5295 |
| Fax Number |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Additional reporting and verification resources, which shall increase the administration cost. | TBD system changes. Cost unknown. | None |
| MARKET SEGMENT |  |  |  |
| Consumer | Possible reduced cost. | N/A | Possible reduction in TDSP wires charges. Customer Choice of a meter type. |
| LSE: General, Including NOIE | Loss of settlement accuracy. Changes in settlement charges. | N/A | None |
| LSE: CR & REP | Loss of settlement accuracy. Changes the relationship with the customer. Changes in settlement charges. Possible changes in revenue. | Added software to manage. | None |
| QSE | Changes in settlement charges. | N/A | None |
| Resource | N/A | N/A | N/A |
| TDSP | Increased number of meter changes. | Software changes possible such as validation of meter type. | Less processing of IDR data. |

Proposed Protocol Language Revision

{ERCOT Comments 011404}

## Installation and Use of Interval Data Recorders

### Interval Data Recorder (IDR) Installation and Use in Settlement

- IDR Mandatory Installation Threshold:  IDRs shall be installed and utilized for settlement of Premises having either:

  - A peak demand greater than 1000 kW (or 1000 kVa), or

  - Service provided at transmission voltage (above 60 kV).

- A Competitive Retailer may have an IDR installed and used for settlement purposes at any associated Premise outside the IDR Requirement.  Except as stated in item (4) of this Section, IDRs in place or installed after September 1, 1999 shall be used for settlement.  Once an IDR is installed on a Premise and used for settlement purposes, the given Premise shall continue to be settled with its interval data, except as stated in Sections 18.6.7, IDR Optional Removal Threshold for Move-in Customers, and 18.6.8, IDR Optional Removal Threshold for Existing Customers.  If a Customer or CR requests installation of an IDR meter, the same Customer may not request removal of the IDR meter for a period of twelve (12) months following such installation.

- All Non-Metered Loads such as street lighting, regardless of the aggregation level, shall not be required to install IDRs under the IDR Requirement.  These loads shall be settled using Load Profiles.

- For premises not subject to the IDR Requirement in item (1) of this Section, IDRs installed at the request of ERCOT, a TDSP, a municipal, or a cooperative for Load research, rate/tariff design calculation, coincident demand calculation, or Load Profiling purposes shall be exempt from the requirement to use an IDR for settlement purposes.

- For IDR installation procedures reference Section 10.2.2, TDSP Metered Entities.

- TDSPs responsible for any Load transfer schemes between ERCOT and Non-ERCOT Regions shall install IDR metering capable of measuring the Load served during the period the Load transfer is implemented.

    - IDR Optional Removal Threshold for Move-in Customers

A Move-in Customer, or the CR upon a Customer’s request, may request, in accordance with PUCT rules and regulations, the removal of an IDR meter and replacement with a Non-IDR meter provided that the request is submitted within one hundred twenty (120) days of a new Customer’s move-in at an existing Premise.  The IDR meter shall be removed and a Non-IDR meter installed if the Premise’s fifteen (15) minute maximum demand for a minimum of twenty-five (25) days of current meter readings is below the threshold defined in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement, item (1).  If the Premise’s Non-IDR maximum monthly demand during the next twelve (12) months for the same Customer exceeds the minimum threshold as defined in Section 18.6.1 item (1), then the IDR meter shall be reinstalled.

### IDR Optional Removal Threshold for Existing Customers

A Customer, or the CR upon a Customer’s request, may request, in accordance with PUCT rules and regulations, the removal of an IDR meter and replacement with a Non-IDR meter provided the Premise’s fifteen (15) minute maximum demand interval for the most recent twelve (12) month period does not exceed the threshold defined in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement, item (1).  If the Premise’s Non-IDR maximum monthly demand during the next twelve (12) months for the same Customer exceeds the minimum threshold, as defined in Section 18.6.1 item (1), then the IDR meter shall be reinstalled.  If a Customer or CR requests removal of an IDR meter, the same Customer may not request reinstallation of an IDR meter for a period of twelve (12) months following such removal.

| PRR Evaluation |  |
| --- | --- |
| Non-ERCOT Market Comparison | No Comparison conducted. |
| Comments Author | Comments Summary |
| ERCOT | Revised language. |

| Sponsor's Revision Description | Allow the removal of an IDR meter for settlement under certain conditions when load drops below a minimum threshold. |
| --- | --- |
| Sponsor's Reason for Revision | Allowing the removal of an IDR meter for settlement when a new customer move in to a premise and that customer’s load is much lower that the prior customer who may have warranted the use of an IDR meter. The new customer should not have to pay for an IDR meter needed by the prior customer. In addition, some customer’s load may have dropped for some time, which means the need for a mandatory IDR meter has also diminished. |