Highlighted sections to be completed by ERCOT

| CMGRR Number | 2004-3 | CMGRR Title | Customer Programming Specifications |
| --- | --- | --- | --- |
| ###### Status |  | Open |  |
| Competitive Metering Guides Section Requiring Revision |  | Sections 2.1 and 6.1 |  |
| Protocol Section Requiring Revision, if any. |  | ## None |  |
| Requested Resolution |  | ## Approve as submitted by the COMET WG |  |
| Revision Description |  | Update the Customer Roles and Responsibilities and the Customer Programming Specifications of the Guides. |  |
| ###### Reason for Revision |  | Address questions submitted during the “RMS review stage of the CMGs in October – November 2003”, where no additional or alternative wording was submitted with the questions to provide clarification in the Guides. Based on the timeline for completing the Guides, the COMET WG decided to move the questions to a separate document for consideration at a later date. Clarified that the Customer or Customer’s agent has the responsibility to ensure that a competitive meter supports the functionality for the Customer requested data elements. Clarification on the installation process for a competitive meter, when the meter manufacturer’s software does not have the functionality to print out a meter program and the customer requests to verify a meter program. Changed the installation process surrounding the Customer or Customer’s agent verification of the meter program. The current process required the Customer or Customer’s agent to provide confirmation to the TDSP before the TDSP would proceed with the meter installation. The modified process requires the TDSP to continue with the meter installation process unless notified by the Customer or Customer’s agent not to proceed. |  |
| ## Sponsor |  |  |  |
| Name |  | Competitive Metering Working Group |  |
| E-mail Address |  | terry.bates@oncorgroup.com |  |
| Company |  | Oncor – COMET Chair |  |
| Company Address |  | Dallas, Texas |  |
| Phone Number |  | (214) 875-2972 |  |
| Fax Number |  | (214) 875-2143 |  |

Redlined language shall be submitted to show recommended changes

Proposed Competitive Metering Guides Language Revision

## Customer

Customer roles and responsibilities include but are not limited to:

  - Choosing whether to own or authorize a third party (Customer’s agent) to own a competitive meter for their Electric Service Identifier (ESI ID);

  - Entering into an Agreement for Meter Ownership and/or Access for Non- Company Owned Meters (Agreement) with the TDSP for a competitively owned meter or executing a Letter of Agency (LOA) with a third party to act on the Customer’s behalf;

  - Initiating the process to have meters added to the Qualified Competitive Meter List posted on the ERCOT web site;

  - Providing a meter to the TDSP that meets the desired functionality and is on the Qualified Competitive Meter List;

  - Submitting the Texas Meter Information (TMI) Form requesting meter information for the ESI ID that qualifies for competitive meter ownership;

  - Requesting installation and/or removal of a competitively owned meter; and,

  - Charges for construction services that the Customer or Customer’s agent requests in accordance with the TDSP approved tariffs.

## Customer Programming Specifications

The Customer or Customer’s agent shall provide data requirements to the TDSP for programming a competitively owned meter. The Customer or Customer’s agent has the responsibility to ensure that the meter functionality supports the requested data requirements.

The TDSP will program any competitively owned meter to obtain the appropriate TDSP billing and settlement determinants (TDSP standard program).

The TDSP will customize the meter program to support additional functions as requested by the Customer or Customer’s agent.  If the meter functionality does not allow these items to be programmed separately from TDSP billing determinants, the Customer or Customer’s agent will specify the data and functionality requirements by providing one of the following to the TDSP:

  - Check off sheet listing detailed information for functionality requested, including channel designation (manufacturer program printout); or,

  - Electronic file generated from the manufacturer’s software.

The TDSP will proceed with the meter installation request unless the Customer or Customer’s agent requests to verify the meter program prior to installation.

If the Customer or Customer’s agent requests to verify the meter program, the request shall be submitted along with the data requirements to the TDSP.  The TDSP will:

- Print out the meter program, if the manufacturer’s software supports this functionality, and send the meter program to the Customer or Customer’s agent; or,

- Notify the Customer or Customer’s agent, via e-mail, if the manufacturer’s software does not support the functionality to print the meter program, as requested.

- The TDSP will continue processing the meter installation request within seven (7) business days unless notified by the Customer or Customer’s agent, via e-mail, not to proceed with the meter installation request.

This page to be completed by ERCOT

| ## Timeline |  |
| --- | --- |
| Date Received | January 22, 2004 |
| Date Posted | Week of January 26, 2004 |
| COMET Review Date | January 22, 2004 |
| COMET Recommendation | Approve as recommended |
| COMET Protocols Impact Analysis | None |
| COMET Recommended Effective Date | Effective on TAC approval |
| RMS Consideration Date | February 12, 2004 |
| TAC Consideration Date | March 4, 2004 |

| ## RMS Subcommittee Review |  |
| --- | --- |
| RMS Review Date |  |
| RMS Recommendation |  |
| ## TAC Action |  |
| TAC Vote Date |  |
| Effective Date |  |
| TAC Vote Results |  |
| ## Appeal |  |
| Appeal Date |  |
| Entity Initiating Appeal |  |
| Nature of Appeal |  |