## Slide 1: ERCOT IDR Threshold Analysis Summary
RMS Presentation
June 10, 2004
By: Carl Raish
Lindsey Turns

## Slide 2: Distribution of IDRs Less Than 1000 kW
3,752 ESI IDs
6.4 GWh

## Slide 3: Profiling Error Calculation
Adjusted Profiling Error: quantifies the
difference between the actual (IDR) load
and the profiled load adjusted for UFE.
Net Profiling Error Cost: quantifies the
monetary cost of profiling error to the
Market.

## Slide 4: Distribution of Net Profiling Error

## Slide 5: Cross Customer Error Calculation
Cross Customer Error: quantifies the
cross subsidization between customers
that occurs as a result of Profiling
Error adjusted for UFE.

## Slide 6: Cross Customer Error Summary

## Slide 7: Tariff Savings for Premises which Benefit by Removing IDR Meter

## Slide 8: Cross Customer Error Summary for Premises which Benefit by Removing IDR Meter

## Slide 9: Recommendation
Allow optional removal below 150 kW
  615 premises impacted however likely that only 271 would experience tariff reductions
  TDSP tariff reductions ~ $646/premise
  ~ $201 Cross Customer Error introduced