COMPLIANCE REPORT TO ROS

Feb 6, 2004

- ERCOT Frequency Control Related Issues:

  - Continuing work with QSEs to review responses to letters of non-Compliance for Regulation measure – details at meeting.

  - January ERCOT-wide CPS-1 monthly one-minute average frequency score fell to 133% but still well above 100% minimum passing.

  - Compliance will work with Operations to review data for all QSE SCE’s performance during 0600 and 2200 periods.

- Transmission Security Issues:

  - No apparent NERC Interconnect Reliability Limit (IRL) violations in January.

  - Project request for security limit violations in draft.

- Resource Plan Performance Metrics – Drafting of a PRR has begun, issues still remain with a couple of measures.  Compliance will be working directly with QSEs who are short of expectation to determine cause.  PUCT has asked to know names of entities in 2003, which has so far been kept confidential.

- Generator real and reactive testing –   ERCOT Compliance will present an update on units with submitted reactive test data at the Feb ROS meeting;  a task force is meeting Feb. 9th on the issue.

- NERC Issues –

  - NERC Compliance Managers finalized repeat measures for assessment in 2004, but details are still not posted on ERCOT and NERC websites.   Reason – NERC is trying to overhaul measures following FERC interest in reliability enforcement.  A high level NERC Compliance Template review task force is being kicked off to address shortcomings in measures, and possibly add new ones, by summer 2004.

  - ERCOT is finalizing annual report for 2003 NERC measures; a few instances of minor non-compliance will likely be reported.

  - All control areas and reliability coordinators have been asked to complete lengthy self-assessments along the lines of those given to First Energy and MISO following the August 14 blackout.   Audits of many – with FERC personnel participating – will occur prior to June 30, 2004.  ERCOT is not in the first group, but is likely to be audited later in the year.

  - The first posting of the Coordinate Interchange standard is out for comments due February 10th; this should have minimal impact on ERCOT as it deals with interchange between balancing authorities – although some comments suggest ERCOT needs to bolster its reasons for exemption.

  - The first posting of the Coordinate Operations standard is out for comments due March 1.  This will address operational data sharing, ranging from realtime to outage coordination.

  - The second version of the NERC functional model and a technical supporting document are out for comments due Feb. 27th

- Protocols and Protocol Compliance –

  - Still working on measurement processes for enforcing compliance with certain aspects of Protocol and Operating Guides, including posting of non-compliant entities.

  - Participating in Protocol revision reviews and impact assessments

- Real time data review – working with IT Opns group to identify missing or suspect data points.

- Investigations –

  - Will discuss May 15th followup items at ROS meeting

  - Transmission aspects of event from August 7th in the Rio Grande Valley were reviewed and addressed by AEP – does ROS request a presentation of the event in March?