8.6.3 Deratings

The Resource Entity or its designee must enter material deratings that are expected to last more than forty-eight (48) hours in the ERCOT Outage Scheduler.  A derating is considered to be material when the Resource’s capability is reduced by the greater of  10% or 10 MW. ERCOT will consider the Resource Entity’s capability as the lesser of the latest Seasonal Net Capability Test, the Asset Registration submittal or the telemetered High Operating Limit.