# Operations Working Group report to ROS March 16, 2004

The OWG last met on March 9, 2004 in an abbreviated meeting prior to the ERCOT Operations Seminar Practice Session.

OGRRs Recommended for ROS approval:

- OGRR 143 - Change Control Process - Revises the OGRR process to require only one review by ROS, unless comments are made on the ROS Recommendation Report.  Modifies comment periods to be more similar to the Protocol revision comment periods.

- OGRR 144 - Tripping Generators for Low Frequency Events - Clarify Operating Guide requirements for coordinating generation under frequency trip points with firm Load shed trip points.

- OGRR 146 - Annual Evaluation Forms for LaaRs Providing AS - This specifies annual testing requirements for LaaRs as required by the Protocols and to provide annual testing forms.

Currently, the ERCOT Responsive Reserve total includes responsive from those generators that have been limited by ERCOT for congestion management. ERCOT Operations has requested that an additional calculation for real time Responsive Reserve be made available as an operational tool. This new calculation will take units that have been constrained or parked by ERCOT into account and will reduce the real time Responsive Reserve accordingly. This new tool should be available in November.

The next meeting is scheduled for April 21, 2004 at the Met Center.

- The Operating Guide Revision Task Force met last on March 8, 2004.

##### OGRTF Action Items

- Review and correct Operating Guide Section 3

- SPWG & DWG recommended changes to Operating Guide Sections 1, 2, and 7

- OGRR 148 Planning Assessment and Review Working Group reference

Next OGRTF meeting is scheduled for April 20, 2004.

- The Black Start Task Force met last on March 5, 2004. The task force is recommending that ERCOT include the Black Start back up communications standard in the 2005 Black Start RFP. The 2005 Black Start RFP is due to be posted on April 1st and it is expected to include the changes from PRR 487 (pending Board approval.)  Regional Black Start Training is proceeding as scheduled.

- The Communications Task Force has not met since the last ROS meeting. The TF has resolved the System Security Response Group (SSRG) access problems during conference calls. ERCOT will make two separate calls- one for QSEs and one for TOs. The ERCOT System Security procedures have been reviewed and a process put in place to keep the SSRG list current. The SSRG procedures have been updated and distributed to SSRG members.