## ERCOT Operations Report

## ROS & OWG

## February 2004

February-Frequency Control Issues (High or Low) 59.9 > F > 60.1

|  |  |  | Reg | ERCOT | Schedule Change |
| --- | --- | --- | --- | --- | --- |
| Time | Frequency | Load | (Max) | SCE | (Largest QSE Change) |
| 2/2/2004 9:06 | 59.846 | 450 MW resource lost. Pre-disturbance Frequency 59.95 |  |  |  |
| 2/4/2004 22:11 | 60.15 | 32854 | 339 | 213 | -4875( -1525) |
| 2/10/2004 5:55 | 60.127 | 29243 | -1001 | 509 | 4200 (1050) |
| 2/10/2004 6:05 | 59.852 | 29943 | -217 | -417 | 4200 (1050) |
| 2/17/2004 5:03 | 59.897 | 27764 | 760 | -930 | 1455 (315) |
| 2/20/2004 20:41 | 59.894 | 28563 | 178 | -426 | 1 QSE with server and communication issues affecting their SCE |
| 2/29/2004 18:36 | 59.893 | 28485 | 620 | -811 |  |

February -Locations and Relative Activity Capacity Purchases for OOMC & RMR

*Days of units purchased for some time in the area described.  Data taken from daily reports and is approximated for global overview purposes only.

January Locations and Relative Activity of Congestion Management

Post-Contingency Violation occurrences for February of 1 day listed below:

Allen SW-Royse Sw				Midland East - Odessa

Northeast – North				Mulberry Creek - Oklaunion

Comanche Sw – Comanche Peak		W Columbia Main – Sweeney Cogen

Marion – Hill Country/Skyline			Watermill - Tricorner

| Loss Of | Overloads | February Count |
| --- | --- | --- |
| Austrop-Sandow | Austrop Auto 1 | 10 |
| South-North OC1 |  | 9 |
| Asherton-Eagle Pass | Uvalde-Ashphalt Mines | 8 |
| Duke-N Edin | Duke-N Edin | 8 |
| Graham-Parker-Benbrook | Stephenville-Lingleville | 7 |
| N Edin-Rio Hondo | Weslaco-N Weslaco | 6 |
| Lon Hill-N Edin | Driscoll-Racardo | 6 |
| Midland East-Falcon Seaboard | Morgan Creek Auto 1 | 4 |
| Morgan-Odessa | Morgan Creek Auto 1 | 3 |
| Clear Springs-Marion-Zorn | Cibolo-McQueeney | 3 |
| Laredo - Falfurrias | Falcon-Lopeno | 2 |
| Lytton-Zorn | Flatona-Halletsville | 2 |
| N McAllen-N Edin | N Edin-Moore | 2 |
| South-Houston OC1 |  | 2 |
| Crane LCRA-Midkiff Sw | Crane TU-Humble | 2 |
| Laredo Import |  | 2 |
| Mt Enterprise-Trinidad | Martin Lake-Tricorner | 2 |
| Austrop-Sandow | Hicross-Marshall Ford | 1 |
| Midland-Odessa | Odessa-Big Three Tap | 1 |
| N Edin-Rio Hondo | Harlingen-Santa Rosa | 1 |
| N McAllen-N Edin | Bates-S Mission | 1 |
| West Levee Auto 1 | West Levee Auto 2 | 1 |
| Allen Sw-Royse Sw | Tricorner-Watermill | 1 |
| Clear Springs-Marion-Zorn | Marion Auto | 1 |
| Collin Sw-Anna Sw | Royse Sw-Allen Sw | 1 |
| Comanche Sw-CPSES | Killeen Fort Hood Sw-Killeen Clear Creek | 1 |
| Forney-Elkton-Tricorner | Tricorner-Watermill | 1 |
| Laredo-Falfurrias | Dilly Sw Auto | 1 |
| Marion-Hill Country-Skyline | Cibolo-Schertz | 1 |
| Mulberry Creek-Oklaunion | WFALS - Fisher Rd | 1 |
| Renner Sw Auto 1 | Newhaven-Alpha Sw | 1 |
| West Columbia Main-Sweeney Cogen | West Columbia Main-Brazoria Sub | 1 |

New Procedures/ Forms/ Operations Bulletins

| Frequency Control Desk V2R11 | 02/27/2004 | Revised section 2.6.2 to reflect PRR470 (to include fuel availability as a concern for an emergency condition). |
| --- | --- | --- |
| Transmission & Security Desk V2R17 | 02/27/2004 | Revised sections 2.5.2 and 2.5.4 to reflect PRR470 (to include fuel availability as a concern for an emergency condition). |
| Shift Supervisor V2R4 | 02/10/2004 | Added step in section 1.3.3 and inserted section 1.3.4 addressing SSRG Conference Calls. |

# Security Alert Stage/ Threatcon/ Related issues

Security Threat Alert Yellow (Elevated) maintained through February.

OCN, Advisory, Alert, Emergency Notice and Major Events

2/5	OCN issued due to gas curtailments.

2/12 23:00 – 2/13 11:00	Cold weather Advisory issued.

2/12 20:00 - 2/13 24:00	OCN for possible gas curtailments.

2/13 01:00 – 13:00  	OCN issued for freezing temperatures.

2/15 00:00 – 16:00  	Advisory issued due to reported gas curtailments.

Significant Communication Problems

2/02	Portal down from 12:30-12:50.

2/5 	Portal down from 05:23-06:00.

2/10	Held 00:00-00:30 deployments.

## Major Computer Systems Problems/ Fixes

None

# Major system Voltage problems

None.

Blackout/Load Shed incidents

None.

ERCOT peak (Unofficial)

02/13/04  41,325 MW

## Update on New Generation

No new generation approved for initial synchronization for February.

## Max Temperature

2/19   82 F in Far West

# New SPS & RAP’s

None.

Other

None.