# Operations Working Group report to ROS May 11, 2004

The OWG last met on April 21, 2004.

OGRR recommended for ROS consideration:

- OGRR 148 – Remove Reference to PARWG – Update Section 5.1.1 to remove reference to PARWG. No comments received.

Note:  OGRR147 – System Fuel Availability – is on hold pending PRR 499, which would eliminate the fuel shortage communication to the market except for Emergency Notice.

Operating Guide Update (Effective May 1, 2004):

Section 2:

OGRR144 – 	Tripping Generators for Low Frequency Events

Tripping Generators for Low Frequency Events:  Clarifies the Operating Guide requirements for coordinating generation under-frequency trip points with firm load shed trip points.

Revised subsections:	2.9.2

Section 3:

OGRR144 – 	Tripping Generators for Low Frequency Events

See Section 2 above.

Revised subsections:	3.1.4.6

OGRR146 – 	Annual Evaluation Forms for LaaRs Providing Ancillary Services

Changes the Protocol Reference from seasonal LaaR testing to an annual evaluation of the telemetry attributes.  In addition, a biennial test of the under frequency relays for LaaRs providing Responsive Reserve Service is required if not verified through an actual event.  This OGRR also adds an enforcement section comparable to Generation Resource requirements.

Revised subsections:	3.1.4.1, 3.1.4.8

Section 6:

OGRR146 – 	Annual Evaluation Forms for LaaRs Providing Ancillary Services

See Section 3 above.

Revised subsections:	6.1.3, 6.2.6, 6.2.7

Section 7:

OGRR144 – 	Tripping Generators for Low Frequency Events

See Section 2 above.

Revised subsections:	7.2.5.3

The OWG also reviewed the latest ERCOT Operations bulletins and discussed the implementation of the new Outage Schedule PRR 425.

The next OWG meeting is scheduled for May 19, 2004.

- The Operating Guide Revision Task Force met last on April 20, 2004.

##### OGRTF Action Items

- Review and correct Operating Guide Section 3

- SPWG & DWG recommended changes to Operating Guide Sections 1, 2, and 7

Next OGRTF meeting is scheduled for May 18, 2004.

- The Black Start Task Force met last on May 5, 2004.  The TF is reviewing the backup communications list for TOs and Regional Black Start Training plan for 2005. The 2005 Black Start RFP been distributed and is due to ERCOT on June 1, 2004.

- The Communications Task Force has not met since the last ROS meeting.