NDSWG Meeting Notes

May 13, 2004

Taylor Texas

1. Data submittal responsibility regarding Station Names    Situation has been that different companies submit information for the same station but in 2 different naming conventions.  What protocol should be followed here for the network group at ERCOT to avoid confusion and inefficient use of time?  The solution is that these companies must be in agreement on the naming convention for stations and lines, and then submit one service request.

Tie line ratings have been a similar issue when data is submitted by 2 different companies for the same tie line.   Again the companies have to be in agreement on what the tie line rating will be and then the information is to be submitted to ERCOT.

In the case of limiting elements when varying tie line ratings are submitted by more than 1 company for the same tie line, ERCOT Operations Engineering will review and implement the lower rating.  At this point, ERCOT would notify the companies of the rating utilized.

ERCOT will add a column for tie lines on the data form used in Service Request process.

2. Rating Changes Procedure      ERCOT indicated that a draft proposal (consisting of a Protocol or Procedure change) was being worked on regarding the submittal of ratings.  PRR 513 discussion occurred at this point as it proposed related changes to the process.  ERCOT noted that there needed to be a TDSP approved contact for ratings changes.  At this point, ERCOT will enforce received changes.  Unfortunately there have been multiple ratings change requests from a single entity that were different for the same transmission equipment.  ERCOT made it clear that the Service Request Process must ultimately be followed.  Interim procedures will be developed in the draft proposal that should include a “temporary” ratings change to be followed by a Service Request.  ERCOT has submitted a response to PRR 513

3. Transmission Modeling Paper Members were asked to review responses to TNT Fidelity Paper and be prepared to be involved in the ERCOT State Estimator workshop as approved by ROS.  Chairman stressed the need of the group to participate in the workshop.

4. PRR 513  Discussed in item 2 above.  Members were requested to review PRR and comment as needed to PRS.  There was concern about historical reference and tracking issues in the PRR as written.

5. Dynamic Ratings ERCOT explained the practice of dynamic ratings.

Currently ERCOT is using a pilot program where the company sends in a table with dynamic ratings centered on the standard normal, emergency, and load shed ratings.  A long term dynamic rating program is being designed that should be in place at the end of the year.

For the short term pilot program either the temperature sent in by the TDSP or the weather zone temperature is used.  Then five (5) degrees is added to the temperature and the result is rounded up to the next 5 degree differential increment.  The TDSP decides which temperature is used.  A Service Request form for Dynamic ratings has been established.  The form and the dynamic ratings pilot program procedures were circulated.

6. SCR 723  Group members were asked to establish contact with their respective IT departments to facilitate implementation of SCR 723.  Members requested details of the requirements and were informed that all details have not been determined.  Upon completion of the requirements evaluation by ERCOT staff information regarding SCR 723 will be available to affected Market Participants.

7.  July 1 or July 8