PDCWG Report to ROS July 13, 2004

The PDCWG will meet on Thursday, July 22, 2004 and Friday, July 23, 2004 at the Austin Met Center.  The PDCWG will continue work on the Texas Nodal Market Regulation providers’ performance measures.  Operating Guides Revisions for clarification of turbine droop settings, governor dead bands and QSE Bias settings will also be developed for submittal.

Frequency Events for the second quarter of 2004 will also be reviewed.  June 2004 had many frequency events with about 8 events that may qualify for review per PRR 468.  ERCOT is collecting data for these events.