## Slide 1
Dan Woodfin
Manager, Resource Planning
ERCOT

## Slide 2: Uses at ERCOT
RMR Analysis - Is it lower cost (NPV) to continue to contract for an RMR unit or to build the transmission necessary to eliminate the reliability need for that unit
Project Economic Analysis – Does the savings from reduced OOM, losses, etc. exceed the cost of a transmission project
Congestion Forecasting – Which elements of the transmission network are likely to be congested in the future and what are the expected costs of that congestion
Dispatch for Powerflow Cases – Provide economic or security-constrained dispatch for use in powerflow cases
Additional uses keep coming

## Slide 3: Market Forecasting Tool
Models relevant cost and operating characteristics of:
    Generating units
    Transmission network
    Load
Performs security-constrained unit commitment and economic dispatch of generation to serve system load
    Hourly chronological
    Cost based
    Secure for contingencies

## Slide 4: Inputs
Generating Units
  Capacity (Min, Max) – Requested data from generators
  Heat Rates – Received from ~60% of generators
  O&M Costs – Remainder is New CCs and TX Genco
  Fuel Prices – Proprietary database used to fill gaps
  Min Up and Down times
  Ramp rates
  Startup Costs
Load
  Peak – Load Shape
  Energy
Transmission Network
  PTI power flow – Special Protection and
  Contingencies Remedial Action schemes

## Slide 5: Outputs
System
  Total cost to serve ERCOT load
  Zonal MCPEs or LMPs
  OOM costs
Generating Units
  Capacity Factors
  Variable Costs
  Revenues
Transmission
  Congestion Costs
  Contingency/Overloaded Element Pairs
  Locations with “Unserved” Load

## Slide 6
Will add some example output for meeting

## Slide 7
QUESTIONS?