# Operations Working Group report to ROS July 13, 2004

The OWG last met on June 16, 2004.  The OWG assigned the ERCOT Communications Task Force to (1) investigate the feasibility of developing hurricane and winter storm drills to better prepare system operators for emergency situations and (2) evaluate whether QSE operators should be included as part of the Operator Training requirements as prescribed by NERC.

Operators where reminded that TOs and QSEs are required to provide DOE/NERC reports as quickly as possible after the event.

OGRRs Recommended for ROS approval:

- OGRR147 – System Fuel Availability – consistent with approved PRR 499, which would eliminate the fuel shortage communication to the market except for Emergency Notice.

- OGRR 149 – Types of Responsive Reserve – Allows Combined Cycle Units operating a CT or GT coupled to a Steam Turbine to be considered as one unit by ERCOT, by aggregating the CT or GT and Steam Turbine net maximum capability to calculate the 20% compliance capability to provide Responsive Reserve.

OWG also submits for ROS approval two draft OGRRs for NERC requirements as assigned by ROS.

Operating Guide Update (Effective July 1, 2004):

Section 5:

OGRR148 – 	Remove Reference to PARWG

Removes all references to the Planning Assessment and Review Working Group (PARWG).

Revised subsections:	5.1.1

The next OWG meeting is scheduled for July 21, 2004.

- The Operating Guide Revision Task Force met last on June 15, 2004.

OGRR150 – UF Relay Trip time for Load Shedding - combination of relay and breaker trip times (37 cycles) - in its comment period.

##### OGRTF Action Items

- Review and correct Operating Guide Section 3

- SPWG & DWG recommended changes to Operating Guide Sections 1, 2, and 7

- OGRR for vegetation management requirements

- OGRR for operator training requirements

Next OGRTF meeting is scheduled for July 20, 2004.

- The Black Start Task Force met on June 23, 2004.  The 2005 Black Start selection process is on schedule.

- The ERCOT Communications Task Force is scheduled to meet July 14, 2004.