## ERCOT Operations Report

## ROS & OWG

## June 2004

Frequency control   59.9 > F > 60.1

|  |  |  | Reg | ERCOT | Schedule Change |
| --- | --- | --- | --- | --- | --- |
| Time | Frequency | Load | (Max) | SCE | (Largest QSE Change) |
| 6/1/2004 21:14 | 60.195 | 43805 | -1200 | -696 | Significant loss of load due to storm activity |
| 6/1/2004 23:54 | 60.129 | 33917 | -1029 | 514 | -3020 (-815) |
| 6/6/2004 8:32 | 60.139 | 29935 | -204 | 430 | Unit returned to service prior to schedule. |
| 6/7/2004 6:16 | 60.142 | 31695 | 274 | 291 | 2950 (925) |
| 6/10/2004 6:32 | 60.120 | 31478 | 231 | -107 | 3675(900) (06:00 schedule change) Low frequency 06:05 - 06:25. Sustained +900 MW deployed Regulation for 5 minutes prior to high frequency. |
| 6/11/2004 22:02 | 59.896 | 41302 | 502 | -557 | -4375 (-950) |
| 6/13/2004 6:08 | 60.108 | 27940 | -896 | 1277 | 1850 (925) |
| 6/14/2004 6:13 | 59.845 | 30522 | -34 | -1373 | 3775 (900) |
| 6/15/2004 23:01 | 60.112 | 34468 | -604 | 696 | -2575 (-425) |
| 6/27/2004 22:06 | 59.899 | 37462 | -381 | -1042 | -3200 (-650) |
| 6/28/2004 5:49 | 60.132 | 29476 | -614 | -15 | 3150 (825) |
| 6/28/2004 10:52 | 60.115 | 39502 | -207 | 34 | QSE recovering a large negative SCE. |
| 6/30/2004 1:02 | 60.101 | 28565 | -557 | 570 | n/a |

Disturbances

|  | June Trips | MW Lost |
| --- | --- | --- |
| 6/3/2004 3:20 | 59.841 | 600 |
| 6/3/2004 9:41 | 59.892 | 400 |
| 6/6/2004 10:44 | 59.870 | 610 |
| 6/7/2004 10:03 | 59.806 | 550 |
| 6/7/2004 17:48 | 59.868 | 550 |
| 6/8/2004 13:38 | 59.848 | 770 |
| 6/10/2004 8:06 | 59.887 | 450 |
| 6/11/2004 6:23 | 59.896 | 610 |
| 6/11/2004 13:36 | 59.854 | 570 |
| 6/11/2004 15:15 | 59.852 | 770 |
| 6/14/2004 15:30 | 59.871 | 570 |
| 6/14/2004 15:45 | 59.887 | 640 (3 Units) |
| 6/14/2004 19:53 | 59.843 | 725 |
| 6/15/2004 21:48 | 59.889 | 570 |
| 6/18/2004 6:53 | 59.898 | 510 (runback) |
| 6/18/2004 14:06 | 59.881 | 400 |
| 6/20/2004 2:56 | 59.836 | 600 |
| 6/20/2004 13:04 | 59.893 | 620 |
| 6/22/2004 22:16 | 59.874 | 400 |
| 6/24/2004 18:07 | 59.807 | 990 (6 Units) |

Deployed Responsive (Reported Above)

| 6/1/04 6:04 | 6/9/04 6:04 | 6/16/04 6:05 |
| --- | --- | --- |
| 6/1/04 14:14 | 6/9/04 12:04 | 6/16/04 9:05 |
| 6/2/04 6:06 | 6/9/04 22:27 | 6/18/04 6:52 |
| 6/2/04 18:06 | 6/10/04 8:04 | 6/18/04 14:06 |
| 6/3/04 3:20 | 6/10/04 17:36 | 6/20/04 2:56 |
| 6/3/04 6:08 | 6/10/04 21:58 | 6/20/04 13:04 |
| 6/3/04 9:41 | 6/11/04 6:23 | 6/21/04 4:02 |
| 6/4/04 6:10 | 6/11/04 13:36 | 6/22/04 22:16 |
| 6/5/04 9:40 | 6/11/04 15:14 | 6/24/04 18:07 |
| 6/6/04 10:43 | 6/11/04 21:02 | 6/25/04 12:16 |
| 6/7/04 8:13 | 6/11/04 22:02 | 6/27/04 19:04 |
| 6/7/04 10:03 | 6/14/04 6:13 | 6/27/04 22:03 |
| 6/7/04 17:48 | 6/14/04 7:58 | 6/28/04 6:03 |
| 6/8/04 6:06 | 6/14/04 15:30 | 6/28/04 10:08 |
| 6/8/04 9:58 | 6/14/04 15:44 | 6/28/04 19:49 |
| 6/8/04 13:37 | 6/14/04 19:53 | 6/30/04 6:06 |
| 6/8/04 23:18 | 6/15/04 21:48 | 6/30/04 22:05 |

# Locations and Relative Activity of Congestion Management

| Historical | Jun '03 | May '04 | Jun '04 |
| --- | --- | --- | --- |
| DFW | 219 | 133 | 226 |
| E RIO | 109 | 68 | 120 |
| W RIO | 47 | 31 | 60 |
| Laredo | 86 | 57 | 79 |
| Rio Pecos | 29 | 0 | 0 |
| Corpus | 31 | 31 | 30 |
| Abilene | 30 | 24 | 29 |
| San Angelo | 27 | 28 | 30 |
| Western | 7 | 17 | 36 |
| Houston | 12 | 0 | 0 |
| San Antonio | 6 | 0 | 2 |
|  | 603 | 389 | 612 |

| Contingency | Overload | Occurrences |
| --- | --- | --- |
| Marion - Hill Country/Skyline | Cibolo - Schertz | 21 |
| N McCallen - N Edinburg | Polk - Hall Acres | 21 |
| North - Houston CSC |  | 16 |
| South - Houston CSC |  | 14 |
| Sandow - Austrop | Austrop Tr | 13 |
| Midland East - Odessa | Odessa - Big Three | 12 |
| Gibbons Creek - Twin Oaks Switch | Jewet - Watsons Chapel | 10 |
| West Levee Tr | Compton Road - Industrial Bvd | 8 |
| South - North CSC |  | 5 |
| Allen -Royse/Monticello | Centerville Rd - Garland Rd | 5 |
| Nueces Bay - Whitepoint | Nueces Bay - Whitepoint | 5 |
| Austrop - Sandow | Austrop Tr | 4 |
| SA Red Creek Tr 2 | SA Red Creek Tr 1 | 4 |
| Frontera - S McCallen | Bates - Palmhurst | 4 |
| N Edinburg - Rio Hondo | S McCallen - Las Milpas | 3 |
| Asherton - Eagle Pass | Uvalde - Asphalt Mines | 2 |
| Big Lake Tr | Fort Lancaster - Illinois 4 | 2 |
| Clear Springs - Marion/Zorn | SMI - McQueeney | 2 |
| Mt Enterprise - Trinidad / Martin Lake - Stryker Creek | Stryker Creek - Dialville | 2 |
| N McCallen - N Edinburg | N Edinburg - Moore Field | 2 |
| San Angelo - Menard | Ballinger - Paint Rock | 2 |
| Temple - Lake Creek/Tradinghouse | Lake Creek - Temple | 2 |
| Uvalde - Hamilton | Asherton - West Conoco | 2 |
| West Levee - Watermill | Cedar Hill - Watermill | 2 |
| Hamilton Road - Sonora | Asherton - West Conoco | 2 |
| Big Lake - N McCamey | Fort Lancaster - Illinois 4 | 2 |
| West Levee - Sargent Rd | Southerland - Sargent Road | 2 |
| Big Lake Tr | Friend Ranch - Ozona | 2 |
| Frontera - S McCallen | N McCallen - W McCallen | 2 |
| N Edinburg - Rio Hondo | Hiedelbery – Weslaco | 2 |
| Royse - Farmersville | Collin - Carrolton NW | 2 |
| Allen -Royse/Monticello | Kirkland Park -Central Expressway | 2 |
| Cagnon - Marbach | Medical Center - Bandera | 2 |

| Contingency | Overload | Occurrences |
| --- | --- | --- |
| Bates - Frontera | N Edinburg - Moore Field | 1 |
| Cedar Hill - Venus/Sherry | Venus - Everman | 1 |
| Clear Springs - Marion/Zorn | Uvalde - Asphalt Mines | 1 |
| Dilley Switch - Sam Miguel | Derbys - Pearsall | 1 |
| Farmersville - Valley | Valley Tr | 1 |
| Fayetteville - Salem | Austrop Tr | 1 |
| N McCallen - N Edinburg | Polk - Pharr | 1 |
| Northeast - North CSC |  | 1 |
| Sargent - Watermill | West Levee - Watermill | 1 |
| Temple - Lake Creek/Tradinghouse | Ballinger - Paint Rock | 1 |
| Buda - Turnerville | Hicross - Hicross | 1 |
| Mt Enterprise - Trinidad / Martin Lake - Stryker Creek | Athens Tap - Athens | 1 |
| Carrollton NW Tr | Krugerville - Frisco | 1 |
| Uvalde - Hamilton | Asherton - Eagle Pass | 1 |
| Hamilton Road - Sonora | Uvalde - Asherton | 1 |
| Mulberry Creek - Oklaunion | Oklaunion - Fisher Road | 1 |
| Cedar Hill Tr | UT SW Medical - Amelia St. | 1 |
| Tradinghouse - Venus | Walnut Springs - Johnsville | 1 |
| Valley Tr 1 | Paris Sw - Kimberly Clark | 1 |
| Austrop - Lost Pines | Hayes - Zorn | 1 |
| Bruni Sub Tr 1 | Falcon - Garza | 1 |
| Centerville Tr 1 | Centerville Tr 2 | 1 |
| La Palma - Rio Hondo | La Palma - Rio Hondo | 1 |
| Gibbons Creek - Obrien/ Roans Prarie | Gibbons Creek Tr 2 | 1 |
| Jewett Tr | Palestine - Elkhart | 1 |
| Carrollton NW Tr | Navo - Frisco | 1 |
| Belton - Killeen Sw | Killeen - Killeen Ft Hood | 1 |
| Gibbons Creek - East | Gibbons Creek - Greens Prarie | 1 |
| Jewett Tr | Trinidad - Winkler | 1 |
|  | Cedar Bayou Tr 3 | 1 |
| WA Parrish - Bellaire | WA Parrish - Obrien | 1 |
| Bates - Garza | Bates - Palmhurst | 1 |
| Mt Enterprise - Trinidad / Martin Lake - Stryker Creek | Nacogdoches Tr | 1 |
| Cedar Hill - Venus | Watermill - Lancaster | 1 |
| Clear Springs - Marion/Zorn | Seguin - Seguin West | 1 |
| Lake Creek - Jewett | Navarro - Richland Chambers | 1 |
| Centerville Road - Kirkland Park | Centerville Rd - Garland Rd | 1 |
| STP - Dow | Blessing - Lane City | 1 |
| Anna Switch-Farmersville | Allen - Royse | 1 |
| N Edinburg - Bates | McColl Rd - McCallen | 1 |
| N McCallen - N Edinburg | Pharr - Pharr MVEC | 1 |
| Lon Hill - Whitepoint | Lon Hill Tr 1 | 1 |
| Hamilton Road - Sonora | Asherton - Asphalt Mines | 1 |
| Allen - Royse/ Monticello | Allen - Ben Davis | 1 |

New Procedures/ Forms/ Operations Bulletins

| 06/30/2004 | ERCOT Power Operations Bulletin 94 | Shift Supervisor V2R8 - CN#133 |
| --- | --- | --- |
| 06/11/2004 | ERCOT Power Operations Bulletin 93 | Transmission & Security Desk V2R23 - CN#130 |
| 06/28/2004 | ERCOT Market Operations Bulletin 16 | Implementation of PRR 373 - OOME as Instructed Deviation |
| 06/04/2004 | ERCOT Market Operations Bulletin 15 | ERCOT Fleet Settlement Procedures |
| 06/03/2004 | ERCOT Market Operations Bulletin 14 | Implementation of PRR 424 - Elimination of Resource-Specific Deployment Used for Energy Balance Purpose |

# Security Alert Stage/ Threatcon/ Related issues

Security Threat Alert Yellow (Elevated) maintained through June.

OCN, Advisory, Alert, Emergency Notice and Major Events

6/4  14:37 – 18:00  Transmission Alert  Alvarado 138/69 Tr.

6/11  12:54 – 6/12 02:00    Transmission Alert  Bates – Palmhurst 69 kV.

6/11  14:34 – 6/12 02:00   Transmission Alert  Quail Valley – Quail Valley 138 kV.

6/11  15:38 – 17:05  Transmission Alert Midessa Switch – Midland West 138 kV.

6/11-12  16:16  Transmission Alert for Laredo import.

6/14  14:58 – 18:20  Transmission Alert Asherton – West Conoco/ Uvalde – Asphalt Mines

6/16  14:48  Transmission Alert  Derby – Pearsall 69 kV/ Big Foot 138/69 Tr.

6/16  15:19  Alert issued for RTCA not functioning.

6/17 00:00  Alert issued for RTCA not functioning.

6/21  16:25  Transmission Alert  Asherton – West Conoco 138 kV.

6/25  15:15 – 19:30  Transmisison Alert   Navarro – Richland 69 kV.

6/27  Storm Con 2 issued in the Coast Zone.

# Communication

6/2  Held 02:45 deployements.  SPD failed.

6/23  Held 21:30 deployements.  Entered a bad offset number.

Major system voltage problems

6/11  15:38  Voltages in Laredo dropped from 1.03 pu to .914 pu and recovered.

6/14  07:00   Forced bus outage in West Zone.   Static reactive devices and generation units were lost

and high voltages were observed on the 138 kV system.

Blackout/Load Shed incidences

6/1    17:00  Severe thunderstorms and high winds in the Dallas area interrupted service to  a

significant number of customers.   One 345 kV line, ten 138 kV lines and 4 69 kV lines

reported out of service, including 2 busses and the associated 138/69 kV transformer.  An

undermined amount of load was lost resulting in periods of high frequency.

6/11  15:38  A bus fault tripped three RMR units totaling 160 MW of generation on line.

Approximately 220 MW load lost, likely due to UV relay actuation.

ERCOT peak (Unofficial)

6/1 17:00    54083

## Max Temperature

6/2 & 6/13	106   Far West

# New RAP/SPS

Northeast SPS scheme implemented June 1st.  Posted on ERCOT web site with System Planning Data

Summer 2004 RAPs finalized for operation.