MINUTES OF THE STEADY STATE WORKING GROUP (SSWG)

ERCOT Command and Control Center

Taylor, Texas

June22-24, 2004

Attendance:

| John Moore | STEC | 361.485.6134 | Jmoore@stec.org |
| --- | --- | --- | --- |
| Julius Moore | CPS | 210.353.2637 | Jmoore@cps-satx.com |
| Doug Evans | ERCOT | 512.248.3137 | devans@ercot.com |
| Ken Chui | AEN | 512-322-6745 | Ken.Chui@austinenergy.com |
| Brian Smith | TXU ED | 214.743.6683 | bcsmith@txued.com |
| Walt Simmons | TXU ED | 214.743.6675 | wsimmons@txued.com |
| Jim Treece | AEP | 918.599.2684 | JHTreece@aep.com |
| Dwight Beckmann | BEPC | 254.750.6373 | dbeckman@brazoselectric.com |
| Ramon Sanz | BPUB | 956.983.6203 | rsanz@brownsville-pub.com |
| John Hanson | CNP | 713.2072754 | john.hanson@centerpointenergy.com |
| Manjula Datta-Barua | CNP | 713.207.2452 | Manjula.datta-barua@centerpointenergy.com |
| Danh Huynh | Garland | 972.205.3157 | ### DanhH@gplops.org |
| Dandy Hunt | ##### AEN | 512.238.7442 | Dandy.hunt@austinenergy.com |
| Bob Fuller | TNMP | 972.317.5110 | bfuller@tnpe.com |
| Brad Woods | LCRA | 512.369.4573 | bwoods@lcra.org |
| Jeff Billo | ERCOT | 512.248.6334 | jbillo@ercot.com |
| Eddie Filat | AEP | 918.599.2607 | emfilat@aep.com |
| Steven D’Souza | AEP | 918.599.2607 | smd’souza@aep.com |
| Vance Beauregard | AEP | 918.599.2605 | vybeauregard@aep.com |
| Dan Woodfin | ERCOT | 512.248.xxxx | dwoodfin@ercot.com |
| Chuck Sears | DME | 940.349.7111 | cxsears@cityofdenton.com |
| Glenn Pressler | CPS | 210.353.2212 | gpressler@cps-satx.com |
| Woody Rickerson | ERCOT |  |  |
| Nicole Beran | ERCOT |  |  |
| Ken Donohoo | ERCOT | 512.248.3003 | kdonohoo@ercot.com |
| Mike Spence | CPS | 210.353.3115 | mlspence@cps-satx.com |

# Agenda

Finalize Data Set A Load Flow Cases

Contingency Files ( 10:30a.m 23 June) (ERCOT)

Rate A, Rate B & Rate C (Rate C ≥ Rate B ≥ Rate A) ERCOT Staff has several questions they would like the TO's to answer: 1. How many TO's have updated the base cases to reflect these new definitions in the SSWG Manual? 2. If you have not updated the ratings to match the documentation, when do you expect to complete this update? 3. Based upon this documentation, ERCOT Staff is using "Rate B" for all of our studies including transmission project review, generation interconnection requests, RMR, etc... If you would like us to use another rating(s), please provide us with written documentation of your selection and justification for using another rating besides "Rate B".

U-Plan Presentation by Dan Woodfin ( 1:00p.m 23 June)

Schedule for Data Set B Load Flow Cases

ERCOT Transmission Project and Information Tracking (TPIT)

Consideration of CSCs in Data Set A Generation Dispatch

Company Name Changes, News, Rumors, Gossip and Other Items Oncor => TXU Electric Delivery

## Minutes

June 22rd

Most SSWG members spent the day hard at work and submitted changes to pass 3 of the Data Set A (DSA) seasonal cases.  Some members were absent due to attendance at the ERCOT State Estimator Workshop.  There was also an informal discussion with Dan Woodfin about the generation dispatch from UPLAN.  Dan attempted to address some of the issues with the initial dispatch results before the formal presentation on June 23.

# June 23rd

Ken Donohoo discussed changes and additions to the ERCOT planning criteria.

A general discussion ensued regarding automatic contingency evaluation methodology using of line sections versus breaker-to-breaker analysis.  Ken described ERCOT efforts to produce a breaker-to-breaker contingency file.  The group discussed making a contingency file update part of DSB preparations, the form such a file should take, and whether the SSWG is the appropriate body for constructing a breaker-to-breaker contingency file.  One member suggested that this job would be more appropriately performed by ERCOT operations.  ERCOT (John Moseley) will send the contingency file to SSWG for review.  The updated contingency files will be due to ERCOT by the end of DSB Taylor Meeting currently scheduled for the 3rd thru the 5th of November 2004.  Ken discussed the need for SSWG members to get with their respective Network Data Support representatives to update the Data Dictionary no due by date was given.  Finally, Ken suggested changes to the base-case update schedule, which is now, tied to quarterly TPIT updates.  Quarterly updates make case building a continuous year-round process for some members.  It was determined that the TPIT workbook should be updated every Quarter (Feb 1, May 1, Aug 1, Nov 1), the case updates for DSA & DSB; as it pertain to the TPIT workbook, should be updated Quarterly but MUST be completely updated by FEB 1 (year + 1).

Dan Woodfin discussed how UPLAN works and the current and future applications intended by ERCOT.

The group reviewed the UPLAN dispatch and found problems caused by using typical rather than actual data for TXU, Texas Genco, and Calpine generation. It was determined by the group (SSWG) that the current DSA cases would use the spreadsheet developed by ERCOT to determine the generation dispatch. Once more accurate information can be obtained for existing generators; the group (SSWG) will once again look at UPLAN to determine whether or not it should be used to determine Generation Dispatch for all cases (DSA&B).  There was a brief discussion of how transmission lines are currently rated by planning and operations.

SSWG members submitted changes to pass 4 of DSA.

June 24th

SSWG members submitted changes to pass 5 of DSA.

#### Cont. Schedule of DSA

25 June – Pass 6 to SSWG

30 June – Pass 6 to ESPTO

02 July – Pass 7 to SSWG

08 July – Pass 7 to ESPTO

15 July – Cases Posted to ERCOT Web

#### Schedule for DSB

10 Sept – NOIE & Self Serve Generation Data due to ESPTO

17 Sept – RAW Data due to ESPTO

24 Sept – Pass 1 due to SSWG

01 Oct – Pass 1 changes due to ESPTO

08 Oct – Pass 2 due to SSWG

15 Oct – Pass 2 changes due to ESPTO

22 Oct – Pass 3 due to SSWG

29 Oct – Pass 3 changes due to ESPTO

3-5 Nov – Taylor Meeting (Updated Contingency File due)

17 or 19 Nov – Cases Posted to ERCOT Web

#### ERCOT Assignments

Email the breaker-to-breaker contingency file to the SSWG for review.

Conduct two further DSA passes.

Post the cases

SSWG Assignments

Review the breaker-to-breaker contingency file.

Submit two further DSA updates, as necessary.