PRS Items for TAC

January 8, 2004 Meeting

The following PRRs were approved by PRS and are recommended to the TAC for approval:

- PRR404 – Energy Procured from ERCOT.  Proposed effective date:  upon filling ERCOT staffing requirements; no impacts expected to ERCOT computer systems, however, testing is in progress which will determine if issues exist; testing should conclude in early January; impacts staffing (0.5 FTE) and business practices; if used infrequently has minimal impact on operating practices (if commonly used, could result in depletion of Balancing Energy Services and result in under-generation).  This PRR provides for the procurement of Balancing Energy from ERCOT and expands the functionality of Relaxed Balanced Schedules by allowing Market Participants to schedule generation via ERCOT.  PRS voted to recommend approval of this PRR after making suggested modifications and noting that approval was contingent upon an analysis of credit issues to be presented to TAC along with the PRS Recommendation Report.

- PRR461 – Confidentiality Exceptions for Reliability Analysis.  Proposed effective date:  February 1, 2004; no impacts to ERCOT computer systems; minor impacts to staffing when confidentiality agreements are executed or reviewed; no business process impacts under current scope of analysis; no operating practices impacts.  This PRR revises Section 1.3.6, item (10) to allow Market Participants Protected Information for the purposes of developing analyses of system events. PRS voted to recommend approval of this PRR after making suggested modifications.

- PRR467 – Elaboration on the Notice of Resettlement.  Proposed effective date:  February 1, 2004; No impact to ERCOT computer systems; Minimal impact to Staffing that can be absorbed with current staffing levels; minor impacts to business processes; no impact to operating practices..  This PRR provides more clarity and structure to the notice of resettlement and clarifies the details to be provided on that notice.  PRS voted to recommend approval of this after making suggested modifications.

- PRR469 – Compliance for Competitive Metering.  Proposed effective date:  February 1, 2004; clarification of Protocols only; no impact on ERCOT computer systems, staffing, or operating practices; minor impacts on business processes to reflect current processes and current PUCT Substantive Rules.  This PRR addresses the responsibilities of TDSPs, ERCOT, and Competitive Retailers related to sampling, Time of Use schedules, and Direct Load Control.  This PRR reflects corrections made to comply with Competitive Metering and PUCT Project No. 25516, Load Profiling and Load Research Rulemaking.  PRS voted to recommend approval of this PRR after making suggested modifications.

- PRR470 – System Fuel Availability.  Proposed effective date:  February 1, 2004; no ERCOT computer systems, staffing, or business process impacts; minor operating practices impacts to update notice procedures related to fuel issues.  This PRR adds new wording to the existing language in Section 5 to include fuel availability as a concern for an emergency condition.  PRS voted to recommend approval of this PRR after making suggested modifications.

- PRR471 – NIDR to IDR Default Profile Scaling.  Proposed effective date:  upon system implementation; impacts ERCOT computer systems (Lodestar changes to address logic for missing meter data – considered a minor project); no significant staffing impacts or business process impacts upon system implementation; no manual workarounds identified; no impacts to operating practices.  When an ESI ID changes meters and profile ID assignment (from a NIDR to an IDR meter), the IDR data is likely to be an over-statement of Load for the ESI ID.  This PRR scales the IDR default profile based the Load of the last NIDR readings to reduce the variance in estimation of initial and final settlement.    PRS voted to recommend approval of this PRR as submitted and assigned a Priority of 1.1 to it.

- PRR473 – Reactive Standards.  Proposed effective date:  February 1, 2004; minor ERCOT computer system impacts (less than 40 hours to provide initial coding and set up for compliance using IT support); impacts staffing, however, 2004 budget includes additional FTEs to provide support relative to reactive power activities in both Compliance and System Planning; impacts business processes to increase reporting, auditing, and investigation activities; no impact on operations.  This PRR conforms the Protocols to the Reactive Standards adopted by TAC and includes a specific payment mechanism for induction generators that elect to make a payment in lieu of meeting the installed standard.  PRS voted to recommend approval of this PRR after making suggested modifications.

# --------------------------------------------------------------------------------------------------------------

# The following PRRs were withdrawn by the submitter at the December 2003 PRS meeting:

- PRR293 – Uncontrollable Renewable Resources.  This PRR was withdrawn by the submitter at the December PRS meeting after the recommendation for approval of PRR426 which covers the same topic.

- PRR455 – Liability for QSE Default on Obligations to ERCOT and Responsibility for ERCOT Administration Fee.  This PRR was withdrawn by the submitter at the December PRS meeting in favor of the submission of two new PRRs, PRR481 and PRR482, which split the topics of the original PRR as directed by the Board.

# The following PRRs were acted upon as noted and will appear for future TAC review (PRR summary and ERCOT impacts for those PRRs that were recommended for approval by PRS in December will be described when presented to TAC for its recommendation):

# PRRs Recommended for Approval (for Future TAC Review):

- PRR425 – Section 8 Outage Coordination.  PRS recommended approval of this PRR after making suggested modifications.  Pending comment period on PRS Recommendation Report.  TAC review on 2/05/03.  Recommended effective date:  March 1, 2004.

- PRR426 – Uninstructed Resource Charge for Uncontrollable Resources.  PRS recommended approval of this PRR after making suggested modifications.  Pending comment period on PRS Recommendation Report.  TAC review on 2/05/03.  Recommended effective date:  upon system implementation.

- PRR459 - EPS Meter Data Transmittal.  This PRR was previously remanded from TAC for additional language clarification.  PRS recommended approval of this PRR after making modifications suggested by RMS.  Pending comment period on PRS Recommendation Report.  TAC review on 2/05/03.  Recommended effective date:  upon system implementation.

- PRR477 – Section 19 Texas Standard Electronic Transactions (SET).  PRS recommended approval of this PRR after making suggested modifications.  Pending comment period on PRS Recommendation Report.  TAC review on 2/05/03.  Recommended effective date:  March 1, 2004.

- PRR478 – Use of Lagged Dynamic Samples for New Load Profiles.  PRS recommended approval of this PRR after making suggested modifications.  Pending comment period on PRS Recommendation Report.  TAC review on 2/05/03.  Recommended effective date:  upon system implementation.

# --------------------------------------------------------------------------------------------------------------

# The following PRRs are pending and the current status is explained below:

- PRR340 – Define OOME as an Instructed Deviation.  This PRR is on hold pending redrafting of the proposed language to keep the Market Solution language, integrate generic costs, and remove references to aggregate site deployments and OOME being an Instructed Deviation.

- PRR356 – SCE Performance Requirement. This PRR was remanded by PRS to WMS and ROS Task Force on 09/25/03.

- PRR358 – Negative Impact SCE.  This PRR is to be considered along with PRR356 in the WMS and ROS Task Force review.

- PRR384 – Protocol Preamble and Process for Advisory Opinion.  This PRR has been tabled based on the August 2003 recommendation of TAC.

- PRR409 – Voltage Support Service.  This PRR was remanded to WMS on 5/22/03.

- PRR462 – Market Solution Definition.  This PRR was tabled with concurrence of the PUCT until more progress is made by the stakeholders at WMS and PRS concerning the Market Solution.

- PRR464 – Confidentiality of LSE Transaction Data.  This PRR was remanded from TAC to PRS and then from PRS to RMS on 12/18/03 with directions to obtain clarification of the language on item (20).

- PRR468 – Frequency Response Requirements & Monitoring.  PRS remanded this PRR to a joint WMS/ROS task force.

- PRR472 – ERCOT Meter Read Transaction Validation Reinstatement; PRS remanded this PRR to RMS in November.

- PRR476 – Ramp Rate Adherence During Local Congestion.  At its December meeting, PRS deferred consideration of this PRR one month to obtain input from the QSE Project Managers’ Working Group.

- PRR479 – IDR Optional Removal Threshold.  This PRR was posted on 12/4/03 and is on a normal timeline.  It will be considered at the January 2004 PRS meeting.

- PRR480 – Reporting of Switch and Move-In Data.  This PRR was posted on 12/4/03 and is on a normal timeline.  It will be considered at the January 2004 PRS meeting.

- PRR481 – Liability for QSE default on obligations to ERCOT.  This PRR was developed from a portion of PRR455 when the ERCOT Board requested the splitting of the content of the earlier PRR.  The draft PRR was discussed briefly at the December PRS meeting, given this PRR number and Urgent status was approved at that time.  Consideration for PRS recommendation will occur at the January 2004 PRS meeting.

- PRR482 – Responsibility for ERCOT Administration Fee.  This PRR was developed from a portion of PRR455 when the ERCOT Board requested the splitting of the content of the earlier PRR.  The draft PRR was discussed briefly at the December PRS meeting, given this PRR number and Urgent status was approved at that time.  Consideration for PRS recommendation will occur at the January 2004 PRS meeting.