PRS Items for TAC

February 5, 2004 Meeting

The following PRRs were approved by PRS and are recommended to the TAC for approval:

- PRR425 – Section 8 Outage Coordination.  Proposed effective date:  March 1, 2004; can be manually implemented; requires 1 FTE for long-term staffing impacts; minor ERCOT computer system change required; changes to operating practices and business procedures.  This PRR changes and reorders Section 8, Outage and System Topology Coordination.  Changes are made to Transmission and Resource Facilities Outage requirements.  This PRR is expected to improve the accuracy and dependability of Outage Coordination and approval studies for a thirty (30) day window.  This PRR also clarifies the coordination requirements of Outages for Reliability Resources (RMR, Black Start, and Synchronous Condensers).  PRS voted to recommend approval of this PRR after making suggested modifications.

- PRR426 – Uninstructed Resource Charge for Uncontrollable Resources.  Proposed effective date:  March 1, 2004 for those portions of the PRR that can be manually implemented; the remaining portions will be effective upon system implementation; a manual workaround requiring one (1) additional FTE in Settlement can be implemented to support paragraph 6.8.1.15(3) only, with the rest of the modified language boxed for future implementation; adding Regulation Service Obligation features to the manual workaround would still require the same FTE and a minor system project; to eliminate the FTE and fully automate all current requirements would require a significant change to the ERCOT computer systems; no operating practice impacts.  This PRR adds definitions of Energy Ratio Share, Renewable Production Potential, and Uncontrollable Renewable Resources to the Protocols. The changes allow an Uncontrollable Renewable Resource to elect to use its Renewable Production Potential in lieu of its Resource Plan as the basis for URC and OOME Down payments.  In this PRR, if an Uncontrollable Renewable Resource elects to use its Renewable Production Potential in lieu of its schedule, it would not be subject to Uninstructed Deviation Pricing unless it participates in price chasing.  PRS voted to recommend approval of this PRR after making suggested modifications.

- PRR459 - EPS Meter Data Transmittal.  Proposed effective date:  upon system implementation; Clarification of existing boxed Protocol language; Impacts ERCOT computer systems; however, changes are made to in-flight project PR30026, no additional impacts to ERCOT systems or processes.   This PRR clarifies boxed Protocol language to show that ERCOT (1) is identified as the Meter Reading Entity, where appropriate; (2) utilizes the data for all settlement calculations and reports; and (3) makes ESI ID interval data available to TDSPs and LSEs via an extract.  In addition, this PRR specifies the deadlines for ERCOT to provide EPS data to TDSPs.   This PRR was previously remanded from TAC for additional language clarification.  PRS voted to recommend approval of this PRR after making modifications suggested by RMS.

- PRR464 – Confidentiality of LSE Transaction Data. Proposed effective date:  March 1, 2004; no ERCOT computer systems impacts; minor impacts to staffing and business processes when confidentiality agreements are required for subcommittee or task force work; no impact on operating practices.  This PRR adds a new item to Section 1.3, Confidentiality, which describes REP specific information that is protected from disclosure.  The new item concerns transactions submitted by an LSE to ERCOT or received by an LSE from ERCOT.  Currently the Protocols do not protect from disclosure data concerning individual transactions, such as move-in or switch success.  Disclosure of this data may provide competitively sensitive information to the market.  PRS voted to recommend approval of this PRR after making suggested modifications.

- PRR473 – Reactive Standards.  Proposed effective date:  March 1, 2004; minor ERCOT computer system impacts (less than 40 hours of IT support to provide initial coding and set up for compliance reports, computer system change not required for initial implementation); impacts staffing, however, 2004 budget includes additional FTEs to provide support relative to reactive power activities in both Compliance and System Planning; impacts business processes to increase reporting, auditing, and investigation activities; no impact on operations. This PRR adds language to conform the Protocols to the Reactive Standards adopted by TAC.  Pending development of Protocols to provide for a contribution to reactive capability construction, induction generators may elect to make such a contribution in lieu of meeting the installed standard.  PRS voted to recommend approval of this PRR after making suggested modifications.

- PRR477 – Section 19 Texas Standard Electronic Transactions (SET).  Proposed effective date:  March 1, 2004; provides Protocol clarifications only; no impacts to staffing, business processes, operating practices, or ERCOT computer systems.  This PRR conforms the ERCOT Protocols with information contained on the ERCOT Website and ERCOT version Release 1.6.  Transactions 814_28, 814_29, 824, T01-T4, 810_03 were added and transactions 820_01, 814_PA and PB were removed.  In addition, notes in transaction 997 were updated and a new section, 19.5, TX SET Envelope Standards, was added.  PRS voted to recommend approval of this PRR after making suggested modifications.

- PRR478 – Use of Lagged Dynamic Samples for New Load Profiles.  Proposed effective date:  upon system implementation; has minor ERCOT computer systems impact to Lodestar; timeline for completion of this project should not impact timeline for implementing new profiles; business process impacts to test and maintain new Load Profiles; no operating practice impacts.  This PRR permits the use of lagged dynamic samples for creating new Load Profiles.  This new methodology is expected to provide the following benefits:  (1) reduce the time lag between approving a new profile and being able to settle ESI IDs using the new profile; (2) lagged dynamic schedules will accommodate the expected population  changes within Load Profiles more quickly, accurately, and efficiently than is possible with adjusted static models; and (3) Use of lagged dynamic samples is expected to allow the market to audit ESI IDs being assigned to new profiles and to create an incentive for CRs using the profile to limit the inclusion of ESI IDs to those appropriate to the profile.  PRS voted to recommend approval of this PRR after making suggested modifications.

- PRR482 - Responsibility for ERCOT Administration Fee. Proposed effective date:  January 1, 2005; has ERCOT computer systems impacts; business process impacts; no operating practice impacts.   This change to the Protocols would allocate the ERCOT Administrative fee between Generation Resources and Loads.  The initial allocation would be phased-in over a three (3) year period.  At the request of PRS, ERCOT has prepared information related to methods for calculating fees based on the approved allocation.  The PRS recommendation report does not contain a specific formula relative to the phase-in of the fee allocation, as such language is dependent on the method of calculation chosen.  The PRS recommendation report does reflect language clarifying that (1) RMR energy excluded from the calculation is only RMR energy dispatched by ERCOT, and (2) Net Generation includes DC Tie energy imports.  PRS voted to recommend approval of this PRR after making suggested modifications.

- PRR484 - Changes for Implementation of Direct Load Control (DLC).  Proposed effective date:  upon system implementation; Impacts ERCOT computer system; minor impacts to staffing, business processes, and operating practices.   This PRR modifies Protocol language to better represent the way Direct Load Control (DLC) will participate in Balancing Up Load (BUL).  After voting to declare PRR484 urgent, PRS voted to recommend approval of this PRR with suggested modifications.

# --------------------------------------------------------------------------------------------------------------

The following PRR was rejected by PRS at its January meeting and is recommended to the TAC for rejection:

- PRR481 – Liability for QSE Default on Obligations to ERCOT.  PRS recommends rejection of this PRR.

# --------------------------------------------------------------------------------------------------------------

The following PRR was withdrawn by the submitter at the January 2004 PRS:

- PRR340 – Define OOME as an Instructed Deviation.  This PRR was withdrawn by the submitter at the January PRS meeting.

# The following PRRs were acted upon as noted and will appear for future TAC review (PRR summary and ERCOT impacts for those PRRs that were recommended for approval by PRS in December will be described when presented to TAC for its recommendation):

# PRRs Recommended for Approval (for Future TAC Review):

- PRR479 - IDR Optional Removal Threshold.  PRS voted to recommend approval of this PRR after making suggested modifications.  Pending comment period on PRS Recommendation Report.  TAC review on 3/04/03.  Recommended effective date:  April 1, 2004.

# --------------------------------------------------------------------------------------------------------------

# The following PRRs are pending and the current status is explained below:

- PRR356 – SCE Performance Requirement. This PRR was remanded by PRS to WMS and ROS Task Force on 09/25/03.

- PRR358 – Negative Impact SCE.  This PRR is to be considered along with PRR356 in the WMS and ROS Task Force review.

- PRR384 – Protocol Preamble and Process for Advisory Opinion.  This PRR has been tabled based on the August 2003 recommendation of TAC.

- PRR409 – Voltage Support Service.  This PRR was remanded to WMS on 5/22/03.

- PRR462 – Market Solution Definition.  This PRR was tabled with concurrence of the PUCT until more progress is made by the stakeholders at WMS and PRS concerning the Market Solution.

- PRR468 – Frequency Response Requirements & Monitoring.  PRS remanded this PRR to a joint WMS/ROS task force.

- PRR472 – ERCOT Meter Read Transaction Validation Reinstatement; PRS remanded this PRR to RMS in November.

- PRR476 – Ramp Rate Adherence During Local Congestion.  At its December meeting, PRS deferred consideration of this PRR to obtain input from the QSE Project Managers’ Working Group.

- PRR480 - Reporting of Switch and Move-In Data.  PRS voted to remand this PRR to RMS on 01/23/04.

- PRR483 - Interruptible LaaR Response to Instructions.  At its January meeting, PRS deferred consideration of this PRR to the February PRS meeting.

- PRR485 – Revision to Unit-Specific Deployment Based on Generic Cost.  This PRR was posted on 01/13/04.  The submitter requested urgent status; email voting concluded on 01/15/04 failed to result in sufficient votes to declare this PRR urgent (4 yes votes, 1 no vote received).  The PRR is currently on a normal timeline for review by PRS in February.

- PRR486 – Fuel Oil Inventory Service.  This PRR was posted on 01/14/04.  This PRR is on a normal timeline and is scheduled to be discussed at the February PRS meeting.

- PRR487 – Black Start Resources.  This PRR was posted on 01/15/04.  This PRR is on a normal timeline and is scheduled to be discussed at the February PRS meeting.

- PRR488 – Weather Responsiveness Determination.  This PRR was posted on 01/15/04.  This PRR is on a normal timeline and is scheduled to be discussed at the February PRS meeting.

- PRR489 – Ancillary Service Deployment Performance Conditions.  This PRR was posted on 01/16/04.  This PRR is on a normal timeline and is scheduled to be discussed at the February PRS meeting.

- PRR490 – LaaR Annual Testing Description.  This PRR was posted on 01/19/04.  This PRR is on a normal timeline and is scheduled to be discussed at the February PRS meeting.

- PRR491 – Clarification to PRR413 RPRS Market.  This PRR was posted on 01/21/04.  This PRR is on a normal timeline and is scheduled to be discussed at the February PRS meeting.