PRS Items for TAC

March 4, 2004 Meeting

The following PRRs were approved by PRS and are recommended to the TAC for approval:

- PRR479 - IDR Optional Removal Threshold.  Proposed effective date:  upon system implementation; manual process of pre-authorization for meter change to be implemented as soon as a minor computer system change is made to allow a new query process; minor staffing impacts (0.25 FTE) for pre-authorization investigations; no operating impacts.  This PRR allows the removal of an IDR meter for settlement under certain conditions when load drops below a minimum threshold.  PRS voted to recommend approval of this PRR after making suggested modifications.    .

- PRR491 – Clarification to PRR413 RPRS Market.  Proposed effective date: upon system implementation; impacts ERCOT computer systems (this is an additional requirement based on PRR413 and Project PR-30093 already in-flight); no additional staffing, business function or grid operations impacts.  In its January meeting, WMS voted to support additional clarifications to PRR413, RPRS Market, which would include minimum up (run) time and minimum down (off-line) time in the optimization application for Replacement Reserve Service (RPRS) procurement process.  In addition, Resource Entities with Generation Resources would be required to specify lead time information for their generation units to provide services through their asset registration documentation, rather than through their RPRS bids. This PRR separates the RPRS bid price used to resolve Local Congestion from that used to resolve Zonal Congestion and capacity insufficiency.  Payment for local capacity would be based on the Resource Category Generic Cost.  For procurement of zonal or system capacity, payment would be based on the submitted RPRS bids. The Market Solution concept is removed.  Urgent consideration of this PRR is requested to allow inclusion of these requirements in the EMMS Release 4.0 requirements development which must be completed by March 31, 2003.  PRS voted to recommend approval of PRR491 as amended by the ANP comments dated February 6, 2004, reflecting the WMS suggestions.

- PRR493 – Induction Generator Exemption.  Proposed effective date:   upon filling ERCOT staffing requirements; No impacts to ERCOT computer systems; 0.5 FTE required in transmission planning prior to implementation; minor business process impacts; no grid operations impacts.  This PRR revises Section 6.5.7.1, Generation Resources Required to Provide VSS Installed Reactive Capability, item (7) within the Reactive Standards to clarify the mechanism an induction generator may use to receive an exemption from the Voltage Support Services installed reactive capability requirements.  PRS voted to recommend approval of PRR493 as amended by PRS and ERCOT comments dated February 18, 2004.

# The following PRRs were acted upon as noted and will appear for future TAC review (PRR summary and ERCOT impacts for those PRRs that were recommended for approval by PRS in February will be described when presented to TAC for its recommendation):

# PRRs Recommended for Approval (for Future TAC Review):

- PRR468 – Frequency Response Requirements & Monitoring.  The PRS voted to recommend approval of PRR468 as modified by PRS based on the ERCOT comments of February 16, 2004, and the ROS-WMS Task Force comments of January 22, 2004.    This PRR is on a normal timeline and is currently in the comment period for the PRS Recommendation Report.  TAC review is scheduled on 04/08/04.

- PRR483 - Interruptible LaaR Response to Instructions.  The PRS voted to recommend approval of PRR483 as amended by PRS to include the DSWG requested language.  This PRR is on a normal timeline and is currently in the comment period for the PRS Recommendation Report.  TAC review is scheduled on 04/08/04.

- PRR487 – Black Start Resources.  The PRS voted to recommend approval of PRR487 as amended by ERCOT and STEC comments.  This PRR is on a normal timeline and is currently in the comment period for the PRS Recommendation Report.  TAC review is scheduled on 04/08/04.

- PRR488 – Weather Responsiveness Determination.  The PRS voted to recommend approval of PRR488 as submitted.  If approved, this PRR will be assigned a project priority of 1.3.  This PRR is on a normal timeline and is currently in the comment period for the PRS Recommendation Report.  TAC review is scheduled on 04/08/04.

- PRR489 – Ancillary Service Deployment Performance Conditions.  The PRS voted to recommend approval of PRR489 as submitted.  This PRR is on a normal timeline and is currently in the comment period for the PRS Recommendation Report.  TAC review is scheduled on 04/08/04.

- PRR490 – LaaR Annual Testing Description.  The PRS voted to recommend approval of PRR490 as submitted.  This PRR is on a normal timeline and is currently in the comment period for the PRS Recommendation Report.  TAC review is scheduled on 04/08/04.

# PRRs Recommended for Rejection (for Future TAC Review):

- PRR486 – Fuel Oil Inventory Service.  At its February meeting, the PRS voted to recommend rejection of PRR486.  This PRR is currently in the comment period for the PRS Recommendation Report.  TAC review is scheduled on 04/08/04.

# --------------------------------------------------------------------------------------------------------------

# The following PRRs are pending and the current status is explained below:

- PRR356 – SCE Performance Requirement. This PRR was remanded by PRS to WMS and ROS Task Force on 09/25/03.

- PRR358 – Negative Impact SCE.  This PRR is to be considered along with PRR356 in the WMS and ROS Task Force review.

- PRR384 – Protocol Preamble and Process for Advisory Opinion.  This PRR has been tabled based on the August 2003 recommendation of TAC.

- PRR409 – Voltage Support Service.  This PRR was remanded to WMS on 5/22/03.

- PRR462 – Market Solution Definition.  This PRR was tabled with concurrence of the PUCT until more progress is made by the stakeholders at WMS and PRS concerning the Market Solution.

- PRR472 – ERCOT Meter Read Transaction Validation Reinstatement; PRS remanded this PRR to RMS in November.

- PRR476 – Ramp Rate Adherence During Local Congestion.  At its December meeting, PRS deferred consideration of this PRR to obtain input from the QSE Project Managers’ Working Group.

- PRR480 - Reporting of Switch and Move-In Data.  PRS voted to remand this PRR to RMS on 01/23/04.

- PRR485 – Revision to Unit-Specific Deployment Based on Generic Cost.  At the March PRS, there was considerable discussion concerning how non-bid units are handled under this PRR’s language if the non-bid units are called.  The PRS members concluded that this issue was a significant “hole” that remained in the language and PRS agreed to defer PRR485 to March 26, 2004, to allow inclusion of information on treatment of non-bid units to be included in the PRR language.  This PRR will be considered at the March PRS meeting and, if PRS recommends approval, TAC review is scheduled on 04/08/04.

- PRR492 – Plan to Alleviate Chronic Local Congestion.  After considerable discussion at the March PRS meeting, PRS determined that a PRS subcommittee would meet to craft Protocol language which will be brought back to the March PRS meeting for a vote.  This PRR is on a normal timeline.

- PRR494 – Revise Forecasted Load Profile Post time.  This PRR was posted on 02/23/04 and is on a normal timeline.  It is scheduled for discussion at the PRS meeting on 03/26/04.