| Date: | March 31, 2004 |
| --- | --- |
| To: | Board of Directors |
| From: | Bill Bojorquez, Sam Jones |
| Subject: | Jacksboro to West Denton 345-kV circuit |

## Issue for the ERCOT Board of Directors

ERCOT Board of Director Meeting Date: April 20, 2004 Agenda Item No.: ?

##### Issue: Approval of the Jacksboro to West Denton 345-kV circuit as described in Attachment A-1.

##### Background/History: ERCOT currently leads three regional planning groups (North, South, and West) in the consideration and review of actions proposed by transmission service providers, in accordance with ERCOT defined project submittal criteria, to address transmission constraints and other system needs. Through this regional planning review process, ERCOT endeavors to achieve, the following regional planning group goals: - improvement of communication and understanding between neighboring transmission service providers on operating procedures and remedial action strategies that react to contingency, voltage, and facility overload problems; - helping to develop coordinated remedial action strategies, along with operations personnel, for new problems that do occur, and for problems that appear likely to occur based upon the transmission planning process; - coordinating transmission planning and construction to ensure that the ERCOT Planning Criteria and NERC Planning Standards are met, and that all areas of concern are addressed with the good of the region in mind; - preventing duplicative or excessive solutions to specific regional problems through a coordinated effort; and - consideration of the needs of the interconnected transmission systems to support a reliable and adequate network and the integration of renewable technologies under PUCT and Legislative orders. The following summarizes the stakeholder process that was a part of ERCOT’s review of the alternatives considered for this project: - North Regional Planning Group analysis and input - Project submitted on August 27, 2003 - Comments supporting alternative 1 from Tractabel were sent to the group Sept. 17, 2003 - Oncor answer to Tractabel’s comments sent to group on Nov. 6, 2003 - Discussed at December 11 meeting at ERCOT TCC - January 21, 2004, ERCOT Independent review sent to North Region Planning group - February 25, 2004, ERCOT Acceptance Letter sent to all Regional Planning groups - April 8, TAC review and support ERCOT endeavors to achieve a coordinated transmission planning process through the regional planning efforts. This process ensures that the ERCOT and NERC planning standards are met, that the proposed project addresses TDSP planning criteria requirements, and that all areas of concern are addressed with the good of the overall region in mind.

##### Key Factors Influencing Issue: - Maintaining reliability, meeting planning criteria - All existing 345-kV circuits between West Texas and DFW pass through the Parker substation - Oncor analysis - One piece of improvements to increase transfers from West to North - High load growth in NW DFW and reduced generation in DFW - Will dovetail with future transmission to mitigate NE congestion??? - ERCOT independent analysis

##### Alternatives: ##### Approve construction of the Jacksboro to West Denton 345-kV project; or ##### Approve alternative 1: or ##### Approve alternative 2: or ##### Remand to ERCOT Staff with instructions.

##### Conclusion/Recommendation: ERCOT Staff recommends that the Board endorse the need for the 345-kV circuit between Jacksboro and West Denton.