## Slide 1: Non-Transmission Alternatives to Reduce Local Congestion Costs
Bill Bojorquez
June 3, 2004

## Slide 2: Background
Protocol 6.5.9 includes requirement to consider certain non-transmission alternatives in RMR exit strategy development
PRR 492 includes requirement to consider certain non-transmission alternatives to address high local congestion costs
One market participant has identified a possible non-transmission alternative to a current RMR unit
Before developing a process to implement these Protocol requirements, several policy issues need to be addressed

## Slide 3: Overarching Issues
Should bilateral contracts or market design changes be used, as needed, to provide incentives for solutions that lower local congestion costs, including reducing requirements for RMR resources
Should ERCOT be involved in >1 year contracts with generators or demand-side options
Should non-transmission alternatives be considered as long-term solutions or just to fill gaps
What is the approval process/authority for contracts
ERCOT role in RFP/contracting:
  Evaluation of bidders’ financial status
  Monitoring of siting/permitting process for generation
  Power/DSM contract enforcement
How to avoid unintended consequences

## Slide 4: Current Alternatives to RMR and OOM
Redispatch and reconfiguration through operator instruction
Remedial Actions Plans (RAPs)
Special Protection Schemes (SPSs)
New or upgraded transmission (or dynamic re-rating)
Load response, including conservation and load management
Alternative existing generation options, including short-term (emergency) generation
New generation or incremental additions/ modifications to existing generation

## Slide 5: Other Alternatives to RMR and OOM(?)
Redispatch and reconfiguration through operator instruction
Remedial Actions Plans (RAPs)
Special Protection Schemes (SPSs)
New or upgraded transmission (or dynamic re-rating)
Load response, including conservation and load management
Alternative existing generation options, including short-term (emergency) generation
New generation or incremental additions/ modifications to existing generation

## Slide 6: Issues: Load response, including conservation and load management
How to mitigate market power over time (no cost basis at end of initial contract)
How to ensure reliability over time (e.g., load “behind” contract decides to switch to firm service)
How to define and measure conservation and load management (as opposed to dispatchable demand and interruptible loads)

## Slide 7: Issues: Existing generation options and short-term (emergency) generation
How to mitigate market power over time (may result in higher cost RMR unit at end of contract)
How to avoid creating an incentive for proliferation of new contracts with ERCOT
Is this a viable option to reduce OOM service

## Slide 8: Issues: New generation or incremental additions/modifications to existing generation
How to mitigate market power over time (may result in higher cost RMR unit at end of contract)
Potentially significant intrusion on market operation and market’s generation siting signals
How to avoid creating an incentive for proliferation of new contracts with ERCOT

## Slide 9: Other issues
What is likelihood of receiving sufficient bids that would justify issuing an RFP
What is minimum level of expected cost savings that would justify issuing an RFP

## Slide 10: Miscellaneous comments from RMR Task Force meeting attendees:
We should not be interfering with the Market. Bilateral agreements for non-T solutions should be stop gap measures only
We should review the market design before considering the LT contract option
ERCOT should look at the best alternatives – if it means placing generation in the Valley in lieu of transmission to the Valley – ERCOT should consider it
Merchant transmission options would also require significant market design and regulatory changes – do not consider at this time
No one is opposed to conservation, but it is very difficult to incorporate in Protocols as an alternative to transmission, requires LT implementation, and may delay completing the rules and Protocols

## Slide 11: Decision tree on issues relating to non-Transmission alternatives
2. What is
mechanism for
implementing non-T
“local congestion”
cost reduction?
1. Should non-T
alternatives
be considered
to reduce local
congestion cost?
Modify protocols to remove non-T alternatives review
Market Design Changes,
e.g.
- Locational ICAP
- Locational Reserves
- Scarcity Pricing
- or Others?
Yes
Bilateral
Contracts
With
ERCOT
No
START
Through ERCOT committee structure, select and evaluate preferred market design alternative and develop recommendations and protocol changes
3. What is mechanism to obtain bilateral contracts?
To “A”
4. Should bilateral contracts be used to solve current/ST problems?
Yes
No
RPG
Participation
To “B”
RFP

## Slide 12
5. Should the RFP & resulting bilateral contracts be for >1 year?
Yes
Define short-term options
Develop limited, streamlined RFP protocols and
procedures
No
Decision tree on issues relating to non-Transmission alternatives (cont.)
“A”
Solution proposals presented to RPGs;
ERCOT negotiates contracts
Issue RFPs
leading to
bilateral contracts with ERCOT
Address
appropriate
policy issues
Develop protocols & procedures
Develop detailed
RFP protocols &
procedures
Address
appropriate
policy issues
“B”
PROTOCOLS & PROCEDURES
Contractual Provisions & Approval Process
Evaluation Process
Payment & Settlement
Options Included in Specific RFP (T, G & DSM)
Enhancement of ERCOT Capabilities
Address
appropriate
policy issues
Issue RFPs
leading to
bilateral contracts with ERCOT
POLICY ISSUES
Options to be Considered as non-T (DSM, Existing Gen, New Gen)
Gap vs. LT Use
Use of Non-T to Replace or Defer T
Market Power at End of Initial Contract
Cost/Benefit of RFP Process
RFP issuance mandatory or at ERCOT discretion