## Slide 1
Bates RMR Exit Strategy
Frontera Alternative
Preliminary Economic Study
Dan Woodfin
Manager, Resource Planning
ERCOT
ERCOT TAC
6/3/2004

## Slide 2: Solution Alternatives:
Continued RMR Contract with Bates (Current)
Asynchronous Tie with CFE and emergency service contract (2006)
Some type of arrangement with Frontera to forego option of selling to CFE and make available for OOM (more info on Prerequisites slide)
Transmission Upgrades (2009?)
Demand participation?

## Slide 3: Prerequisites for Frontera Option
Upgrades necessary to allow release of Bates 1 on 69kV system must be completed
  Currently scheduled to be complete Dec ’05
Protocol changes must be implemented to allow settlement of any special contract charges
Other performance obligations and criteria must be met by Frontera

## Slide 4: Analysis
Use market model to forecast for each hour:
  Balancing Energy Market Prices
  Hourly production level in bilateral/balancing energy market for Frontera and Bates
Post processing data in order to:
  Calculate OOMC and OOME (net of balancing energy) for Frontera
  RMR Costs (net of BENA credit) for Bates
Analysis Design
  Year analyzed 2005
  Two cases each year:
    Bates RMR as it is
    Bates without RMR and retired

## Slide 5: Results
If Frontera agreed to make plant available for OOM, such that Bates could be released from RMR contract, the cost basis exists for ERCOT market to save uplift cost
  Bates forecast uneconomic uplift is comparable to 2003 historic uplift

## Slide 6: Caveats
OOME and OOMC payment to Frontera may change due to load level and shape, bilateral schedule, and fuel prices
  Simulations assume that Frontera is self-committed whenever it is economic in the Balancing Energy market
Simulations did not incorporate planned transmission outages
When ERCOT switches to nodal market, OOME and OOMC pricing may not apply
Analysis assumes Frontera is not under an RMR contract
Term of arrangement and analysis against other options needs to be completed

## Slide 7: Next Steps
Resolution of non-transmission policy issues and protocol development
Analysis against other options needs to be completed

## Slide 8
QUESTIONS?