## Slide 1: DFW RMR Analysis TAC Briefing June 3, 2004
ERCOT Transmission Services

## Slide 2: RMR REVIEW GOALS
Maintain reliable service to customers
  ERCOT Planning Criteria
  NERC Planning Standards and Guidelines
  Good Utility Practice
Currently in compliance with criteria by dispatching generation when needed to maintain security
Determine is TXU units qualify for RMR
  Rivercrest 110 MW
  North Main 80 MW
  Parkdale 327 MW
  Morgan Creek 136 MW
  Eagle Mountain 665 MW
  Collin 153 MW
  Total 1471 MW

## Slide 3: RECOMMENDATION
May 7, 2004 Determination:
Rivercrest, North Main and Morgan Creek are not required for RMR service
May 27, 2004 Determination
Collin and Parkdale generation plants are not required for RMR service
Eagle Mountain qualifies for RMR service
  EM is needed to increase voltage stability margin on Northwest side of DFW
  EM is needed to facilitate construction/maintenance of the transmission system
  Long term generation or 345/138 kV autotransformer outages major concern
  RAPs to eliminate EM are not recommended

## Slide 4: HOW MANY UNITS
Three units exist at Eagle Mountain
  Unit 1: 115 MW in-service Jul, 1954
  Unit 2: 175 MW in-service Dec, 1956
  Unit 3: 375 MW in-service Jun, 1971
Unit 3 is preferred
Units 1 and 2 being reviewed
ERCOT will work with TXU Energy on a plan that maintains units available while minimizing RMR and OOM costs

## Slide 5: NEXT STEPS
ERCOT to post final study results and recommendations
ERCOT to finalize RAPs for Collin and Parkdale
Suggestions on options to be examined for “Exit Strategies” (solutions) due Friday 6/11/04
Continue work on Garland RMR request
ERCOT to begin negotiations for RMR agreement
ERCOT to develop RMR Exit Strategy