ROS Summary Report to TAC for June 3, 2004

# OGRRs Recommended for TAC Approval:

- OGRR 148 – Remove Reference to PARWG in the Operating Guides. The Planning Assessment and Review Working Group has been disbanded by the ROS. ERCOT System Planning, TDSPs, and the Regional Planning Groups are now handling most of this former group’s responsibilities.  Any related issues will be assigned on an ad hoc basis.

### ROS Procedures Change for TAC Approval:

Removes reference to the PARWG from the ROS Procedures.

## TAC Assignments for ROS

- Reliable Fuel Source Requirement - ROS created an Alternative Fuel Ad Hoc Task Force to develop assumptions and/or a proposal for the TAC regarding the requirement for reliable fuel resources.

- TNT Fidelity Document Questions – ROS response to TNT questions have been posted on the ERCOT website.

ERCOT Compliance

The ROS reviewed the NERC Board’s August 14, 2003 blackout recommendations and the likely impact on ERCOT during 2004.  Most pressing are operator emergency training (ERCOT and TOs), Zone 3 relay review and analysis, under-voltage load shedding, vegetation management, dynamic disturbance reporting, time synchronization of fault recording, and data validation.  The ROS directed working groups to address issues related to the NERC Board recommendations as follows:

- OWG – Compare ERCOT Operator Training requirements with NERC requirements and consider an OGRR – Also consider vegetation management requirements and include in Operating Guides – both recommendations required by July ROS Meeting

- SPWG – Review the need for additional time synchronizing of disturbance recorders and add Operating Guides language. – Recommendations required by September ROS Meeting

- ERCOT System Planning and appropriate Regional Planning Groups – Assist with under-voltage load shedding proposals for areas around Houston, Dallas/Ft. Worth, Austin, and San Antonio. – Recommendations required by September ROS Meeting

- DWG – Review NERC Board Recommendation 14 regarding event simulation and model validation and determine the need for dynamic disturbance recording devices in ERCOT. – Recommendations required by September ROS Meeting