## Slide 1: Proposed Market Solution for Bates RMR Exit Strategy
Frontera Power Station

## Slide 2: Frontera Proposal – Presentation Outline
Presentation of the Frontera alternative to the Bates RMR
  A “market solution” (Greg Ramon, Juan Villa)
ERCOT presentation of its modeling efforts and analysis of the Frontera proposal to assess the technical and economical feasibility of the proposal (Dan Woodfin)
Discussion question: Does ERCOT have to delay further development of the Frontera proposal until the new PRR on non-transmission alternatives has been implemented? (Greg Ramon, Bill Bojorquez, TAC)

## Slide 3: Frontera Plant Background
Purchased by TECO in March 2001 in the CSW/AEP Merger
Located in Mission, Texas (Mc Allen Area) next to the Bates Plant
450 MW Output – GE Combined Cycle 2 x 1
Commercial Operation - May 1999/2000
AC Tie with Mexico at 138 kV allows 150 MW of transfer (one CT)

## Slide 4: Bates RMR Exit Strategy Background
Current Recommendations
  Build DC Tie with Mexico
  Continue Bates RMR until DC Tie is available (Q4 - 2006)
Assumptions
  Bates modeled out
  Frontera modeled out
    One CT out supplying to Mexico (150MW)
    Second CT out on first Contingency (150MW), and
    The ST out without either CT generating (150MW)
Thus Bates and the total Frontera plant is modeled out for reliability purposes and consequently the DC Tie has been identified as a transmission solution to resolve resulting transmission problems and to allow for the removal of the Bates RMR contract

## Slide 5: Bates RMR Exit Strategy Background (Contd)
Under this assumption and until the 345 kV loop is completed in 2008:
  Bates RMR continues @ $20.0 Million/year (2004 - 2006)
  DC Tie with Mexico @ $ XX Million/year (2006-2008)

## Slide 6: Potential Benefits
Frontera could provide immediate service in 2004
Frontera could replace Bates RMR and DC Tie
Frontera may postpone the 345 kV Valley Loop

## Slide 7: Potential Solution (How ?)
Frontera agrees to forego sales into Mexico to change underlying assumptions – 225 MW remains in ERCOT even upon first Contingency
ERCOT and Frontera agree on technical requirements (scheduling requirements, communications, ramping rates, outage coordination, etc.)
Frontera runs economically - “market based solution”
ERCOT OOM Frontera OOM Vs. Bates RMR

## Slide 8: ERCOT Modeling
Model should consider plant dispatch and schedule for transmission upgrades in the region
Quantify frequency and magnitude of OOM deployment for Frontera, and
Determine potential cost of deployment

## Slide 9: Potential Savings – At Least Two Options
1. Sharing of Savings on Uplifted Costs (50/50)
  Example: (For Discussion Purposes Only)
  Bates Projected Costs: $20.0 M/yr
  Frontera Forced Deployments: $10.0 M/yr
  Savings: $10.0 M/yr shared 50/50
  Savings in Uplifted Costs: $5.0 M/yr
  Settlements proposed to be based on actual costs at end-of-month
Fixed Cost Option
  Structure a fixed price with savings to uplift
Additional Potential Benefits
  Avoidance of DC Tie, Delay of 345 kV loop, additional Bates upgrades/maintenance

## Slide 10: Should ERCOT Delay Further Development of the Frontera Proposal?
Uniqueness of proposal
  Limited non-transmission alternatives
  Existing Frontera generation alternative is unique in ERCOT for RMR Exit Strategies
    One 150 MW CT is essentially new capacity to ERCOT for planning purposes
If ERCOT analysis is positive then delay is preventing implementation of potentially, a much more cost effective solution to the near term SW Valley congestion problems
Does the new PRR policy issues justify delay?

## Slide 11: Questions?