The following PRRs were acted upon by PRS and are presented to the TAC for the actions shown:

# PRRs Recommended for Approval:

The following PRRs were approved by PRS and are recommended to the TAC for approval:

- PRR476 – Ramp Rate Adherence During Local Congestion.  Proposed effective date: Upon determining market and ERCOT computer system requirements and implementation of computer system changes.  Significant computer system impacts to EMMS systems requiring ESCA/Areva development, which will require further input from Market to define the solution within the portfolio structured market.  No staffing impacts upon system implementation.  This PRR requires ERCOT’s determination of a unit-specific Dispatch Instruction to adhere to and not exceed the unit’s ramp rates.  This PRR was voted urgent by PRS in December 2003.  PRS voted to recommend approval of PRR476 as submitted.

- PRR499 – Eliminate Fuel Shortage Notice.  Proposed effective date:  July 1, 2004.  No ERCOT computer system impacts; no staffing or business function; minor impacts to Operating Guides, internal operating procedures, and operations staff training on revised procedures.   This PRR eliminates the requirement for ERCOT to issue Operating Condition and Advisory Notices for fuel curtailment situations; however, Emergency Notices for fuel shortages are required.  PRS voted to recommend approval of PRR499 as revised by PRS.

- PRR500 – OOME Down Payments – Verifiable Costs.  Proposed effective date:  July 1, 2004.  No ERCOT computer system impacts; may require 1 FTE (not in 2004 Budget) in Settlements to examine and process OOME Down verifiable costs (represents an additional process beyond current functions); minor business function impacts to add such process; no grid operations/practices impacts.  Current Protocol language contains an OOME Up payment mechanism that provides for verifiable costs in excess of normal OOME Up payment.  This PRR establishes the same mechanism in the OOME Down payment structure.  PRS voted to recommend approval of PRR500 as revised by ERCOT Comments.

- PRR501 – A/S Revision to Down Balancing Requirement.  Proposed effective date:  Upon updating required documentation (likely within one month of ERCOT Board approval).  No ERCOT computer systems impacts; no long-term staffing impacts; business functions and staffing are impacted in short-term by need to update “ERCOT Methodologies for Determining Ancillary Services Requirements” (impacts fall within 2004 Budget amounts); no control room impact; there is a slight increase in the risk of running out of Down Balancing that may result in an increased need to dispatch units off-line during night periods.  This PRR revises the Down Balancing Requirement to account for Regulation Down obligations.  PRS voted to recommend approval of PRR501 as revised by Constellation comments.

- PRR502 – Aggregation of Combined Cycle Units Providing RRS.  Proposed effective date:  Upon system implementation and operator training.  Has ERCOT system impacts to ERCOT Power Operations System generator and reserve modeling database; business functions and staffing are impacted in short-term by need to update database and Operator Procedures, which will require additional Operator training; no additional impacts to grid operations after implementation.   This PRR allows RRS obligations awarded to combined cycle plants to be aggregated for all units in a block for consideration of compliance.  After voting to declare this PRR urgent, PRS voted to recommend approval of PRR502 as revised by PRS and ERCOT comments.  Additionally, PRS assigned a project priority ranking of 1.1 to this PRR.

- PRR504 - Resource Derating Clarification.  Proposed effective date:  July 1, 2004.  No ERCOT computer system impacts; no staffing impacts; minor impacts to business functions; provides potential grid operations/practices improvements with better weather event data available for analysis.  This PRR provides an explanation of what constitutes a Resource deration and defines the magnitude of the deratings to be entered, so that ERCOT will receive needed information regarding Resource capability.  PRS voted to recommend approval of PRR504 as revised by TXU comments and PRS.

- PRR507 - RMR Process Enhancements.  Proposed effective date: July 1, 2004.  No ERCOT computer system impacts; no staffing impacts based on updated information, however may require the use of a consultant for RMR reviews (unbudgeted in 2004; reference $50K spent on high-level RMR review by consultants in 2003); no grid operations/practices impacts.  See ERCOT Impact Analysis for TAC.  This PRR streamlines and clarifies the RMR initiation process timeline and add incentives for Resource Owners to negotiate RMR agreements.  This PRR is a result of TAC directing the RMR Task Force to address stakeholder and ERCOT concerns over the current RMR initiation process.  PRS voted to recommend approval of PRR507 as submitted.

- PRR510 – Remove PIP134 and PIP158 Boxed Language.  Proposed effective date:  July 1, 2004.  No impacts to ERCOT computer systems, staffing, business practices or grid operations/practices.  This PRR removes changes due to PIP134 and PIP158, both of which are currently “boxed” in the Protocols awaiting system implementation.  Both PIP134 and PIP158 have consistently received priority 3.3 rankings from the Market Participants when examined against all other projects.  This level of priority is not likely to result in project initiation.  PIP134 required ERCOT System and Zonal Load forecasts to be distributed through the Message System and PIP158 added information contained in Dispatch Instructions.  PRS voted to recommend approval of PRR510 as submitted.

- PRR512 – OOMC and OOME of LaaRs.  Proposed effective date:  July 1, 2004; No ERCOT computer system impacts; no staffing, business function or grid operations/practices impacts.  Current Protocol language requires Loads acting as Resources (LaaRs) to be available to provide OOMC Service.  This PRR removes that requirement.  This PRR also defines the settlements compensation for LaaRs that are providing OOME Service by using existing ERCOT processes where available.  This PRR was voted urgent.  After clarifying the formulas, PRS voted to recommend approval of PRR512 as revised by ERCOT comments.

- PRR513 – Verification of Operational Model after Recurring Local Congestion Event.  Proposed effective date: upon filling ERCOT staffing requirements.  No impacts to ERCOT computer systems; slight additional requirement for Control Room Operators to save data; Operations support staffing will require 0.5FTE to fully comply with the PRR to perform analysis of congestion and reconcile with TDSP models for all events.   After ERCOT identifies Local Congestion occurring on a repeated basis, this PRR establishes procedures for contacting the appropriate TDSP to verify ratings and configurations of Transmission Facilities used in the ERCOT Operational Model and to identify any additional operational intervention or system monitoring that could be implemented to manage recurring Congestion due to a recurring cause.  The PRR also establishes the means for changing the ERCOT Operational Model to correct ratings when required.  This PRR was previously voted urgent.  PRS voted to recommend approval of PRR513 as revised by ERCOT comments and PRS.

- PRR519 – ERCOT and TDSP Acceptance of Customer Cancellation of Switch Request.  Proposed effective date:  August 1, 2004. No impacts to ERCOT computer systems, staffing, business functions or grid/operations practices. This PRR revises current Protocol language to clarify that ERCOT and the TDSP will accept cancellations (814_08s) until five (5) Business Days preceding the scheduled meter read date.  The change is being made to reflect the way the market is operating and to facilitate the implementation of PRR444 – Move In Move out (MIMO) Stacking Solution.  After voting this PRR urgent so that the effective date can coincide with the August 1 implementation date for MIMO, PRS voted to recommend approval of PRR519 as revised by PRS.

# PRRs Recommended for Rejection:

The following PRRs were recommended for rejection by PRS at its April meeting.  PRS recommends TAC reject these PRRs:

- PRR495 – Effect of Short Payments Owed on Estimated Aggregate Liability (EAL).  The intent of this PRR is to modify the determination of Estimated Aggregate Liability (EAL) to include the effects of short payment amounts owed to QSEs by ERCOT.

- PRR498 – Exclusion of Payment For Black Start Service from Short Payment Obligation.   The intent of this PRR is to revise Section 9.4.4, Partial Payments, to exclude payments for Black Start Service from the calculation of reduced payments to Invoice Recipients when ERCOT incurs short payments.

- PRR508 – Date of Congestion Zone Changes.  This PRR proposes to modify the date that changes to CSCs and Congestion Zones become effective to April 1st, if required.  It also proposes a modification to the monthly TCR auction for the months of January through March 2005, the annual auctions for 2005 and 2006.

# PRRs Withdrawn by the Submitter:

The following PRRs were withdrawn by their submitters in May.  This information is provided as an update to TAC.  No further action is required.

- PRR503 – Section 8 Coordination of Resource Outage Due to TSP.  This PRR protected Resource Entities that have arranged for redundant interconnection onto the ERCOT Transmission Grid, during the construction and interconnection phase, from exposure to interruption of both interconnections at the same time.  This PRR required the TSP to arrange for station service and ERCOT to take on the responsibility of serving the Resource Entity’s obligations.

- PRR516 – Curtailment Prioritization for Wind Generators.  This PRR introduced the concept of using in-service date to determine curtailment priority in situations where only wind generators are needed to resolve local congestion. And required new WPGRs locating in the McCamey area to install Special Protection Schemes to limit their output.

# PRRs Recommended for Approval (for Future TAC Review):

The following PRRs were recommended for approval and will appear for future TAC review at the July 8 TAC meeting.  (PRR summary and ERCOT impacts for those PRRs that were recommended for approval by PRS in May will be described when presented to TAC for its recommendation):

- PRR514 – Twelve Month Window for Non-IDR Scaling.  The PRS voted to recommend approval of PRR514 as revised by PRS.  This PRR is on a normal timeline and is currently in the comment period for the PRS Recommendation Report.

- PRR515 – Disclosure of Local Congestion.  The PRS voted to recommend approval of PRR515 as revised by ERCOT Comments and PRS.  This PRR is on a normal timeline and is currently in the comment period for the PRS Recommendation Report.

# PRRs Recommended for Rejection (for Future TAC Review):

The following PRR was recommended for rejection by PRS at its May meeting.  PRS will recommend TAC reject this PRR after the appropriate comment period has expired.

- PRR505 – Elimination of OOME Down Payments.  This PRR was posted on 03/24/04 and the submitter requested urgent status.  At the April PRS meeting, this PRR was remanded to WMS.  After considering the WMS recommendation to reject this PRR, PRS voted to recommend rejection of PRR505 at its May meeting.  Pending completion of the comment period on the PRS Recommendation Report, this PRR will appear on the July TAC agenda.

# Pending PRRs:

The following PRRs are pending and the current status is explained below:

- PRR356 – SCE Performance Requirement. This PRR was remanded by PRS to WMS and ROS Task Force on 09/25/03.

- PRR358 – Negative Impact SCE.  This PRR is to be considered along with PRR356 in the WMS and ROS Task Force review.

- PRR409 – Voltage Support Service.  This PRR was remanded to WMS on 5/22/03.

- PRR462 – Market Solution Definition.  This PRR was tabled with concurrence of the PUCT until more progress is made by the stakeholders at WMS and PRS concerning the Market Solution.

- PRR472 – ERCOT Meter Read Transaction Validation Reinstatement.  PRS remanded this PRR to RMS in November.  PRR472 – ERCOT Meter Read Transaction Validation Reinstatement.  Based on a request by the submitter, RMS recommended deferral of consideration of PRR 472 until sometime late in 2004.

- PRR479 – IDR Optional Removal Threshold.  This PRR was remanded by TAC to PRS in March with instructions to remand it to RMS and direct consideration of the discrimination issues discussed at TAC relative to existing and move-in IDR customers.  RMS should also consider comments by ERCOT and CenterPoint Energy.

- PRR494 – Revise Forecasted Load Profile Post Time.  The PRS remanded this PRR to the Load Profile Working Group on 03/26/04.

- PRR509 - Initiation, Procedure, and Settlement of Disputes through ADR.  This PRR was posted on 04/01/04.  At its April meeting, PRS remanded this PRR to the Commercial Operations work group (COPS) with instructions to return the PRR to PRS for action not later than July.

- PRR511 – Clarification of PCR Eligibility.  This PRR was posted on 04/05/04 and is on a normal timeline.  Discussion was deferred to the June PRS meeting.

- PRR517 – Reduce the Number of Annual TCRs Sold to 40% from 60%.  This PRR was posted on 05/17/04 and is on a normal timeline.  It will appear on the June PRS agenda.

- PRR518 – Clarification of Requirements Relating to Retail Transactions.  This PRR was posted on 05/18/04 and is on a normal timeline.  It will appear on the June PRS agenda.

- PRR520 – Resource Plan Performance Metrics.  This PRR was posted on 05/25/04 and is on a normal timeline.  It will appear on the June PRS agenda.

- PRR521 – Add Fleet/Zonal OOME instruction to SCE Calculation.  This PRR was posted on 05/24/04 and is on a normal timeline.  It will appear on the June PRS agenda.