| PRR Number | PRR501 | PRR Title | A/S Revision to Down Balancing Requirement |
| --- | --- | --- | --- |
| Impact Analysis Date |  | June 30, 2004 |  |
| Credit Impacts |  | YES _______ NO ___X___ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | No impact to 2004 budget |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | No computer system impacts. |  |
| ERCOT Staffing Impacts (across all areas) |  | No additional staffing impact beyond Business Function impact addressed below. |  |
| ERCOT Computer System Impacts |  | There are no computer system impacts resulting from this PRR. |  |
| ERCOT Business Function Impacts |  | Approximately one month will be needed to update the “ERCOT Methodologies for Determining Ancillary Services requirements” documentation and the associated Operating Procedure manuals. |  |
| Grid Operations/ Practices Impacts |  | The potential exists for negative impact to generation capability related to controlling power balance and zonal and local congestion as described in ERCOT comments. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

N/A

Evaluation of Interim Solutions (e.g., manual workarounds)

N/A

Comments

N/A