## Slide 1: WMS UPDATE
Day Ahead Market RFP Team
Timeline
7/28 RFP Released
8/3 Team Meeting
  Focus
  Process overview
  Review RFP
  Requirements – TNT White Paper, TNM Protocols Section 5
  Timeline/milestones
  Evaluation Criteria/weighting
  Demo

## Slide 2: WMS UPDATE
8/11 Notice of Intent to Bid\Submit questions
8/16 Team Meeting 9:30 to 2:00 (Austin Met Center, Room 168)
  Review questions/responses
  Bidder’s Conference
  Amend RFP?
  Review criteria weighting
8/18 Respond to Questions (Bidder’s Conference)
8/20 Amend RFP if needed
9/10 Submit Proposals

## Slide 3: WMS UPDATE
9/13- 9/14 Team Meeting 9:30 to 4:00 (Austin Met Center, Room 168)
  Review Proposals
  Rank proposals (short list)
9/21- 9/22 Bidder Presentations 9:30 to 4:00 (Austin – offsite – to be announced)
  Review presentations
  Forced ranking within each criteria
  Recommend bidder

## Slide 4: WMS UPDATE
10/1 Final selection (begin contract negotiations)
10/15 ERCOT contracts with bidder
11/1 Implementation begins

## Slide 5: WMS UPDATE
On the afternoon of July 7, 2004, TXU QSE received unit specific Local Balancing instructions to back down the following generating units as a part of ERCOT Operations local congestion management for the post contingency overload of Jewett – Watson Chapel 138 kV Line for the loss of the Gibbons Creek – Twin Oak double circuit 345 kV Line:
  Approx. 1,100 MW of Martin Lake generation (lignite/coal)
  Approx. 225 MW of TNP One (lignite/coal)
  Approx. 300+ MW of Stryker (gas)

## Slide 6: WMS UPDATE
  ERCOT issued on average 1,700 MW of unit specific down instructions (average generation shift factor impact of 2.2%) and approximately 300 MW of unit specific up instructions.
  If all units responded as ERCOT requested, these instructions represented roughly $189,000 of Local Congestion management.

## Slide 7: WMS UPDATE
A review of the daily ERCOT Operation Congestion Reports since their inception on June 18, 2004 through July 27, 2004 (i.e. a 40 day period) indicates that:
    The constraint has become active 17 times on 15 different days.

## Slide 8: WMS UPDATE
WMS is having the Operational review group discuss What, if any, Curtailment Threshold criteria should be used by ERCOT to determine the minimum generation shift factor that a generator must have on a post contingency overloaded line before unit specific up and down instructions are issued to QSEs for Local Congestion management?