| PRR Number | DRAFT | PRR Title | Resource Plan Performance Metrics |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | Section 4.4.15 QSE Resource Plans & New Section 4.10 |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | This revision would establish Resource Plan performance metrics which are needed for ERCOT to accurately monitor compliance with the Protocols. |  |
| Reason for Revision |  | Currently, there are no such metrics in the Protocols to measure the accuracy and consistency of the Resource Plans. |  |
| Timeline |  |  |  |
| Date Received |  | 04/26/04 |  |

See the Master List on ERCOT website for current timeline.

| Sponsor |  |
| --- | --- |
| Name | Mark Henry |
| E-mail Address | mhenry@ercot.com |
| Company | ERCOT |
| Company Address | 7620 Metro Center Drive |
| Phone Number | 512-225-7021 |
| Fax Number | 512-225-7165 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Ongoing tracking of metrics | None | Ensure accuracy and consistency of Resource Plans from all QSEs |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | None |
| LSE: General, Including NOIE | None | None | None |
| LSE: CR & REP | None | None | None |
| QSE | Staff time to train and continue to meet metrics | May choose to shadow calculations | Allow for a better understanding of what is expected to be entered into the Resource Plan |
| Resource | None | None | None |
| TDSP | None | None | None |

Proposed Protocol Language Revision

4.4.15 QSE Resource Plans

Each QSE that represents a Resource will present a Resource Plan to ERCOT at 1600.  These Resources may be specific generating units and/or Load acting as a Resource.  The Resource Plan capacity should be sufficient to accommodate the combined quantity of energy and Ancillary Services scheduled by that QSE from the Resources that the QSE represents.  The Resource Plan shall indicate the availability of the Resources represented by the QSE and the planned operating level of each Resource, for each hour of the Operating Day.  The Resource Plan shall indicate the High Operating Limit and Low Operating Limit by Resource.  A Resource may be listed as unavailable to ERCOT if the Resource’s capacity has been committed to markets in regions outside of ERCOT.

QSEs shall use best efforts, consistent with Good Utility Practice, to continually update their Resource Plans to reflect the current and anticipated operating conditions of the Resources.  ERCOT will monitor the performance of QSEs with respect to the submission of accurate Resource Plans in accordance with the measures established in Section 4.10, Resource Plan Performance Metrics.  ERCOT will work with individual QSEs as necessary to improve the individual QSE performance.

### [PRR359:  Replace Subsection 4.4.15, QSE Resource Plans as follows when the system change is implemented.]

Each QSE that represents a Resource will present a Resource Plan to ERCOT at 1600.  These Resources may be specific generating units and/or Load acting as a Resource.  The Resource Plan capacity should be sufficient to accommodate the combined quantity of energy and Ancillary Services scheduled by that QSE from the Resources that the QSE represents.  The Resource Plan shall indicate the availability of the Resources represented by the QSE, including a lead-time status code, and the planned operating level of each Resource, for each hour of the Operating Day.  The Resource Plan shall indicate the High and Low Operating Limits, and High and Low Sustainable Limits by Resource.  A Resource may be listed as unavailable to ERCOT if the Resource’s capacity has been committed to markets in regions outside of ERCOT.

QSEs shall use best efforts, consistent with Good Utility Practice, to continually update their Resource Plans to reflect the current and anticipated operating conditions of the Resources.  ERCOT will monitor the performance of QSEs with respect to the submission of accurate Resource Plans in accordance with the measures established in Section 4.10, Resource Plan Performance Metrics.  ERCOT will work with individual QSEs as necessary to improve the individual QSE performance.

[PRR423:  Add the following sentence to the end of the first paragraph of 4.4.15, QSE Resource Plans, when the system change is implemented.  If PRR423 is implemented before PRR359, add this sentence both to the end of the first paragraph of 4.4.15, QSE Resource Plans, and the end of the PRR359 box above.]

ERCOT shall use other Resource Dispatch options to maintain system reliability prior to Dispatching a Generation Resource below its Low Operating Limit.  ERCOT shall request Qualifying Facilities (QF), hydro units, and/or nuclear to operate below their Low Operating Limit only after other Resource Dispatch options have been exhausted.

{All Sections below are all new Sections but are shown in blackline for ease of reading.}

## Resource Plan Performance Metrics [new]

### Introduction and Calculation of QSE Scores

ERCOT shall measure the performance of QSEs reporting unit specific status through the Resource Plan (Section 4.4.15), according to the requirements of this section.  ERCOT shall identify those QSEs that continually fail to comply with the Resource Plan Performance Metrics described in this section.

The Resource Plan Performance Metrics scoring defined in this section will be applied to all QSEs representing Resources that are required to be included in their Resource Plans.  ERCOT shall collect and apply the pertinent data from the proper ERCOT Data Warehouse to perform these measurements.  These performance metrics shall be measured as precisely and efficiently as possible, consistent with the performance requirements defined in the Protocols.

ERCOT will generate scores for the measures contained in this section on a monthly basis.  All of these measures check for occurrences on an hourly basis except for the Total Up AS Scheduled Obligation Measure, defined in Section 4.10.8, which checks for occurrences on a fifteen (15) minute interval basis.  The scores are calculated as follows:

QSE Score = 1−# of OccurrencesTotal # of Monthly Samples

Where number of Occurrences and number of Monthly Samples are explained in Sections 4.10.3, Resource Status Measure, through 4.10.7, Down Bid and Obligation Measure, below.

### Scoring Review and Non-Performance Actions

ERCOT will calculate a score for each Resource Plan Performance Metric on a monthly basis.  Scores equal to or greater than ninety percent (90%) will be considered to be in compliance with Resource Plan accuracy requirements.

### Resource Status Measure

The “Resource Status Measure” checks the consistency between the Resource Plan status and the Resource Telemetered status.  The last Resource Plan submitted before the end of the Adjustment Period is used.  Also, ERCOT-approved Aggregated Units are treated as single units for the purposes of calculating the score for this measure.  Only Resources that are required to provide telemetry to ERCOT through their QSE are included in this measure.  Loads Acting as Resources and Resources with a Resource Category Generic Fuel Cost of “Renewable” according to Section 6.8.2.1, Resource Category Generic Costs, item 1 are excluded from this measure.

After PRR332 is implemented, the last sentence in the paragraph above will be revised to read as follows: Loads Acting as Resources, Generation Resources undergoing required testing, and Generation Resources with a Resource Category Generic Fuel Cost of “Renewable” according to Section 6.8.2.1, Resource Category Generic Costs, item 1 are excluded from this measure.

The hourly Resource Plan status for a particular Generation Resource is compared to the corresponding real power telemetry values delivered to ERCOT’s SCADA by the QSE for the same Resource.  The hourly Resource Plan status is considered Off-line if the status flag is set to Off-line; however, the Resource Plan status is considered On-line only if the Resource Plan output level is greater than zero (0) MW.  A total of twelve (12) telemetry values are used.  Each telemetry value is an average of the Resource’s telemetered Net Generation over a five (5)-minute period.  The minimum and maximum are calculated for an entire hour from these twelve (12) telemetry values.

If the Resource Plan status for a particular Generation Resource is Off-line and the minimum of all twelve (12) telemetry values is greater than one-half (0.5) MW for the same Resource, then an occurrence is counted for that Resource for that hour.    If the Resource Plan output level is greater than zero (0) MW for a particular Resource and the maximum of all twelve (12) telemetry values is less than one half (0.5) MW for the same Resource, then an occurrence is counted for that Resource for that hour.  Only one occurrence can be generated per Resource per hour.  This comparison is done for all Resources for every hour in a given month.  Each QSE’s score is then calculated as defined in Section 4.10.1, Introduction and Calculation of QSE Scores.

### Resource Low Sustainable Limit as a Percent of High Sustainable Limit Measure

The “Resource Low Sustainable Limit as a Percent of High Sustainable Limit” measure checks the range between the Low Sustainable Limit and High Sustainable Limit submitted in the Resource Plan.  The last Resource Plan submitted before the end of the Adjustment Period is used.  Only hours where the Resource Plan High Sustainable Limit of a Resource is greater than zero (0) MW and the Resource Plan status for the same Resource is On-line are included in the calculation of this measure.  Hydros, Renewables, and Loads Acting as Resources are excluded from this measure.

After PRR332 is implemented, the last sentence in the paragraph above will be revised to read as follows: Loads Acting as Resources, Generation Resources undergoing required testing, and Generation Resources with a Resource Category Generic Fuel Cost of “Renewable” according to Section 6.8.2.1, Resource Category Generic Costs, item 1, are excluded from this measure.

The percentages in the table below will be applied for each unit type as specified in Section 6.8.2.1, Resource Category Generic Costs, item 1.  The unit type specified for each Resource is obtained from the most recent Asset Registration Form available.

| Resource Category Generic Fuel Cost | Percentage |
| --- | --- |
| Nuclear | 70 |
| Hydro | N/A |
| Coal and Lignite | 60 |
| Combined Cycle greater than 90 MW | 85 |
| Combined Cycle less than or equal to 90 MW | 85 |
| Gas Steam Supercritical Boiler | 40 |
| Gas Steam Reheat Boiler | 40 |
| Gas Steam Non-reheat or boiler without air-preheater | 40 |
| Simple Cycle greater than 90 MW | 90 |
| Simple Cycle less than or equal to 90 MW | 90 |
| Diesel (and all other diesel or gas-fired Resources) | 90 |
| Renewable (i.e., non-Hydro renewable Resources) | N/A |
| Block Load Transfer | N/A |

If the Resource Plan Low Sustainable Limit is greater than the Resource Plan High Sustainable Limit multiplied by the percentage corresponding to the unit type for a particular Resource, then an occurrence is counted for that Resource for that hour.  Only one occurrence can be generated per Resource per hour.  Each QSE’s score is then calculated as defined in Section 4.10.1, Introduction and Calculation of QSE Scores.

Cogenerators and other Resources may request an alternate percentage, subject to approval by ERCOT.

### Day Ahead Zonal Schedule Measure

The “Day Ahead Zonal Schedule Measure” checks the consistency between each QSE’s zonal energy schedule and the QSE’s aggregated planned operating level for that Congestion Zone at the time a Resource Plan validation, as described in Section 4.7.2, Schedule Validation Process, is run and approved.  The QSE’s zonal energy schedule and the aggregated planned operating level for that Congestion Zone for all twenty-four (24) hours of the next day are recorded at the time of the Resource Plan validation.  The QSE’s zonal energy schedule is averaged over an entire hour.  The hourly planned operating level for each Congestion Zone is aggregated for all Resources for each hour by QSE.  If multiple Resource Plan validations are run on a particular day, only the first approved Resource Plan validation is used.  Only hours where the zonal energy schedule is greater than zero (0) MW are considered in this measure.

If the QSE’s zonal energy schedule and the aggregated planned operating level for that Congestion Zone differ by the greater of two percent (2%) of the zonal energy schedule or one (1) MW, then an occurrence is counted for that Congestion Zone for that hour.  Only one (1) occurrence can be generated per Congestion Zone per hour.  This comparison is done for all Congestion Zones for every hour in a given month.  Each QSE’s score is then calculated as defined in Section 4.10.1, Introduction and Calculation of QSE Scores.

### Adjustment Period Zonal Schedule Measure

The “Adjustment Period Zonal Schedule Measure” checks the consistency between each QSE’s zonal energy schedule and the aggregated planned operating level for that Congestion Zone at the end of the Adjustment Period.  A snapshot of each QSE’s zonal energy schedule is taken at the end of the Adjustment Period.  The last Resource Plan submitted before the end of the Adjustment Period is used.  The QSE’s zonal energy schedule is averaged over an entire hour.  The hourly planned operating level for each Congestion Zone is aggregated for all Resources for each hour by QSE.  Only hours where the zonal energy schedule is greater than zero (0) MW are considered in this measure.

If the QSE’s zonal energy schedule and the aggregated planned operating level for that Congestion Zone differ by the greater of two percent (2%) of the zonal average energy schedule or one (1) MW, then an occurrence is counted for that Congestion Zone for that hour.  Only one (1) occurrence can be generated per Congestion Zone per hour.  This comparison is done for all Congestion Zones for every hour in a given month.    Each QSE’s score is then calculated as defined in Section 4.10.1, Introduction and Calculation of QSE Scores.

After PRR359 is implemented, the first paragraph in Section 4.10.6 will be replaced with the paragraph below: The “Adjustment Period Zonal Schedule Measure” checks the consistency between each QSE’s zonal energy schedule and the aggregated planned operating level for that Congestion Zone before the start of the Operating Hour. A snapshot of each QSE’s zonal energy schedule is taken at the end of the Adjustment Period. The last Resource Plan submitted before the start of the Operating Hour but after the end of the Adjustment Period, as established in ERCOT’s software, is used. The QSE’s zonal energy schedule is averaged over an entire hour. The hourly planned operating level for each Congestion Zone is aggregated for all Resources for each hour by QSE.

### Down Bid & Obligation Measure

The “Down Bid & Obligation” measure checks the consistency between the minimum mandatory Balancing Energy Down Service bid, the Regulation Down Service Schedule, and the Resource Plan Sustainable Limits. The Resource Plan Low Sustainable Limit is aggregated for all Resources for each QSE. The QSE’s Resource Plan aggregated Low Sustainable Limit is compared to the sum of the energy schedule, Down Regulation Schedule, and the minimum mandatory Balancing Energy Down Service bid. Only hours where the energy schedule is greater than zero (0) MW are included in the calculation of this measure.

The minimum mandatory Balancing Energy Down Service bids will be calculated in accordance with the requirement established in Section 4.5.2, Receipt of QSE’s Balancing Energy Bid Curves.  If the QSE’s minimum mandatory Balancing Energy Down Service bid exceeds the QSE’s actual zonal aggregated Balancing Energy Down Service bid by more than one (1) MW, then an occurrence is counted for that QSE for that hour.

If the QSE’s Resource Plan aggregated Low Sustainable Limit exceeds the sum of the QSE’s energy schedule, Down Regulation Schedule, and minimum mandatory Balancing Energy Down Service bid by more than one (1) MW, then an occurrence is counted for that QSE for that hour.  Only one (1) occurrence can be generated per QSE per hour. Both of these comparisons are done for every hour in a given month. Each QSE’s score is then calculated as defined in Section 4.10.1, Introduction and Calculation of QSE Scores.

### Total Up AS Scheduled Obligation Measure

The “Total Up AS Schedule Obligation” measure checks the consistency between the Regulation Up, Responsive Reserve, and Non Spin Reserve Services Schedules and the Resource Plan Sustainable Limits.  The Resource Plan High Sustainable Limit is aggregated to include all online units, Off-line units necessary to cover Non Spin Reserve Service Obligations, hydro units that have tested hydro Responsive Reserve Capability when in synchronous condenser fast response mode, and active Loads Acting as Resources for each QSE.  The QSE’s Resource Plan aggregated High Sustainable Limit is then compared to the sum of the energy schedule, Up Regulation Schedule, Responsive Reserve Schedule, Non Spin Schedule, and Up Balancing Deployed.  Only intervals where the sum of the Up Regulation Schedule, Responsive Reserve Schedule, and Non Spin Schedule are greater than zero (0) MW are included in the calculation of this measure.

If the sum of the QSE’s energy schedule and scheduled Ancillary Services exceeds the QSE’s Resource Plan aggregated High Sustainable Limit by more than one (1) MW, then an occurrence is counted for that QSE for that interval.  Only one (1) occurrence can be generated per QSE per fifteen (15) minute interval.  This comparison is done for every interval in a given month.  Each QSE’s score is then calculated as defined in Section 4.10.1, Introduction and Calculation of QSE Scores.