ROS Summary Report to TAC for May 6, 2004

# OGRRs Recommended for TAC Approval:

- OGRR 143 – Change Control Process. Revises the OGRR process to require only one review by ROS, unless comments are made on the ROS Recommendation Report. Modifies comment periods to be similar to the Protocol revision comment periods.

- OGRR 145 – Reactive Standards. This OGRR is intended to make the Operating Guides conform to the Reactive Standards adopted by TAC.  Those portions of the standards that are most appropriately contained in the Operating Guides are included in this OGRR.

## TAC Assignments for ROS

- Reliable Fuel Source Requirement - ROS has requested that ERCOT compile a list of generation capability by fuel type. ROS also discussed the necessity of a survey to determine the capability through alternate fuel sources.

- TNT Fidelity Document Questions – Responses are being collected from the appropriate working groups and will be forwarded to TNT. Some ROS members have commented directly to the TNT exploder.

ERCOT Compliance

ERCOT Compliance will send a letter to Market Participants reminding them of their obligations under the Protocols and Operating Guides to provide governor response.  The letter will include the additional requirements of PRR 468.

ROS is reviewing the NERC Board’s August 14, 2003 blackout recommendations and the likely impact on ERCOT during 2004.  Most pressing are operator emergency training (ERCOT and TOs), Zone 3 relay review and analysis, under-voltage load shedding, vegetation management, dynamic disturbance reporting, time synchronization of fault recording, and data validation.  Compliance will track progress and provide updates to ERCOT Stakeholders thorough the ROS and other groups as needed.

Dynamics Ratings Task Force (DRTF)

The Dynamic Rating Project Description Document was approved unanimously by ROS. This document is meant to reduce overall system costs for congestion by obtaining greater utilization of the existing transmission system. To accomplish this transmission elements are dynamically rated using ambient temperature to reflect actual conditions rather then summer expected conditions. It also describes the processes that TOs will use to update ERCOT with the temperature adjusted ratings for their respective areas.  It is expected to be implemented by winter 2004/2005.