## Slide 1: Protocol Revision Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
June 3, 2004

## Slide 2: PRS Summary
3 PRR for Urgent Status
11 PRRs for Approval
3 PRRs for Rejection
2 PRRs Withdrawn
Note that a PRR substantially revising Section 21 was submitted June 2 – initial review will be at the June PRS meeting

## Slide 3: PRR 476 – Ramp Rate Adherence During Local Congestion
Urgent Status previously granted
Clarifies that ERCOT dispatch instructions will adhere to, and not exceed the ramp rates in a QSE’s Resource Plan
Effective upon determination of system requirements and scheduling – earliest implementation would be EMMS 5
EMMS 3 incorporates ramp rate and SCADA data into dispatch instructions, PRR 499 refines that for adherence
Impact analysis depends on market input for development

## Slide 4: PRR 499 – Eliminate Fuel Shortage Notice
Eliminates reference to “fuel curtailments” as a reason for either an Operational Condition Notice or an Advisory
Retains ERCOT’s ability to issue an emergency notice for reasons including fuel shortages
Effective July 1, 2004
No computer system impacts, staffing or business function impacts, does impact Operating Guides, operating procedures and training, no credit impacts

## Slide 5: PRR 500 – OOME Down Payments –Verifiable Costs
Applies verifiable cost recovery to OOME and ZOOME Down payments
Specifically adds “fixed energy rates” from PPAs as a verifiable cost
Effective July 1, 2004
Requires 1 unbudgeted FTE for settlement; minor business function impacts to add new process; no operational impacts

## Slide 6: PRR 501 – A/S Revision to Down Balancing Requirement
Changes Protocols to account for Regulation Down as part of the Down Balancing requirement
ERCOT comments raise three issues:
  As recommended, PRR 501 does not integrate with §4.5.2
  Accounting for BES Down “will be impossible” because Regulation is portfolio based and BES is zonal
  Concerned that OOMC instructions could cause over-commitment of units

## Slide 7: PRR 501 – A/S Revision to Down Balancing Requirement
ERCOT has submitted language in comments to TAC addressing the concerns
PRS recommendation – Effective approximately 1 month after BOD approval
Operations risk cited – may be a “slight increase in the risk of running out of Down Balancing”
No other impacts on computer systems, staffing or business practices

## Slide 8: PRR 502 – Aggregation of CCGTs Providing RRS
Urgent Status – Received at May PRS
Allows RRS obligations awarded to CCGTs to be aggregated for all units in a block for compliance purposes
PRR results from CEDI TF meeting on compliance
Effective upon system implementation; could be EMMS 4(B)
Computer system impacts, no staffing impacts, some impact on training and monitoring processes

## Slide 9: PRR 504 – Resource Derating Clarification
Defines “material” derating as a reduction of 10% of capability or 10 MW
Capability is the lesser of seasonal net capability or the asset registration information
Effective July 1, 2004
No computer system impacts, no staffing impacts, provides potential operations improvement, minor business function impact

## Slide 10: PRR 507 – RMR Process Enhancements
Provides clarification of RMR decision timeline and generator responsibilities
Addresses eligible costs related to capital expenditures allowed and not allowed
Provides a single process for all generation shut downs, regardless of whether they ask for RMR status or not
Review conducted at TAC’s instruction
Effective July 1, 2004
No computer system impacts, may require future consultant time, no operations impact

## Slide 11: PRR 507 – RMR Process Enhancements
0
18
60
Generator provides notice 90 days prior to ceasing operations (60 days on RMR renewal)
ERCOT initial needs assessment
Generator prepares pricing information
ERCOT final needs assessment
Need?
Generator ceases
operations
90
Good faith negotiation
Unit available for OOM
Agreement?
Yes
No
No
RMR
Yes

## Slide 12: PRR 510 – Remove PIP 134 & 158 Boxed Language
PIP 134 – Required distribution of System and Zonal load forecast through messaging system
PIP 158 – Added info to dispatch instructions
Consistent low priority
Effective July 1, 2004
No impacts

## Slide 13: PRR 512 – OOMC & OOME of LaaRs
Urgent Status previously granted
Remanded by TAC to clarify settlement calculation and verifiable cost language related to LaaRs
Effective July 1, 2004
No computer system, staffing, business function or operations impacts

## Slide 14: PRR 513 – Verification of Operational Model after Recurring Local Congestion
Urgent Status
Specifies communication between ERCOT and TDSPs when local congestion occurs on a repeated basis
Communications are to ascertain whether the operational model is correct
Effective upon ERCOT staffing
Impacts control room operators slightly, operations requires 0.5 FTE for analysis purposes, no impacts to computer systems

## Slide 15: PRR 519 – ERCOT & TDSP Acceptance of Customer Cancellation of Switch Request
Urgent Status – MIMO integration
Clarifies “business” days instead of calendar days related to ERCOT/TDSP cancellations
Conforms to actual market operations
Effective July 1, 2004
No computer system, staffing, business function or operations impacts

## Slide 16: PRRs with Rejection Recommendations
PRR 495 – Effective of Short Payments Owed on EAL
PRR 498 – Exclusion of Payment for Black Start Service from Short Payment Obligation
PRR 508 – Date of Congestion Zone Changes

## Slide 17: PRRs Withdrawn
PRR 503 – Section 8 Coordination of Resource Outage Due to TSP
PRR 516 – Curtailment Prioritization for Wind Generators

## Slide 18
Recommended TAC Actions
Urgency – 502 – Aggregation of CCGTs Providing RRS
-- 519 – ERCOT/TDSP – Customer Switch Request
-- 513 – Verification of Operational Model
Approval –
PRR 476 (Ramp Rate Adherence)
PRR 499 (Eliminate Fuel Shortage Notice)
PRR 500 (OOME Down Payments – Verifiable Cost)
PRR 501 (A/S Revision to Down Balancing Requirement)
PRR 502 (Aggregation of CCGTs Providing RRS)
PRR 504 (Resource Derating Clarification)
PRR 507 (RMR Process Enhancements)
PRR 510 (Remove PIP 134 & 158 Boxed Language)
PRR 512 (OOMC/OOME of LaaRs)
PRR 513 (Verification of Operational Model)
PRR 519 (ERCOT/TDSP – Customer Switch Requests)

## Slide 19
Recommended TAC Actions
Affirm Rejection
PRR 495 (EFX of Short Payment on EAL)
PRR 498 (Exclusion of Black Start from Short-Pay)
PRR 508 (Date of Congestion Zone Changes)