## Slide 1: January CPS1 133.6

## Slide 2: February CPS1 137.0

## Slide 3: March CPS1 122.30

## Slide 4: April CPS1 115.90

## Slide 5: May CPS1 110.75

## Slide 6: June CPS1 123.60

## Slide 7: July CPS1 143.64

## Slide 8: Morning – 1% Min

## Slide 9: Evening – 1% Min

## Slide 10: PRR525 Sensitivity
If a QSE is 10% of ERCOT, its CPS1 score crosses 100 at a SCE value of +36.1 MW’s when ERCOT’s Frequency is +.03 Hz

## Slide 11: Primary Frequency Response