| PRR Number | 533PRR | PRR Title | Definition of Transmission Facility Owner |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | #### Section 2 Definitions and Acronyms #### 2.1, Definitions #### 2.2, Acronyms #### Section 8: Planned Outages and Maintenance Outages of Transmission and Resource Facilities #### 8.3.8, Information for Inclusion in Transmission Facility Outage Requests #### 8.8.2.1, TSP Information to be provided to ERCOT #### 8.8.2.4, Approval of Work Requiring Coordination) #### Section 12: Market Information System #### 12.4.4.1, ERCOT Power Operations #### 12.4.4.1.1, QSE, Resource, TFO, and TSP Responsibilities #### 12.4.4.1.2, ERCOT Responsibilities #### 12.4.4.2.2, TSP Responsibility #### 12.4.4.2.3.1, Secure ERCOT Posting NOTE: There is a proposed OGRR linked to this PRR. |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | Transmission Facility Owner (TFO) is defined. Responsibility for transmission model data is assigned to the TFO. Some responsibilities associated with Outage Scheduling are removed. |  |
| Reason for Revision |  | Responsibility associated with providing model data is not clearly defined in the Protocols. The use of “TDSP” has not provided clear direction for owners, operators, and ERCOT regarding model data submission. Suggested removal of responsibilities associated with Outage Scheduling provides a streamline appropriate flow of information. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |
| Timeline |  |  |  |
| Date Posted |  | 7/29/04 |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Curtis Crews |
| E-mail Address | ccrews@lcra.org |
| Company | LCRA |
| Company Address | 3505 Montopolis Drive, Austin Tx 78744 |
| Phone Number | 512-356-6082 |
| Fax Number | 512-385-2146 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | none | ERCOT should have a system to track ownership, designation of operation, and operation of facilities. Outage Scheduler would require a new attribute field. | ERCOT and MP would have a clear picture regarding responsibility of model data submission. This would help “troubleshoot” the model when needed. |
| MARKET SEGMENT |  |  |  |
| Consumer | none |  |  |
| LSE: General, Including NOIE | none |  |  |
| LSE: CR & REP | none |  |  |
| QSE | none |  |  |
| Resource | none |  |  |
| TDSP | Internally, each entity would have to determine what facilities are owned and what facilities may be designated to another TSP. Interconnect agreement language may need modified or amended. | It would be in the best interest of the TDSP to know ownership and operation responsibility of transmission equipment which may or may not require display changes. | Clearer understanding of responsibilities regarding model data. |

Proposed Protocol Language Revision

- Section 2:  Definitions and Acronyms

## Definitions

Transmission Facility Owner (TFO)

An Entity that owns Transmission Facilities to transmit electricity, and whose rates for Transmission Service are set by a Governmental Authority

## Acronyms

TFO	Transmission Facility Owner

Editorial Note: The information provided above is to be accurately placed in the alphabetical listing contained in Section 2.

- Section 8:  Planned Outages and Maintenance Outages of Transmission and Resource Facilities

### 8.3.8	Information for Inclusion in Transmission Facility Outage Requests

Transmission Facility Outage requests submitted by TSPs shall include the following Transmission Facility-specific information:

- The identification of the Transmission Facility, including TFO, TSP and location;

#### 8.8.2.1	TSP Information to be provided to ERCOT

The TSP shall notify ERCOT at least thirty (30) days before starting to energize or place into service any new or relocated Facility.  The Notice shall include:

(1)	TFO

(2)	TSP performing work;

(3)	Identification of new, existing, or the removal of Transmission Facilities involved;

(4)	Outages required (clearly identify each Outage if multiple Outages are required), including sequence of Outage and estimate of Outage duration;

(5)	General statement of work being performed with intermediate progress dates and events identified;

(6)	Supervisory Control and Data Acquisition modification work;

(7)	Drawings, including:

  - Existing status;

  - For each intermediate stage; and

  - Proposed final configuration of Facilities identified in #3 above.

#### 8.8.2.4	Approval of Work Requiring Coordination

ERCOT shall maintain a record of all work approved in accordance with Section 8.8, Coordination for System Topology Modifications, and shall publish information on the MIS regarding each Transmission Facility installed or to be installed on the ERCOT Transmission Grid.

- Section 12:  Market Information System

#### 12.4.4.1	ERCOT Power Operations

##### 12.4.4.1.1  QSE, Resource, TFO, and TSP Responsibilities

QSEs, Resources, TFOs, and TSPs are required to provide power operation data to ERCOT including, but not limited to:

- Real Time generation data from QSEs;

- Planned Outage information from Resources;

- Network data used by any TSP’s control center, including:

  - Breaker and line switch status of all ERCOT Transmission Grid devices;

  - Line flow MW and MVAR;

  - Breaker, switches connected to all Resources;

  - Transmission Facility Voltages; and

  - Transformer MW, MVAR and TAP.

- Real Time generation and Load acting as a Resource meter data from QSEs;

- Real Time Generation meter splitting signal from QSEs;

- Planned Transmission Outage information from TSP;

- Network transmission data (model and constraints) from TFO or TFO-designated TSP;

- Resource Plans from QSE; and

- Dynamic Schedules from QSEs;

Real Time data will be provided to ERCOT at the same scan rate as the TSP or QSE obtains the data from telemetry.  TFO and TFO-designated TSP must notify ERCOT upon responsibility designation regarding power operation data.  Notification shall include list of network model data affected by designation.

##### 12.4.4.1.2	ERCOT Responsibilities

ERCOT is required to provide the following power operation data to TSPs, in accordance with confidentiality as defined in Section 1.3, Confidentiality of these Protocols:

      - Relevant information for the purpose of providing reliability as determined by ERCOT, including but not limited to:

        - Status of any breakers and switches in ERCOT's Real Time data base;

        - State estimator solutions;

        - Transmission line flows and voltages;

        - Transformer information;

        - QSE Resource data;

        - Voltage schedules at major transmission busses;

ERCOT will give notice to the Entities supplying the above list of data to ERCOT upon the initial provision of such data to the TSP.

#### 12.4.4.2	ERCOT Market Operations

##### 12.4.4.2.2	TSP Responsibility

TSPs are required to provide market operation data to ERCOT including but not limited to:

- Retail consumption data;

- Transmission Outage requests;

- Any system limitations information including line limits;

- New Transmission  construction information;

- New or updated Premise level (ESI ID) information;

##### 12.4.4.2.3	ERCOT Responsibility

ERCOT shall post both secure QSE specific market operation data and public information as follows:

###### 12.4.4.2.3.1	Secure ERCOT Posting

ERCOT is required to securely provide QSE specific market operation data to each QSE, including but not limited to:

- QSE AS Obligation and requirements;

- AS award messages;

- LSE Load Ratio Share by Congestion Zone;

- Instructed Ancillary Services deployment;

- Resource, including Load acting as a Resource, meter data from ERCOT Metered Entities;

- Aggregated Retail Load Data received by ERCOT from TSP;

- Settlement data for billing determinants;

- Settlement Statements;