| PRR Number | 533PRR | PRR Title | Definition of Transmission Facility Owner |
| --- | --- | --- | --- |
| Date |  | August 18, 2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | Manny Munoz |  |
| E-mail Address |  | Manuel.munoz@centerpointenergy.com |  |
| Company |  | CenterPoint Energy |  |
| Company Address |  | 1111 Louisiana, Houston, TX., 77002 |  |
| Phone Number |  | 713-207-5398 |  |
| Fax Number |  | 713-207-9270 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

CenterPoint Energy supports the need for this PRR.  The subject Protocols currently require that TSPs provide all transmission information required by ERCOT.  In particular, the TSPs are responsible for providing SCADA telemetry.  There are instances in which the customer, instead of the TSP, owns the transmission substation.  In such cases, TSPs do not have the authority to install SCADA equipment in the customer owned substations nor do the TSPs have authority to implement certain other requirements contained in the ERCOT Protocols.

CenterPoint Energy believes that the TSP should continue to be the Entity that submits outage information to ERCOT, but the Protocols should be amended to require the Transmission Facility Owner (TFO), whether it is a TSP or privately owned facility, to provide the necessary information to the TSP in order for the TSP to comply with the Protocols.

In an attempt to better communicate this objective into the proposed language, CenterPoint Energy offers the following redline comments to the original PRR as submitted by LCRA

Revised Proposed Protocol Language

- Section 2:  Definitions and Acronyms

## 2.1	Definitions

Transmission Facility Owner (TFO)

An Entity that owns Transmission Facilities.

Transmission Service Provider

An Entity under the jurisdiction of the PUCT that owns or operates Transmission Facilities used for the transmission of electricity and provides Transmission Service in the ERCOT Transmission Grid.

## 2.2	Acronyms

TFO	Transmission Facility Owner

Editorial Note: The information provided above is to be accurately placed in the alphabetical listing contained in Section 2.

- Section 8:  Planned Outages and Maintenance Outages of Transmission and Resource Facilities

### 8.3.8	Information for Inclusion in Transmission Facility Outage Requests

Transmission Facility Outage requests submitted by TSPs shall include the following Transmission Facility-specific information:

- The identification of the Transmission Facility, including the identity of the TFO, TSP, and location;

#### 8.8.2.1	TFO Responsibilities

TFOs shall coordinate with and provide information to TSPs in a timely manner in order to allow the TSP to comply with the requirements of Section 8, Planned Outages and Maintenance Outages of Transmission and Resource Facilities, and Section 12, Market Information System.

8.8.2.2	Information to be provided to ERCOT by TSPs

TSPs shall notify ERCOT at least thirty (30) days prior to energizing or placing into service any new or relocated Transmission Facility.  The Notice shall include:

(1)	The TFO involved;

(2)	TSP performing the work;

(3)	Identification of the new, existing, or removal of the Transmission Facilities involved;

(4)	Outages required (clearly identify each Outage if multiple Outages are required), including sequence of Outage and estimate of Outage duration;

(5)	General statement of work being performed with intermediate progress dates and events identified;

(6)	Supervisory Control and Data Acquisition modification work; and,

(7)	Drawings, including:

  - Existing status;

  - For each intermediate stage; and,

  - Proposed final configuration of the Transmission Facilities.

#### 8.8.2.5	Approval of Work Requiring Coordination

ERCOT shall maintain a record of all work approved in accordance with Section 8.8, Coordination for System Topology Modifications, and shall publish information on the MIS regarding each Transmission Facility installed or to be installed on the ERCOT Transmission Grid.

- Section 12:  Market Information System

#### 12.4.4.1	ERCOT Power Operations

##### 12.4.4.1.1  QSE, Resource, and TSP Responsibilities

QSEs, Resources, and TSPs are required to provide power operation data to ERCOT including, but not limited to:

- (1)	Real Time generation data from QSEs;

- (2)	Planned Outage information from Resources;

- (3)	Network data used by TSP control centers, including:

- (a)	Breaker and line switch status of all ERCOT Transmission Grid devices;

- (b)	Line flow MW and MVAR;

- (c)	Breaker, switches connected to all Resources;

- (d)	Transmission Facility Voltages; and

- (e)	Transformer MW, MVAR and tap position.

- (4)	Real Time generation and Load acting as a Resource meter data from QSEs;

- (5)	Real Time Generation meter splitting signal from QSEs;

- (6)	Planned Transmission Outage information from TSPs

- (7)	Network transmission data (model and constraints) from TSPs;

- (8)	Resource Plans from QSE; and,

- (9)	Dynamic Schedules from QSEs;

Real Time data shall be provided to ERCOT at the same scan rate as the TSP or QSE obtains the data from telemetry.  TSPs shall notify ERCOT of the entity responsible to obtaining the power operation data.  Notification shall include list of network model data affected by such designation.

##### 12.4.4.1.2	ERCOT Responsibilities

ERCOT shall provide the following power operation data to TSPs, in accordance with confidentiality as defined in Section 1.3, Confidentiality of these Protocols:

      - Relevant information for the purpose of providing reliability as determined by ERCOT, including but not limited to:

        - Status of any breakers and switches in ERCOT's Real Time data base;

        - State estimator solutions;

        - Transmission line flows and voltages;

        - Transformer information;

        - QSE Resource data;

        - Voltage schedules at major transmission busses;

ERCOT shall provide Notice to the Entities supplying the above list of data to ERCOT upon the initial provision of such data to the TSP.

#### 12.4.4.2	ERCOT Market Operations

##### 12.4.4.2.2	TSP Responsibilities

TSPs are required to provide market operation data to ERCOT including but not limited to:

- Retail consumption data;

- Transmission Outage requests;

- Any system limitations information including transmission element ratings;

- New Transmission Facility  construction information;

- New or updated Premise level (ESI ID) information;

##### 12.4.4.2.3	ERCOT Responsibilities

ERCOT shall post both secure QSE specific market operation data and public information as follows:

###### 12.4.4.2.3.1	Secure ERCOT Posting

ERCOT is required to securely provide QSE specific market operation data to each QSE, including but not limited to:

- QSE AS Obligation and requirements;

- AS award messages;

- LSE Load Ratio Share by Congestion Zone;

- Instructed Ancillary Services deployment;

- Resource, including Load acting as a Resource, meter data from ERCOT Metered Entities;

- Aggregated Retail Load Data received by ERCOT from TDSPs;

- Settlement data for billing determinants; and,

(8)	Settlement Statements;