| PRR Number | 531PRR | PRR Title | Load Clarification |
| --- | --- | --- | --- |
| Date |  | August 19, 2004 |  |
| Submitter’s Information |  |  |  |
| Name |  | Henry Durrwachter |  |
| E-mail Address |  | hdurrwachter@txu.com |  |
| Company |  | TXU Energy |  |
| Company Address |  | 1717 Main Street |  |
| Phone Number |  | (214) 875-9285 |  |
| Fax Number |  | (214) 875-9074 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | None | None | Provides clarification regarding the treatment/status of loads associated with Block Load Transfer Points |
| MARKET SEGMENT |  |  |  |
| Consumer | None | None | Same |
| LSE: General, Including NOIE | None | None | Same |
| LSE: CR & REP | None | None | Same |
| QSE | None | None | Same |
| Resource | None | None | Same |
| TDSP | None | None | Same |

Comments

TXU Energy does not oppose clarification of Block Load Transfers as proposed in this PRR provided that proper metering is established and maintained.  If a certain Block Load Transfer warrants treatment as a NOIE (e.g., for the purposes of UFE allocation and transmission losses), then it should provide the same quality of metering as a NOIE, i.e., IDR-type metering at either distribution or transmission voltage levels as appropriate.

TXU Energy does oppose any change to the definition of Load Serving Entity as reflected in this PRR.  Changing the definition of the term Load Serving Entity could have significant impacts in other areas of the Protocols, e.g., Settlement.

TXU Energy proposes to keep the original language defining a Load Serving Entity in Sections 2.1 – Definitions and 16.3 – Registration of Load Serving Entities.

Revised Proposed Protocol Language

2.1 Definitions

Load Serving Entity

An Entity that provides electric service to Customers and Wholesale Customers.   Load Serving Entities include Retail Electric Providers, Competitive Retailers, and Non Opt-In Entities that serve Load.

## 16.3 	Registration of Load Serving Entities

Load Serving Entities (LSEs) provide electric service to Customers and Wholesale Customers.  LSEs include Retail Electric Providers, Competitive Retailers, and Non Opt-In Entities that serve Load.  All LSEs operating in ERCOT, and/or in Non-ERCOT portions of the state of Texas in areas where Customer Choice is in effect must register with ERCOT.  To become registered as a LSEs, an Entity must execute a Load Serving Entity (LSE) Agreement and demonstrate to ERCOT’s reasonable satisfaction that it is capable of performing the functions of a Load Serving Entity as described in applicable Sections of these Protocols.   Additionally, a REP must demonstrate certification by the PUCT Requirements for Competitive Retailer registration.