| PRR Number | 409PRR | PRR Title | Voltage Support Service from Generating Resources |
| --- | --- | --- | --- |
| Date |  | 7/30/04 |  |
| Submitter’s Information |  |  |  |
| Name |  | Dennis Kunkel |  |
| E-mail Address |  | dkkunkel@aep.com |  |
| Company |  | AEP |  |
| Company Address |  | 5502 Corporate Drive, Corpus Christi, Texas 78405 |  |
| Phone Number |  | 361 289 4003 |  |
| Fax Number |  | 361 289 4030 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Prevents gaming units | some | More equitable |
| MARKET SEGMENT | Prevents gaming units | none | Ensures that units cannot game the system against one another |
| Consumer | none | none | Possibly saves money |
| LSE: General, Including NOIE | none | none | none |
| LSE: CR & REP | none | none | none |
| QSE | Prevents gaming units | none | none |
| Resource | Prevents gaming units | none | none |
| TDSP | Reduces conflict with units | None | Helps clarify language and unit obligations |

Comments

1)	The proposed language for Voltage Support Service needs to include language that nets generation off the same bus so that unbalanced reactive output from one unit does not create a payment.

2)	The proposed language for Voltage Support Service needs to be changed so that it takes self serve load requirements into account before making payments (cannot just look at the highside of the transformer in all cases)

3)	The proposed language should indicate that payment will not be made if other units under the QSE have not been in compliance for reactive or voltage requirements.  The need for payment to one unit could be needed because another unit on another bus is not meeting its obligation.

4)	Suggest changing "Unit Reactive Limit" to "Unit Reactive Obligation" and "URL" to "URO”.

Revised Proposed Protocol Language