| PRR Number |  | PRR Title | Mandatory IDR Threshold reduction |
| --- | --- | --- | --- |
| Protocol Section(s) Requiring Revision (include Section No. and Title) |  | 18.6.1 Interval Data Recorder (IDR) Installation and Use in Settlement 18.6.6 Peak Demand Determination for Non-IDR Premises |  |
| Requested Resolution (Normal or Urgent) |  | Normal |  |
| Revision Description |  | Lower the mandatory threshold for IDR mandatory installation to 700 kW (or kVA) and be complete by January 30, 2006. |  |
| Reason for Revision |  | The proposed revisions to make step changes in the mandatory threshold for IDR installation will allow a streamlined approach to reducing the threshold. This approach should provide an appropriate timeline for TDSPs or customers to begin installing IDRs without significantly impacting the supply of IDR meters. Further, the timeline will allow appropriate time to prepare customers in the market for the change. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |
| Timeline |  |  |  |
| Date Posted |  |  |  |
| Please see the Master List on the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | Ernie Podraza on Behalf of the PWG |
| E-mail Address | epodraza@reliant.com |
| Company | Reliant Energy |
| Company Address | 1000 Main, Houston Tx 77002 |
| Phone Number | 713-497-5295 |
| Fax Number | 713-497-1177 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Unknown cost to increasing capacity to receive and settle the market with increased volumes of IDR data | Increased flow of settlement interval data from ESIIDs | none |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  | Need to Increase data communications to handle flow of increased settlement interval data |  |
| LSE: CR & REP |  | Need to Increase data communications to handle flow of increased settlement interval data |  |
| QSE |  |  | Possibly more accurate settlement |
| Resource | none | none | none |
| TDSP |  | Increased: expense for additional IDR meters, data transport requirements and interval data validation processes |  |

Proposed Protocol Language Revision

### 18.6.1 Interval Data Recorder (IDR) Installation and Use in Settlement

- IDRs shall be installed and utilized for settlement of Premises having either:

  - A peak demand greater than 1000 kW (or 1000 kVA), or

  - Effective October 1, 2005 the mandatory installation threshold shall be a peak demand greater than 700 kW (or 700 kVA) and all meter changes shall be completed by the later of April 30, 2006 or within 120 days of the CR being notified that the mandatory installation threshold has been met, or

  - Service provided at transmission voltage (above 60 kV).

### 18.6.6 Peak Demand Determination for Non-IDR Premises

For the purpose of determining the peak demand level for the IDR Requirement in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement, the demand will be determined in accordance with PUCT rulemaking or through a consensus process with ERCOT and Market Participants.  In the absence of a clear definition of peak demand in the “price to beat” rulemaking, the following application shall be used in determining the peak demand level for IDR Requirement in Section 18.6.1, Interval Data Recorder (IDR) Installation and Use in Settlement:

A Premise (ESI ID) has a peak demand greater than the applicable level in Section 18.6.1 above when measured in any two (2) billing months of the most recent twelve (12) month period.  Competitive Retailers may dispute an IDR assignment through the ERCOT settlement dispute process, described in Section 9.5 Settlement and Billing Dispute Process.

ERCOT shall be responsible for receiving and storing demand information necessary for determining mandatory IDR installations.