## Slide 1
PWG Update Report
By
Ernie Podraza
of Reliant Energy
ERCOT PWG Chair
for
RMS Meeting
August 12, 2004

## Slide 2
1. Per Protocols Section 18.6.5 Future Requirements for IDRs
ERCOT and the appropriate ERCOT TAC subcommittee shall evaluate the impact of the IDR Requirement as defined in this Section for possible revision prior to the introduction of competitive metering services to the market on January 1, 2004.
2. ERCOT staff issued the first release of the analysis on 12/31/03.
3. At both PWG meetings in January 2004, the group supported ERCOT to continue with suggested recommendations for further analysis.
4. In mid May ERCOT Staff completed recommendations 1 and 2 in the report.
5. ERCOT Staff recommends lowering the mandatory installation to at least 700 kW.
PRR Draft - IDR Mandatory Threshold

## Slide 3
  IDR Purchase/Installation $1000
  Annual Reading Cost $72
  Amortization Period 15 years
  Interest Rate 5.0%
  Annualized Cost $168
ERCOT IDR Cost Assumptions
Notes: <number>
<footer>
<header>
<date/time>
Assumptions made for cost comparison purposes
From a competitive metering services provider not TDSP tariffs

## Slide 4
Cross Customer Definition
Cross Customer Error represents the value of Profiling Error at the premise level, a measure of the total amount of settlement cost being incorrectly allocated to premises within the group. Cross Customer is found by:
where CCE = Cross Customer Error ($) for an ESIID,
AdjPEi = Profiling Error for a 15-minute interval adjusted for UFE
MCPEi = Market Clearing Price of Energy for a 15-minute interval.

## Slide 6
Cross Customer Error by Demand Level

## Slide 7
Cumulative Cross Customer Error

## Slide 8
TDSP Tariff Impact with Added IDRs

## Slide 9
PRR Draft - IDR Mandatory Threshold
PWG majority supports one step phase-in to 700 kW ending April 2006.
AEP supports two step phase-in to 700 kW ending April 2007.
CNP supports three step phase-in to 700 kW ending April 2008.

## Slide 10
PRR Draft - IDR Mandatory Threshold
Effective October 1, 2005 the mandatory installation threshold shall be a peak demand greater than 700 kW (or 700 kVA) and all meter changes shall be completed by the later of April 30, 2006 or within 120 days of the CR being notified that the mandatory installation threshold has been met,

## Slide 11
PRR Draft - IDR Mandatory Threshold
VOTING ITEM
Motion to approve the PRR Draft made by the PWG
as submitted to the RMS exploder on 7/28/04 in file named,
“PRR_Mandatory IDR Threshold reduction_PWG.doc”.