# SPWG Report to ROS

#### September 14th, 2004

SPWG member companies are reviewing zone 3 relay settings (i.e. longest reaching phase distance element that will cause tripping in either direction) on lines rated 345 kV and above to determine compliance with NERC recommendation 8a. Review must be completed by September 30, 2004.

345kV System Disturbance database for period October 1, 2003, through September 30, 2004, is due to ERCOT by October 30, 2004.

Disturbance Monitor Location database is due to ERCOT by October 30, 2004.

SPWG members have agreed that the present work environment better supports compilation of future year short circuit databases starting in April rather than late summer. SPWG Procedures will be modified to reflect the revised schedule, reviewed by SPWG members and should be ready for ROS consideration at the October ROS meeting.

Disturbance monitoring equipment location criteria presently applies to equipment operated at 60 kV or above. This is a change from wording previously approved by the SPWG specifying 100 kV and above. SPWG members agreed reference to 60 kV should be revised to 100 kV. An OGRR will be prepared.

The next SPWG meeting is scheduled for November 18th and 19th, 2004, in Houston.

Jack Dahnke

SPWG Chair