# Operations Working Group report to ROS September 14, 2004

The OWG last met on August 18, 2004 and reviewed the progress of the 2005 Annual Operations Seminar.  The practice session is scheduled for March 7-10 with a weekly session beginning March 28 for 5 weeks. The target audience for the seminar will continue to be TDSP and QSE Operators.  Continuing Education Courses will be provided with hours that can be applied to NERC Certification. The Seminar Task Force recommended that the seminar be extended 8 hours to help satisfy some of the 40 hours of mandatory training NERC requires for TOs. The Seminar Task Force is in the process of developing training topics and selecting qualified presenters.

The OWG reviewed a presentation available on the ERCOT web site that provides the criteria for the selection of black start units as well as the Resources selected for 2005.

The approved OWG minutes are posted on the ERCOT website.

OGRR effective September 1, 2004:

- OGRR147 – System Fuel Availability – consistent with approved PRR 499, which would eliminate the fuel shortage communication to the market except for Emergency Notice.

OGRR approved by TAC, effective upon ERCOT system changes:

- OGRR 149 – Types of Responsive Reserve – Allows Combined Cycle Units operating a CT or GT coupled to a Steam Turbine to be considered as one unit by ERCOT, by aggregating the CT or GT and Steam Turbine net maximum capability to calculate the 20% compliance capability to provide Responsive Reserve.

OGRRs Recommended for ROS approval:

OGRR150 – UF Relay Trip time for Load Shedding - regarding the combination of relay and breaker trip times (37 cycles). Includes comments from SPWG, DSWG, DWG, and other market participants.

OGRR151 – Operator Emergency Training Requirement – incorporates the NERC mandated 40 hours of ERCOT and TO training per year. This OGRR is presented in two options:  Option 1 contains the original ROS approved language to add the NERC training requirements for TOs and ERCOT Control Area Operators. Option 2 incorporates ERCOT and OWG comments to add QSE Operators to the 40 hours training requirement.

OGRR152 – Vegetation Management and Outage Reporting – Adds mandatory NERC requirements on vegetation management planning and reporting transmission outages caused by vegetation. No comments received.

The next OWG meeting is scheduled for September 22, 2004.

- The Operating Guide Revision Task Force met last on August 17, 2004.

Recently Posted OGRRs in Comment Period:

OGRR 153 – Reactive Capability Testing - Revision of Operating Guide Section 3.1.4.3 and the testing form in Section 6.2.3 to conform to ERCOT Generator Reactive Testing Procedures in PRR 409.

OGRR 154 – Generator Protection Requirements - Describes the operating conditions under which generators should stay connected. Complies with NERC Planning Std IIICM7.

OGRR 153 – Section 3 Corrections and Clarifications - Implements Protocol and Operating Guides Reference Corrections, Section title corrections, punctuation corrections, corrections to pre-deregulation language, and defined term corrections.  Removes redundant and unnecessary language.

##### OGRTF Action Items

- Review OG Section 2.9 for consistency with OGRR 150.

- SPWG & DWG recommended changes to Operating Guide Sections 1, 2, and 7

- Review voltage control dispatch instruction language in the OG and compare consistency with PRR 409 and OGRR 153.

Next OGRTF meeting is scheduled for September 21, 2004.

- The Black Start Task Force met on July 16, 2004.  The 2005 Black Start selection process is on schedule. Resource testing is scheduled to start in September and be completed in October. ERCOT and the TF are working on back up voice communication procedures including use of satellite phones. A satellite phone system was demonstrated at the meeting. The concept is to provide back-up communications between ERCOT and the TOs. ERCOT is in the process of hiring a contractor for the Regional Black Start Training. ERCOT has sent out a request to the TF asking for any additional sync points that should be included in the 2005 Black Start Plan.

- The Operations Task Force met September 8, 2004.  To better prepare operators for emergency situations, the TF has recommended that two ERCOT directed drills (Winter and Summer Preparedness) be conducted each year. QSE and TO operators can participate on a volunteer basis. These drills would count toward the NERC mandatory training requirement.  The TF will continue to work with ERCOT to develop drill scenarios and scripts.