| PRR Number | 525PRR | PRR Title | SCE Performance and Monitoring |
| --- | --- | --- | --- |
| Date |  | 07/15/04 |  |
| Submitter’s Information |  |  |  |
| Name |  | Leonard Stanfield |  |
| E-mail Address |  | Leonard.Stanfield@AustinEnergy.com |  |
| Company |  | Austin Energy |  |
| Company Address |  | 721 Barton Springs Road, Austin TX 78704 |  |
| Phone Number |  | 512-322-6319 |  |
| Fax Number |  | 512-322-6168 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT |  |  |  |
| MARKET SEGMENT |  |  |  |
| Consumer |  |  |  |
| LSE: General, Including NOIE |  |  |  |
| LSE: CR & REP |  |  |  |
| QSE |  |  |  |
| Resource |  |  |  |
| TDSP |  |  |  |

Comments

Austin Energy believes this proposed PRR as written is not warranted.

Regarding improving frequency control and reliability, Protocol section 6.10.5.2 already addresses QSEs providing only Balancing Energy Services.

As all QSEs scheduling generation are required to offer down Balancing Energy Service bids, the Balancing Energy Performance Monitoring or stricter criteria cover all QSEs that schedule generation.

In the last few months, Austin Energy has seen improved frequency control as ERCOT has enforced Protocol section 6.10.5.3 Regulation Services Monitoring Criteria.

ERCOT should likewise enforce existing Protocol section 6.10.5.2 Balancing Energy Performance Monitoring Criteria to realize improvements in frequency control and reliability.