| PRR Number | 525 | PRR Title | SCE Performance and Monitoring |
| --- | --- | --- | --- |
| Impact Analysis Date |  | July 16, 2004 |  |
| Credit Impacts |  | YES _______ NO ___X___ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | 5-L ($100,000 - $500,000) |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | This PRR would require ERCOT to complete three projects: (1) approximately 3 months for ERCOT Compliance to develop report requirements through the stakeholder process - report automation cannot occur until approximately Q2 ’05, after Enterprise Data Warehouse deployment; (2) and (3) EMMS modifications may be Release 5 candidates (estimated completion May 2005). |  |
| ERCOT Staffing Impacts (across all areas) |  | This PRR will add a business function that will require 0.5 FTE incremental staffing impact to the ERCOT Compliance team, not identified in the ’04 budget. |  |
| ERCOT Computer System Impacts |  | This PRR would impact ERCOT systems in three ways by requiring: - the development of an automated Compliance report; - modification of EMMS to send QSEs a signal for the modified participation factor L10 and archive data as appropriate; and - modification of EMMS to change operator displays of Real Time Ancillary Services performance. |  |
| ERCOT Business Function Impacts |  | This PRR will add a business function to the Compliance team’s responsibilities to work through the stakeholder process to inform participants of requirements and perform routine evaluations and occasional follow-ups to address issues of non-compliance. |  |
| Grid Operations & Practices Impacts |  | No impact to Control Room Operations |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

Evaluation of Interim Solutions (e.g., manual workarounds)

A manual compliance report could be prepared by the Compliance team that contains SCE performance data, until automation through the extraction process is completed (estimated Q2 ’05).

Comments