| PRR Number | 525 | PRR Title | SCE Performance and Monitoring |
| --- | --- | --- | --- |
| Date |  | 9/20/04 |  |
| Submitter’s Information |  |  |  |
| Name |  | Leonard Stanfield |  |
| E-mail Address |  | Leonard.Stanfield@AustinEnergy.com |  |
| Company |  | Austin Energy |  |
| Company Address |  | 721 Barton Springs Road, Austin TX 78704 |  |
| Phone Number |  | 512-322-6319 |  |
| Fax Number |  | 512-322-6168 |  |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive PRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the PRR.

|  | Impact |  | Benefit |
| --- | --- | --- | --- |
|  | Business | Computer Systems |  |
| ERCOT | Additional .5 FTE in compliance to inform MP’s of requirements and perform evaluations and dispute | Additional archival and calculation required, which may involve EMMS modification. | Improved frequency control and resulting decreased risk to Interconnection reliability. Less depletion of regulation service, less deployment of responsive reserves, possibly leading to reduced costs uplifted to loads. Less system operator effort required to maintain system frequency. |
| MARKET SEGMENT | Not Known | Not Known | Not Known |
| Consumer | Not Known | Not Known | More focused use of regulation and Responsive AS; improved frequency control; less exposure to reliability risk due to frequency excursions |
| LSE: General, Including NOIE | Not Known | Not Known | Not Known |
| LSE: CR & REP | Not Known | Not Known | Not Known |
| QSE | Costs to comply will impact QSEs, particularly those who do not provide regulation today – trades with other QSEs to obtain support, training of personnel, review of data, etc | Some QSEs will need to improve their computer and control equipment in order to meet a measurable performance standard | More focused use of regulation and Responsive AS; expect improved frequency control |
| Resource | Costs to comply will impact resources who are part of QSEs, particularly those who do not provide regulation today –training of personnel, development of internal performance tracking, review of data, etc | Resources in some QSEs will need to improve their computer and control equipment in order to assist their QSE efforts to meet a measurable performance standard | Expected improvements in frequency control should benefit all units by exposing them to fewer “routine” frequency excursions. |
| TDSP | Not Known | Not Known | Less unmodeled power flows will result if generators adhere to schedules more closely |

Comments

Austin Energy’s comments are shown as additions to ERCOT’s comments.

Austin Energy believes SCE performance is related to the quantity of generation change rather than generation quantity alone; and recommends that if PRR525 is approved, Participation Factor should be defined as noted.

Revised Proposed Protocol Language

### 6.10.5	QSE Real Power Performance Criteria

#### 6.10.5.1	Base Power Schedule Monitoring Criteria

QSEs shall make their Resources operate to the final Resource bilateral schedules as converted to a base power function according to the method specified in Section 6.10.4.2, Base Power Schedule Calculation.  Measurement of performance shall be accomplished using the SCE-based Monitoring Criteria described in Section 6.10.5.3.

#### 6.10.5.2	Balancing Energy Performance Monitoring Criteria

QSEs providing only Balancing Energy Services shall declare this intent to ERCOT in the Scheduling Process.  On deployment of Balancing Energy Services, the QSE shall control its Resources to operate to the final Resource bilateral schedules as converted to a base power function plus the equivalent power requirement of the Balancing Energy Services Dispatch Instruction.  ERCOT calculation of SCE for each two (2) seconds and integrated over the Settlement Interval will indicate the average performance of the QSE to supply Balancing Energy Services.  Measurement of performance shall be accomplished using the SCE-based Monitoring Criteria described in Section 6.10.5.3.

#### 6.10.5.3	SCE Monitoring Criteria

SCE Monitoring Criteria will be reviewed by the appropriate ERCOT TAC subcommittee and submitted into these Protocols upon approval.

Each QSE shall control its Resources to operate to the final Resource bilateral schedules as converted to a base power function plus the equivalent power requirement of.any instructed Ancillary Services and other SCE obligation terms including governor response.  ERCOT shall calculate one (1) and ten (10) minute averages of each QSE’s SCE.  ERCOT shall also calculate each QSE’s participation factor as the ratio of the QSE’s generation scheduled change in the measurement period (1 or 10 minute) to the total ERCOT generation scheduled change in the same measurement period.  For performance monitoring purposes, ERCOT shall limit the deployment of RGS Service to QSEs for each control cycle equal to one hundred twenty five percent (125%) of the total amount of RGS Service in ERCOT divided by the number of control cycles in ten (10) minutes. Intervals where a QSE’s generation is less than one (1) MW in the measurement period (1 or 10 minute) will not be included in the calculation of the SCE Monitoring Criteria. Satisfactory control performance of the QSE shall be deemed acceptable when:

- The one (1) minute averages of the QSE’s SCE meet the following criteria over the calendar month, and

- The ten (10) minute averages of the QSE’s SCE meet the following criteria for ninety percent (90%) of the ten (10) minute periods over the calendar month.

Where:

SCE1 is the one minute average of SCE.

SCE10 is the ten minute average of SCE.

Bias1 is the one minute average of the ERCOT total bias used in the ACE calculation.

F1 is the one minute average of frequency deviation from schedule.

Participation Factor is determined by the ratio of the QSE’s generation scheduled change for the measurement period (1 or 10 minute) to total ERCOT generation schedule change for the measurement period (1 or 10 minute).  Generation schedule change per interval is defined as below:

{Absolute Value

[     (ResourceSchedule – ResourceSchedulePreviousInterval)

+ (BalancingDeployment – BalancingDeploymentPreviousInterval)  ]

+ RegulationUpSchedule

+ RegulationDownSchedule}

 is a constant derived from the targeted frequency bound.  It is the targeted root-mean score of one (1) minute average frequency error from a schedule based on frequency performance over a given year as established according to NERC Performance Requirements by ERCOT and the appropriate ERCOT Subcommittee as assigned by TAC.

L10 is a limit to recognize the desired performance of frequency for ERCOT as established according to NERC Performance Requirements by the appropriate ERCOT Subcommittee assigned by TAC.  As of July 2003, L10 is defined as (1.65 * E10 * Bias10) where E10 is 0.01315 Hz and Bias10 is the ten (10) minute average of the ERCOT total bias used in the ACE calculation.

K is a constant currently set to .81 which is established by the appropriate ERCOT Subcommittee as assigned by TAC.

#### 6.10.5.6	Combinations of Reliability Services Monitoring Criteria

QSEs providing any combination of services shall control their Resources to the additive result of any number of Dispatch Instructions deployed simultaneously.  On deployment of any Balancing Energy, Regulation, Responsive Reserve, and Non-Spinning Reserve Service, the QSE shall control its Resources to operate to the final Resource bilateral schedules as converted to a base power function plus the additive power requirement of each effective Dispatch Instruction.  Satisfactory control performance of the QSE providing any combination of services will be determined by SCE Monitoring Criteria as described in Section 6.10.5.3.one of the following:

(1)	The criteria for SCE Monitoring if  only Base Power Schedules are being followed or  Regulation or Balancing Services are deployed in addition to Base Power Schedules;

(2)	The criteria for Responsive Reserve if Responsive Reserve Service is one of the services provided; or

(3)	The criteria for Non-Spinning Reserve Service if Non-Spinning is one of the services and Responsive Reserve are not.

### 6.10.6	Ancillary Service Deployment Performance Conditions

ERCOT shall determine the performance of providers of QSE SCE Performance under normal operating conditions.  ERCOT shall remove from consideration of average performance of a QSE any period during which any of the following events has occurred and which does not have a passing score.

- The twenty (20) minute period where the QSE has experienced a Forced Outage causing an ERCOT frequency deviation of greater than 0.02 Hz;

- The entire Settlement Intervals for all QSEs in which ERCOT has deployed or recalled Balancing Energy in response to an Unusual Event;

- The entire Settlement Intervals in which ERCOT has deployed OOME as an uninstructed deviation or issued a VDI to the QSE;

- The period where ERCOT issues instructions to any QSE to be deployed at ramp rates in excess of bid ramp rates such as the ten (10) minute time period where a QSE is ramping up due to a Responsive Reserve deployment;

- The entire Settlement Interval(s) in which a QSE is ramping into (from time of notification to time of deployment) or out of (from end of deployment to thirty (30) minutes later) a Non Spin deployment; and

- Certain other periods of abnormal operations as determined by ERCOT.

PIP112: Add item #7 below to the list when BUL is implemented:

(7)	If requested by a QSE, up to three (3)  scheduling hours following an instruction issued by ERCOT to recall previously deployed Responsive Reserve, Non-Spin or Balancing Energy Up Services provided from Replacement Capacity that is using qualified Load as the QSE’s Resource; and

6.10.11	ERCOT Operations Performance

ERCOT shall continuously self-assess its operations and report to all Market Participants its performance in controlling the ERCOT Control Area according to requirements and criteria established by the Operating Guides and NERC Policy and Standards for operation of Control Areas.  ERCOT shall report all substandard operations to the ERCOT Technical Advisory Committee and to the NERC Compliance and Enforcement Committees.

ERCOT shall publish for all Market Participants the total amount of Regulation Up energy deployed and the total amount of Regulation Down energy deployed in each Settlement Interval.

ERCOT will provide monthly a report analyzing the accuracy of each day’s Load forecast that was issued at 0600 the Day Ahead of the Operating Day.  Similar comparisons shall be made for the 1100 forecast and the forecast in effect at midnight of the start of the Operating Day.  The reports will statistically analyze the expected error in energy and peak forecasting.