| LPGRR Number (Filled out by ERCOT) | LPGRR2004-002 |  | Subject of LPGRR | Sync LPGR to Protocol revisions |  |  | Date | 10/6/2004 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| LPG Section(s) Requiring Revision; 9.2.3.3.1 Non-IDR to IDR (NIDR to IDR); Protocol Section(s) Requiring Revision (if any); Protocols Sections referenced in the LPGRR below have already been revised prior to this submittal. Revision Description; Alter the Load Profiling Guides to conform to changes already approved in the Protocols. ###### Reason for Revision; Earlier this year a revision to Section 18.6 of the protocols was approved by the Board of Directors. The intent of the draft redline LPGRR changes proposed would be to remove duplicative language from the Load Profiling Guides (LPG) so that future changes in the protocols around the IDR threshold would not necessitate parallel changes in the LPG. ###### Additional Comments:. Sponsor Information |
| Name | Ernie Podraza, Chair of PWG |  |  |  |  |  |  |  |
| E-mail Address | EPodraza@reliant.com |  |  |  |  |  |  |  |
| Company | Reliant Energy |  |  |  |  |  |  |  |
| Company Mailing Address |  |  |  |  |  |  |  |  |
| Phone Number |  | (713) 497 5295 |  |  | Fax Number |  |  |  |
| ## Proposed LPG Language Revision Please include original language with exact proposed language. |  |  |  |  |  |  |  |  |

##### 9.2.3.3.1 Non-IDR to IDR (NIDR to IDR)

Protocols Section 18.6.1 specifies the kW or kVA level above which an ESIID must have an IDR installed if in any two (2) billing months in the most recent twelve (12) month period exceeds that kW or kVA magnitude. Also Protocols Section 18.6.1 specifies at what voltage premises are required to have an interval data recorder (IDR) installed and utilized for settlement.  ERCOT shall monitor the peak demand level of demand metered customers and post a monthly report to the Market Information System (MIS), with the appropriate Portal security rules, detailing which ESI IDs are above the mandatory threshold but do not have an IDR meter installed.  The CR serving the ESI ID has thirty (30) days to verify the demand level and request that the TDSP install an IDR.  If the CR does not agree that the IDR criteria have been met, the CR shall refer to Section 14.3, “General Dispute Resolution Guidelines,” to address the issue.

The TDSP has until the second regularly scheduled meter read date after receipt of the CR’s request to install the IDR.  The TDSP shall update the Load Profile ID in the ERCOT systems effective on the meter install date, via the appropriate Texas SET transactions.

## Once an IDR is installed on a premise and used for settlement purposes, the given premise shall continue to be settled with its interval data except for the cases provided in Protocols Section 18.6.1, “Interval Data Recorder (IDR) and Installation and Use in Settlement.”

## .