ROS Summary Report to TAC for October 7, 2004

# OGRRs Recommended for TAC Approval:

- OGRR 150 – UF Relay Trip Time for Load Shedding – Clarification to UF relay trip time for load shedding.

- OGRR 151 – Operator Emergency Training Requirement – Adds new mandatory NERC requirements for Operator Training for the Control Area Authority and Transmission Operators, and includes similar requirements for QSEs.

- OGRR 152 – Vegetation Management and Outage Reporting - Adds new mandatory NERC requirements on vegetation management planning and reporting transmission outages caused by vegetation.

## Status of TAC Assignments to ROS

Reliable Fuel Source Requirement – The Alternative Fuel Ad Hoc Task Force is waiting for results from ERCOT’s third attempt to survey Market Participants regarding current dual fuel capability in ERCOT.

#### Verify Operating Guide Language Supports PRR 409 Voltage Support Service – Section 3.1.4.1 of the Operating Guides gives ERCOT the authority and generation facilities the obligation to maintain voltage as required:

It is the responsibility of all Generators to carry an operational share of reactive support to insure adequate and safe Voltage Profiles are maintained in all areas of ERCOT.  To accomplish this, the following requirements shall apply to each generation facility.

- The generation facility shall be designed and operated consistent with its obligations to supply Voltage Ancillary Service as required in the ERCOT Protocols and ERCOT Control Area Authority Procedures.

- ERCOT has the right and obligation to Dispatch the reactive output (VARS) of each generation facility within its design capability to maintain adequate transmission voltage in ERCOT.

Prior to implementation of PRR 409, currently waiting for system changes, ERCOT is expected to revise its procedures and an OGRR will be drafted to clarify additional operational parameters.