## Slide 1: WMS UPDATE
2005 A/S Methodology
ERCOT staff agreed to defer increasing Ancillary Service Regulation Requirements in its proposal for next year in order to allow the market opportunity to achieve improvement
  PRR 541 – Regulation Deployment Ramp Rate
  PRR 525 – SCE Performance and Monitoring
  PRR 356 – SCE Performance Requirement
  PRR 358 – Negative Impact SCE
ERCOT staff intends to review the success of the alternatives early next year and may make other proposals at that time.

## Slide 2: WMS UPDATE
EMMS Release 3
Instructed deviation and portfolio ramp rate relate in 14 different ways
  Scenarios depend on:
    Previous deployment (UBES or DBES)
    Previous deployment can/cannot be entirely recalled
    ID’s relation to deployment range based on ramp rate
14 scenarios detailed in Market Bulletin # 19

## Slide 3: WMS UPDATE
HUBS
A PRR has been submitted that creates a new section that defines the term “Trading Hub” for the ERCOT market and establishes a list of buses that constitute each Trading Hub in ERCOT based on the following principles:
  Trading Hubs will only consist of actual transmission buses in the ERCOT transmission system.
  Trading Hubs, once created, will never change or be deleted (unless a bus contained in the hub is physically retired from service by the associated TDSP).

## Slide 4: WMS UPDATE
  New Trading Hubs may only be created upon request by a Market Participant and approval by the ERCOT Board using the existing PRR process.
  For the existing zonal market design, the Trading Hub price will correspond to the MCPE of the Congestion Zone to which each transmission bus is assigned.
  Trading Hub prices will be posted by ERCOT.
  If a new transmission bus is created, it will not be included in any existing Trading Hub.
  The initial set of six ERCOT Trading Hubs in this PRR are based on the four 2003 ERCOT Congestion Zones: North, South, Houston, and West and two average ERCOT Trading Hubs.