## Slide 1: Protocol Revision Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
September 9, 2004

## Slide 2: PRS Summary
7 PRRs for Approval
1 PRR for Rejection
System Project Prioritization

## Slide 3: PRR 409 – Voltage Support Service
PRR originated from Generator Reactive Compensation TF
  Existing Protocols recognized this issue would be addressed at a later date
PRR maintains +/- .95 power factor envelope and allows for compensation when ERCOT instructs generators to go outside the envelope
Compensation based on the avoided cost of reactive support devices on the transmission network
  $2.65/MVARhr based on $50/installed KVAR

## Slide 4: PRR 409 – Voltage Support Service
Compensation allowed for:
  Reactive support outside the .95 bandwidth based on the avoided cost of reactive support devices on the transmission network
    $2.65/MVARhr based on $50/installed KVAR
  Reduction in real power
    Paid as OOME Down
VSS settled on a Load Ratio Share basis

## Slide 5: PRR 409 – Voltage Support Service
Impacts to ERCOT budget, staffing, computer systems, business functions and operations; no credit implications
  Frequency of VSS dispatch determines level of impacts
Effective upon system implementation

## Slide 6: PRR 509 – Initiation, Procedure, and Settlement of Disputes through ADR
Rewrite of Section 20 (ADR) by Commercial Operations Working Group (COPs)
Goal was to clarify ADR process and bring more consistency to payments for resolved ADRs

## Slide 7: PRR 509 – Initiation, Procedure, and Settlement of Disputes through ADR
ERCOT is required to participate as a facilitator if any party requests such involvement.
ADR will apply to disputes involving variances that are filed through FasTrak or any other data discrepancy tracking method.
Must file a written request & serve on General Counsel of ERCOT

## Slide 8: PRR 509 – Initiation, Procedure, and Settlement of Disputes through ADR
ADR request must be submitted within 45 days of date dispute is denied or failure to agree.

## Slide 9: PRR 509 – Initiation, Procedure, and Settlement of Disputes through ADR
If ADR is not timely pursued, ERCOT can send a notification. If the MP wants to pursue the ADR, then the MP must submit an affirmative written statement that includes a recommended course of action.

## Slide 10: PRR 509 – Initiation, Procedure, and Settlement of Disputes through ADR
Provides 15 day response time for request for data
Provides for treatment of Protected Information
Provides for methods of delivery
Requires written agreement of resolution
Establishes procedures for adjustments to MP accounts
Establishes procedures for payment

## Slide 11: PRR 509 – Initiation, Procedure, and Settlement of Disputes through ADR
Minor impacts to ERCOT budget, staffing, computer systems and business functions; no impact to operations, no credit implications
Effective October 1, 2004

## Slide 12: PRR 518 – Clarification of Requirements Relating to Retail Transactions
Rewrite of Section 15 addressing retail transactions to clarify deadlines, Market Participant requirements and improve readability
Adds new definitions to Section 2 for Retail Business Day, CR of Record and Safety-Net Move-In
Adds new point-to-point transactions to Section 24

## Slide 13: PRR 518 – Clarification of Requirements Relating to Retail Transactions
No impact on ERCOT budget, staffing, business functions or operations; minimal computer system impact; no credit implications
Effective October 1, 2004

## Slide 14: PRR 522 – Collateral Requirements & Credit Changes
Remanded to PRS from TAC to resolve three issues:
  Creditworthiness test for new entrants
    Resolved by limiting ERCOT to investigate QSE applicant bill payments in other markets only if it believes the applicant is failing to comply
  Affiliate reporting requirements
    Clarified the information required to be provided to ERCOT
  Reconsider additional collateral requirement attributable to payment plans
    No change

## Slide 15: PRR 522 – Collateral Requirements & Credit Changes
No ERCOT impacts
Effective October 1, 2004
Recommendation vote included abstentions from 3 segments

## Slide 16: PRR 528 – Deadline for Filing ADR Claims
Companion PRR to PRR 509 (Section 20 Rewrite)
Amends ADR filing deadline for denied disputes from 30 to 45 days
No impact to ERCOT budget, staffing, computer systems, business functions and operations; no credit implications
Effective October 1, 2004

## Slide 17: PRR 534 – Temporary Modifications to Annual Load Profile ID Assignment and Validation Process
Urgent Status Requested
Inserts language allowing the Board to suspend the annual requirement in the existing Protocols
No impact to ERCOT budget, staffing, computer systems, business functions or operations; no credit implications
Effective upon Board approval

## Slide 18: PRR 537 – Increased Congestion Management Flexibility
Urgent Status Requested
PRR allows ERCOT to issue OOMC instructions where, to solve a constraint, ERCOT would otherwise move a unit with a shift factor equal to or less than 5% or the total of unit-specific deployments exceeds 1K MWs
Budget impact, no impact on staffing, some impact on business functions and operations; no credit implications
Effective October 1, 2004

## Slide 19: PRR 530 – Short Pay Uplift to LSEs
PRS recommends rejection
PRR would require the uplift of short payments to load on a more timely basis

## Slide 20
Recommended TAC Actions
Urgent Status
PRR 534 (Urgent Status & Annual Profile Validation)
PRR 537 (Increased Congestion Management Flexibility)
Approval –
PRR 409 (Voltage Support Service)
PRR 509 (ADR Section Rewrite)
PRR 518 (Retail Transaction Requirements)
PRR 522 (Collateral Requirements/Credit Changes)
PRR 528 (ADR Filing Deadlines)
PRR 534 (Urgent Status & Annual Profile Validation)
PRR 537 (Increased Congestion Management Flexibility)
Affirm Rejection
PRR 530 (Short-Pay Uplift to LSEs)

## Slide 21: System Prioritization
PRRs, SCRs, System, Facility & PUC Improvement Projects
Market
ERCOT
PUC
Prioritization Process
Priority Assignments for ERCOT Budget Process

## Slide 22: Prioritization Process
Market
ERCOT
PUC
Internal Review Process
PRS Assignment of System Priorities
TAC Review & Approval of System Priorities

## Slide 23: Priority Assignments
High
(1.X)
1.1 High
1.2 Medium
1.3 Low
Forced
Rank
Medium
(2.X)
2.1 High
2.2 Medium
2.3 Low
Forced
Rank
Low
(3.X)
3.1 High
3.2 Medium
3.3 Low
Forced
Rank

## Slide 24: The Project Stack
High
(1.X)
PUC
Market
ERCOT
Forced
Rank
Medium
(2.X)
PUC
Market
ERCOT
Forced
Rank
Low
(3.X)
PUC
Market
ERCOT
Forced
Rank

## Slide 25: Priorities For 2005
High
(1.X)
PUC (5)
Market (12)
ERCOT (60)
Forced
Rank
Medium
(2.X)
PUC (0)
Market (6)
ERCOT (42)
Forced
Rank
Low
(3.X)
PUC (0)
Market (15)
ERCOT (25)
Forced
Rank
Projected Cut Line

## Slide 26: System Prioritization
PRS recommends TAC approval of 2005 priorities
PRS will continue to update the list as new PRRs/SCRs are approved