| PRR Number | 409PRR | PRR Title | Voltage Support Service |
| --- | --- | --- | --- |
| Impact Analysis Date |  | September 1, 2004 |  |
| Credit Impacts |  | YES _______ NO __X____ If No, skip the next two boxes. |  |
| Has the Credit Workgroup reviewed the PRR? |  | YES _______ NO ______ |  |
| Outcome of Credit Workgroup review |  |  |  |
| Cost/Budgetary Impact |  | - If the occurrence of dispatching Voltage Support Service is 1/week or less: 4-HL ($500,000 - $1M). - If the occurrence of dispatching Voltage Support Service is 1/day: 3-M ($1M – $3M). - If the occurrence of dispatching Voltage Support Service is 10/day: 3-M ($1M – $3M). |  |
| Estimated Project Time Requirements* *Unless otherwise indicated, project time requirements begin upon project initiation. |  | After BOD approval, the generators must provide reactive curves to ERCOT staff in order for ERCOT staff to establish URL limits for system development and implementation. After staffing requirements are met, ERCOT would need approximately 10 months to establish the URL limits and to complete all system changes, staff training, and new business function documentation. |  |
| ERCOT Staffing Impacts (across all areas) |  | If the occurrence of dispatching Voltage Support Service is 1/week: - ERCOT‘s Control Room Operations would assume the duties of this PRR. - The Settlement and Billing team would have an increased effort of 0.2 FTE to their existing staff. If the occurrence of dispatching Voltage Support Service is 1/day: - ERCOT‘s Control Room Operations would assume the duties of this PRR. - An additional FTE would be needed for the Settlement and Billing team to process the Verbal Dispatch Instructions (VDIs) and perform partially manual settlement for compensation of generator reactive power. If the occurrence of dispatching Voltage Support Service is more than 1/day: - ERCOT‘s Control Room Operations would assume the duties of this PRR if the frequency of VDIs does not exceed two per day. - The settlement process would have to be automated and 0.2 FTE to process the settlement for the VDIs would be needed. If occurrence of dispatching Voltage Support Service is as frequent as 10 requests/day (for adjustment of reactive dispatch as described in section 6.5.7.2 (7)): - A new Reactive Management desk would be needed in Control Room Operations requiring 6 additional FTEs to monitor units approaching URL limits, statuses of other static and dynamic equipment in the defined ‘area’ that affect the units, and issue VDIs when necessary, on a 24X7 basis. - The settlement process would have to be automated and 0.2 FTE to process the settlement for the verbal dispatches would be needed. |  |
| ERCOT Computer System Impacts |  | Regardless of frequency of dispatching Voltage Support Service: - ERCOT needs to build EMMS displays of all units with alarming capability for units ‘out of range’. - Changes need to be made to batch jobs to pass data to Lodestar for settlement purposes. - Development of a new application will be required to aggregate VAR data by generation site for use in calculation of VAR payments in Lodestar. If the occurrence of dispatching Voltage Support Service is 1/week: An Excel tool could be created to perform a manual workaround to process Reactive Power VDIs. If the occurrence of dispatching Voltage Support Service is more than 1/day: The settlement process would have to be automated. If the occurrence of dispatching Voltage Support Service is as frequent as 10 requests/day: Changing the OOM tool to allow for additional fields pertaining to Reactive Power VDIs would have to be done in a future EMMS Release. |  |
| ERCOT Business Function Impacts |  | Regardless of frequency of dispatching Voltage Support Service: Operations Support staff would add a business function to perform annual maintenance of data on Reactive Management displays. If the occurrence of dispatching Voltage Support Service is 1/week: - Settlements staff would add a business function to manually process Reactive Power VDIs for settlement purposes. - Control Room Operations would add a business function to assume the duties of this PRR. If the occurrence of dispatching Voltage Support Service is more than 1/day: The settlement process would have to be automated and 0.2 FTE to process the settlement for the VDIs would be needed. If the occurrence of dispatching Voltage Support Service is as frequent as 10 requests/day: Control Room Operations staff would add a business function to monitor Reactive Power and issue VDIs when necessary by adding a Reactive Management desk. |  |
| Grid Operations & Practices Impacts |  | If the occurrence of dispatching Voltage Support Service is 1/week: ERCOT‘s Control Room Operations would assume the duties of this PRR if the frequency of these VDIs does not exceed two per day. If the occurrence of dispatching Voltage Support Service is as great as 10 requests/day: This would require addition of a new Reactive Management desk to Control Room Operations to monitor units approaching URL limits, statuses of other static and dynamic equipment in the defined ‘area’ that affect the units, and issue VDIs when necessary, on a 24X7 basis. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

Evaluation of Interim Solutions (e.g., manual workarounds)

Comments