| OGRR Number | 154OGRR | OGRR Title | Generator Protection Requirements |
| --- | --- | --- | --- |
| ###### Date |  | 10-19-2004 |  |
| ## Submitter’s Information |  |  |  |
| Name |  | Madan Gaudi |  |
| E-mail Address |  | Madan_Gaudi@FPL.com |  |
| Company |  | FPL Energy |  |
| Company Address |  | 700 Universe Blvd. FEB/JB Juno Beach FL-33418 |  |
| Phone Number |  | (561) 694-4133 |  |
| Fax Number |  | (561)691-7318 |  |

Comments

- These guidelines apply to synchronous generators. I suggest that an exception be made for induction generators.

- We are still reviewing these guidelines and need some more time. We should be able to submit our comments before the next ROS meeting on November 9th.

Revised Proposed Operating Guide Language